## Chart
General Information
The attached model run results cover the period of February 5, 2013 through February 25, 2013 and are based on the following assumptions:
Common Assumptions
1. CCFB Gates operate on a Priority 3 schedule for the entire forecast period.
2. The Delta Cross Channel gates were opened on November 27, 2012 at 10 am.
3. The Old River at Tracy ag. barrier was removed on October 22, 2012. The Grant Line Canal ag. barrier was removed on October 18, 2012. The Middle ag. barrier was removed on October 24, 2012.
4. The head of Old River was removed on June 4, 2012.
5. Suisun Marsh salinity control flashboards and boatlock were installed on October 9, 2012. Three Suisun Marsh Salinity Control Gates are tied open as of November 28, 2012
6. San Joaquin River flow at Vernalis is assumed to increase from 1,858 cfs to 2,500 cfs by the end of the forecast period
7. San Joaquin River EC at Vernalis is projected to decrease from 802 umhos/cm to 613 umhos/cm by the end of forecast period.
8. Sacramento River flow at Freeport is around 18,154 cfs near the beginning of the forecast period and decreases to 15,800 cfs by the end of the forecast period
9. Jones pumping is around 2,400 cfs at the beginning and end of the forecast period.
10. CCFB intake is around 1,500 cfs at the beginning and end of the forecast period.

## A
Part A: |  | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6
Part B: |  | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705
Part C: |  | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR
Part D:
Part E: |  | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY
Part F: |  | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL
Beg. Date: |  | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28
Beg. Time: |  | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
End Date: |  | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24
End Time: |  | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
Units: |  | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM
Data Type: | Index | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL
| 2013-01-29 | 563 | 568 | 579 | 838 | 573 | 478 | 569 | 569 | 561 | 560 | 561 | 562 | 564 | 565 | 559 | 550 | 553 | 0.303 | 0.306 | 0.312 | 0.455 | 0.308 | 0.245 | 0.306 | 0.306 | 0.296 | 0.295 | 0.294 | 0.294 | 0.293 | 0.293 | 0.284 | 0.275 | 0.276
| 2013-01-30 | 563.0367 | 563.0011 | 567.507 | 864.0071 | 577.8824 | 478 | 574.0497 | 569.0001 | 561.9764 | 560.3271 | 560.458 | 561.0977 | 562.9749 | 563.8118 | 555.0242 | 560.9382 | 554.3581 | 0.30301 | 0.303 | 0.30619 | 0.46981 | 0.3103 | 0.245 | 0.30845 | 0.306 | 0.296 | 0.29534 | 0.29455 | 0.294 | 0.294 | 0.29281 | 0.28201 | 0.28493 | 0.27831
| 2013-01-31 | 723.0255 | 576.7334 | 570.3058 | 703.2999 | 583.1212 | 478 | 577.0839 | 575.3719 | 563.6492 | 562.0298 | 560.5771 | 560.9865 | 561.4157 | 562.8121 | 553.0598 | 562.0041 | 555.0538 | 0.39161 | 0.3106 | 0.30714 | 0.38066 | 0.31289 | 0.245 | 0.30996 | 0.30911 | 0.29711 | 0.29603 | 0.29561 | 0.294 | 0.294 | 0.29379 | 0.28101 | 0.286 | 0.27925
| 2013-02-01 | 722.4822 | 796.0867 | 563.368 | 605.523 | 588.201 | 478.3384 | 580.8771 | 580.8771 | 573.827 | 567.5154 | 563.0609 | 560.5324 | 560.5648 | 560.9451 | 547.4813 | 562.6459 | 554.4661 | 0.39151 | 0.43209 | 0.30322 | 0.32641 | 0.31579 | 0.24522 | 0.3119 | 0.3119 | 0.30057 | 0.29819 | 0.29695 | 0.29554 | 0.29444 | 0.29393 | 0.2759 | 0.28645 | 0.2794
| 2013-02-02 | 666.2944 | 687.7443 | 597.8316 | 576.8949 | 598.0845 | 479.0491 | 586.6087 | 586.6087 | 578.2285 | 575.6411 | 572.7974 | 563.2929 | 561.5506 | 560.1627 | 543.9707 | 563 | 552.865 | 0.36049 | 0.37233 | 0.32229 | 0.311 | 0.32137 | 0.24567 | 0.31502 | 0.31502 | 0.30236 | 0.30154 | 0.30008 | 0.297 | 0.296 | 0.29508 | 0.27384 | 0.287 | 0.27865
| 2013-02-03 | 621.4026 | 657.279 | 764.0315 | 571.8235 | 604.8159 | 479.2399 | 593.1894 | 593.1894 | 578.2359 | 578.9894 | 577.2247 | 572.7339 | 565.9605 | 562.5689 | 553.7507 | 560.9782 | 549.8718 | 0.33571 | 0.35552 | 0.41444 | 0.30843 | 0.32521 | 0.24579 | 0.31869 | 0.31869 | 0.30386 | 0.30261 | 0.30201 | 0.30008 | 0.29774 | 0.29654 | 0.2864 | 0.28536 | 0.27653
| 2013-02-04 | 571.0417 | 606.2597 | 666.5348 | 565.2736 | 607.5101 | 479.2407 | 598.4473 | 598.4473 | 579.2684 | 578.4554 | 578.7098 | 576.8716 | 574.3612 | 569.7614 | 552.195 | 555.2566 | 550.1172 | 0.30791 | 0.32735 | 0.36061 | 0.30441 | 0.3268 | 0.24579 | 0.32165 | 0.32165 | 0.30382 | 0.30393 | 0.30326 | 0.3019 | 0.30092 | 0.29889 | 0.28659 | 0.28224 | 0.27776
| 2013-02-05 | 537.6838 | 556.4963 | 626.4659 | 566.1288 | 607.585 | 479.2407 | 601.8444 | 601.8444 | 583.4992 | 579.55 | 578.7444 | 578.8683 | 577.5286 | 575.0721 | 550.7167 | 545.2147 | 550.4504 | 0.2895 | 0.29988 | 0.33851 | 0.3047 | 0.32693 | 0.24579 | 0.3236 | 0.3236 | 0.30613 | 0.30383 | 0.30393 | 0.30288 | 0.30214 | 0.30122 | 0.28418 | 0.2737 | 0.27883
| 2013-02-06 | 540.1218 | 532.8853 | 596.7376 | 702.815 | 607.1688 | 479.2407 | 603.8381 | 603.8381 | 588.2568 | 583.0573 | 579.6307 | 578.3739 | 578.8644 | 577.3999 | 552.2645 | 544.6725 | 550.6631 | 0.29085 | 0.28685 | 0.32209 | 0.38043 | 0.32678 | 0.24579 | 0.32478 | 0.32478 | 0.30867 | 0.30585 | 0.30386 | 0.30392 | 0.30272 | 0.30209 | 0.28434 | 0.27443 | 0.27987
| 2013-02-07 | 510.515 | 540.1525 | 543.6405 | 743.0746 | 610.3656 | 479.3334 | 605.7194 | 605.7194 | 597.2853 | 589.5501 | 585.2194 | 579.2501 | 578.4407 | 578.7805 | 557.667 | 553.7816 | 550.684 | 0.2745 | 0.29087 | 0.29279 | 0.40286 | 0.32863 | 0.24585 | 0.32589 | 0.32589 | 0.30917 | 0.30893 | 0.30712 | 0.30382 | 0.30393 | 0.30304 | 0.28575 | 0.28593 | 0.28068
| 2013-02-08 | 461.9047 | 502.3202 | 536.8249 | 669.7336 | 611.1396 | 479.4293 | 607.6841 | 607.6841 | 603.287 | 598.3973 | 592.5911 | 583.5056 | 579.5291 | 578.6504 | 554.4604 | 553.6324 | 551.0681 | 0.24767 | 0.26998 | 0.28902 | 0.36239 | 0.32913 | 0.24591 | 0.32706 | 0.32706 | 0.31237 | 0.30977 | 0.30893 | 0.30612 | 0.30382 | 0.30393 | 0.28066 | 0.28667 | 0.28143
| 2013-02-09 | 443.6161 | 451.429 | 524.5363 | 627.0616 | 610.226 | 479.5215 | 608.8594 | 608.8594 | 606.8654 | 604.126 | 600.476 | 590.549 | 584.7 | 580.2789 | 562.4838 | 551.0864 | 552.1684 | 0.23758 | 0.24189 | 0.28224 | 0.33884 | 0.3287 | 0.24597 | 0.32778 | 0.32778 | 0.31582 | 0.31314 | 0.31088 | 0.30896 | 0.30681 | 0.30413 | 0.28713 | 0.28528 | 0.28212
| 2013-02-10 | 448.4178 | 442.8327 | 477.4283 | 577.9378 | 606.3807 | 479.6121 | 608.7548 | 608.7548 | 608.3324 | 607.0119 | 605.1553 | 598.8493 | 592.2397 | 586.5667 | 562.2311 | 550.9122 | 552.8668 | 0.24023 | 0.23713 | 0.25625 | 0.31172 | 0.32665 | 0.24603 | 0.3278 | 0.3278 | 0.31943 | 0.31665 | 0.31428 | 0.31002 | 0.30895 | 0.30785 | 0.28822 | 0.28429 | 0.28212
| 2013-02-11 | 470.6941 | 452.8017 | 445.6119 | 541.4977 | 599.9849 | 479.7481 | 606.778 | 606.778 | 611.3226 | 608.7988 | 607.0212 | 603.9099 | 599.2469 | 582.8934 | 558.0692 | 555.4882 | 554.4481 | 0.25253 | 0.24265 | 0.23868 | 0.29161 | 0.32318 | 0.24612 | 0.32678 | 0.32678 | 0.32115 | 0.3197 | 0.31752 | 0.31303 | 0.31023 | 0.29911 | 0.28341 | 0.28543 | 0.28294
| 2013-02-12 | 498.108 | 480.1945 | 446.1774 | 537.8413 | 593.8211 | 479.878 | 603.2285 | 603.2285 | 613.101 | 611.4963 | 609.3428 | 606.6821 | 603.9123 | 588.5067 | 559.8842 | 557.9854 | 555.8486 | 0.26766 | 0.25776 | 0.23899 | 0.28962 | 0.31984 | 0.2462 | 0.32488 | 0.32488 | 0.3222 | 0.32127 | 0.32002 | 0.316 | 0.31305 | 0.30074 | 0.28378 | 0.28491 | 0.28387
| 2013-02-13 | 510.3858 | 504.0005 | 465.5248 | 517.1666 | 588.858 | 480.0032 | 599.0446 | 599.0446 | 614.6838 | 613.246 | 611.9009 | 607.9573 | 606.6701 | 592.3115 | 554.0873 | 558.8733 | 556.4481 | 0.27444 | 0.2709 | 0.2497 | 0.27818 | 0.31715 | 0.24628 | 0.32263 | 0.32263 | 0.32313 | 0.32228 | 0.3215 | 0.31909 | 0.31604 | 0.30323 | 0.27588 | 0.28411 | 0.28396
| 2013-02-14 | 517.4125 | 512.4705 | 491.5861 | 469.631 | 583.3588 | 480.1239 | 594.5571 | 594.5571 | 617.1568 | 614.9428 | 613.4755 | 610.8093 | 607.9847 | 594.4744 | 556.942 | 562.42 | 557.031 | 0.27831 | 0.27558 | 0.26404 | 0.25194 | 0.31416 | 0.24636 | 0.32021 | 0.32021 | 0.32395 | 0.32327 | 0.3224 | 0.32088 | 0.31907 | 0.30591 | 0.27441 | 0.28785 | 0.28389
| 2013-02-15 | 522.1815 | 519.2906 | 507.7798 | 445.2422 | 576.9764 | 480.2458 | 589.619 | 589.619 | 618.7538 | 617.3288 | 615.1762 | 612.7314 | 610.7481 | 595.33 | 560.2974 | 562.3799 | 556.7992 | 0.28095 | 0.27937 | 0.27299 | 0.2384 | 0.31068 | 0.24644 | 0.31754 | 0.31754 | 0.32467 | 0.32399 | 0.3234 | 0.32199 | 0.32085 | 0.30805 | 0.27611 | 0.28809 | 0.28266
| 2013-02-16 | 527.0844 | 523.2529 | 515.6872 | 447.8681 | 570.9462 | 480.3506 | 584.1144 | 584.1144 | 619.2861 | 618.906 | 617.7087 | 614.3004 | 612.7206 | 598.4952 | 562.2374 | 557.6257 | 556.8471 | 0.28366 | 0.28153 | 0.27734 | 0.23991 | 0.30739 | 0.24651 | 0.31455 | 0.31455 | 0.32502 | 0.32476 | 0.32414 | 0.3229 | 0.322 | 0.31017 | 0.27781 | 0.28227 | 0.28121
| 2013-02-17 | 532.0148 | 528.149 | 521.0906 | 469.1835 | 565.8935 | 480.4482 | 578.584 | 578.584 | 618.4115 | 619.2617 | 618.9702 | 616.5417 | 614.3162 | 600.1931 | 562.7015 | 560.0706 | 557.4622 | 0.28638 | 0.28423 | 0.28033 | 0.2517 | 0.30464 | 0.24658 | 0.31154 | 0.31154 | 0.3246 | 0.32502 | 0.3248 | 0.32388 | 0.3229 | 0.31114 | 0.27941 | 0.28302 | 0.28032
| 2013-02-18 | 522.9204 | 532.3381 | 525.4194 | 495.1053 | 561.9425 | 480.5396 | 573.4217 | 573.4217 | 616.0178 | 618.2231 | 619.1879 | 618.5063 | 616.5807 | 601.7708 | 564.7911 | 555.0099 | 558.3311 | 0.28135 | 0.28656 | 0.28272 | 0.26603 | 0.3025 | 0.24664 | 0.30874 | 0.30874 | 0.32313 | 0.32447 | 0.325 | 0.32454 | 0.32389 | 0.31206 | 0.28126 | 0.27416 | 0.27989
| 2013-02-19 | 524.0768 | 521.6197 | 530.51 | 509.1213 | 558.6251 | 480.6275 | 568.8245 | 568.8245 | 612.0631 | 615.6708 | 617.8945 | 619.2241 | 618.5168 | 603.8245 | 566.8828 | 558.7783 | 559.1468 | 0.28199 | 0.28061 | 0.28556 | 0.27377 | 0.3007 | 0.2467 | 0.30624 | 0.30624 | 0.3211 | 0.32291 | 0.32431 | 0.32501 | 0.32456 | 0.31279 | 0.28264 | 0.27524 | 0.27983
| 2013-02-20 | 530.4244 | 525.6861 | 526.7736 | 516.7509 | 555.6877 | 480.7129 | 564.7408 | 564.7408 | 607.8121 | 611.5786 | 615.0571 | 618.6157 | 619.2117 | 605.323 | 568.1219 | 561.4493 | 560.1719 | 0.2855 | 0.28287 | 0.28349 | 0.27801 | 0.29911 | 0.24676 | 0.30402 | 0.30402 | 0.3189 | 0.32089 | 0.3226 | 0.32472 | 0.325 | 0.31337 | 0.28339 | 0.27696 | 0.2801
| 2013-02-21 | 526.3325 | 531.5054 | 522.7985 | 521.585 | 553.5195 | 480.7961 | 561.1843 | 561.1843 | 603.1996 | 607.2332 | 610.972 | 616.4908 | 618.6282 | 605.7315 | 569.371 | 562.9043 | 561.3818 | 0.28324 | 0.2861 | 0.28127 | 0.28066 | 0.29794 | 0.24682 | 0.30209 | 0.30209 | 0.31643 | 0.31859 | 0.32058 | 0.32347 | 0.32473 | 0.31364 | 0.28406 | 0.27892 | 0.28056
| 2013-02-22 | 517.8768 | 523.4729 | 528.9233 | 526.2973 | 552.5331 | 480.8835 | 558.3583 | 558.3583 | 598.0208 | 602.8035 | 606.6591 | 612.9537 | 616.5815 | 604.5079 | 570.863 | 563.3374 | 562.5858 | 0.27856 | 0.28167 | 0.28468 | 0.2833 | 0.29742 | 0.24688 | 0.30056 | 0.30056 | 0.31363 | 0.31623 | 0.3183 | 0.32154 | 0.32351 | 0.31285 | 0.28445 | 0.28013 | 0.28106
| 2013-02-23 | 506.7152 | 515.2609 | 528.531 | 531.1066 | 551.976 | 480.9645 | 556.275 | 556.275 | 592.931 | 597.4928 | 602.0621 | 608.8403 | 613.1662 | 602.9901 | 571.2171 | 566.1512 | 563.827 | 0.27241 | 0.27713 | 0.28444 | 0.28596 | 0.29713 | 0.24693 | 0.29944 | 0.29944 | 0.31079 | 0.31334 | 0.31581 | 0.31945 | 0.32162 | 0.31209 | 0.28454 | 0.28222 | 0.2816
| 2013-02-24 | 500.7751 | 504.086 | 520.2213 | 525.2591 | 550.6486 | 481.0478 | 554.613 | 554.613 | 587.6837 | 592.4589 | 596.9423 | 604.3449 | 608.8608 | 596.0426 | 570.6093 | 567.5328 | 565.0552 | 0.26913 | 0.27093 | 0.27988 | 0.2826 | 0.29642 | 0.24699 | 0.29855 | 0.29855 | 0.30793 | 0.31054 | 0.31301 | 0.31706 | 0.31946 | 0.3072 | 0.28406 | 0.28302 | 0.2821
| 2013-02-25 | 503.1494 | 500.0948 | 510.1877 | 523.7603 | 548.5753 | 481.13 | 552.9034 | 552.9034 | 583.2132 | 587.4521 | 591.8356 | 599.5552 | 604.5519 | 594.6017 | 569.8073 | 568.7872 | 566.1683 | 0.27046 | 0.26872 | 0.27433 | 0.28176 | 0.2953 | 0.24705 | 0.29763 | 0.29763 | 0.30536 | 0.30777 | 0.31018 | 0.31445 | 0.31717 | 0.30724 | 0.28372 | 0.28378 | 0.28254
Note on C1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on D1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on E1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on F1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on G1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on H1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on I1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on J1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on K1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on L1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on M1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on N1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on O1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on P1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Q1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on R1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on S1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on T1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on U1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on V1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on W1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on X1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Y1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Z1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AA1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AB1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AC1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AD1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AE1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AF1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AG1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AH1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AI1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AJ1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss

## DataGroups
Inputs | Group Name: | DSM2 Fingerprint | Constituents: |  |  |  | Qual:
20130205-21A | Start Date: | 2013-01-28 | Scenario(Fpart) | 20130205-21A+FROM-ALL |  |  | Scenario(Fpart)
ca-aq-qual.dss | Start Time: | 2400 | DSS file | ca-aq-qual.dss |  |  | DSS file
| Finish Date: | 2013-02-24
| Finish Time: | 2400
DSM2 Location | Constituent | Pathnames: | Part A: | Part B: | Part C: | Part D: | Part E: | Part F:
South Bay Pumping Plant | EC | /QUAL8.0.6/ck_01/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_01 | EC |  | 1DAY | 20130205-21A+FROM-ALL
Check 2 | EC | /QUAL8.0.6/ck_02/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_02 | EC |  | 1DAY | 20130205-21A+FROM-ALL
Santa Clara Tank Inflow | EC | /QUAL8.0.6/ck_613/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_613 | EC |  | 1DAY | 20130205-21A+FROM-ALL
CA Aqueduct Inflow to O'Neill Forebay | EC | /QUAL8.0.6/ck_12/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_12 | EC |  | 1DAY | 20130205-21A+FROM-ALL
O'Neill P/G Plant | EC | /QUAL8.0.6/ONEILLR/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ONEILLR | EC |  | 1DAY | 20130205-21A+FROM-ALL
San Luis Reservoir | EC | /QUAL8.0.6/SANLUISR/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | SANLUISR | EC |  | 1DAY | 20130205-21A+FROM-ALL
O'Neill Forebay Outlet to CA Aqueduct | EC | /QUAL8.0.6/415_100/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | 415_100 | EC |  | 1DAY | 20130205-21A+FROM-ALL
check 13 | EC | /QUAL8.0.6/ck_13/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_13 | EC |  | 1DAY | 20130205-21A+FROM-ALL
Check 21 | EC | /QUAL8.0.6/ck_21/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_21 | EC |  | 1DAY | 20130205-21A+FROM-ALL
Check 22 | EC | /QUAL8.0.6/ck_22/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_22 | EC |  | 1DAY | 20130205-21A+FROM-ALL
Check 23, Upstream of Semitropic Turn-ins | EC | /QUAL8.0.6/ck_23/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_23 | EC |  | 1DAY | 20130205-21A+FROM-ALL
Check 25, Downstream of Semitropic Turnins | EC | /QUAL8.0.6/ck_25/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_25 | EC |  | 1DAY | 20130205-21A+FROM-ALL
Check 27, Tupman Rd Bridge Upstream of CVC, KWB and Arvin-Edison Turn-ins | EC | /QUAL8.0.6/ck_27/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_27 | EC |  | 1DAY | 20130205-21A+FROM-ALL
Check 29 | EC | /QUAL8.0.6/ck_29/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_29 | EC |  | 1DAY | 20130205-21A+FROM-ALL
Check 41 | EC | /QUAL8.0.6/ck_41/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_41 | EC |  | 1DAY | 20130205-21A+FROM-ALL
Check 66 | EC | /QUAL8.0.6/ck_66/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_66 | EC |  | 1DAY | 20130205-21A+FROM-ALL
Pyramid Lake Inflow | EC | /QUAL8.0.6/ck_705/EC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_705 | EC |  | 1DAY | 20130205-21A+FROM-ALL
South Bay Pumping Plant | BR | /QUAL8.0.6/ck_01/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_01 | BR |  | 1DAY | 20130205-21A+FROM-ALL
Check 2 | BR | /QUAL8.0.6/ck_02/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_02 | BR |  | 1DAY | 20130205-21A+FROM-ALL
Santa Clara Tank Inflow | BR | /QUAL8.0.6/ck_613/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_613 | BR |  | 1DAY | 20130205-21A+FROM-ALL
CA Aqueduct Inflow to O'Neill Forebay | BR | /QUAL8.0.6/ck_12/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_12 | BR |  | 1DAY | 20130205-21A+FROM-ALL
O'Neill P/G Plant | BR | /QUAL8.0.6/ONEILLR/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ONEILLR | BR |  | 1DAY | 20130205-21A+FROM-ALL
San Luis Reservoir | BR | /QUAL8.0.6/SANLUISR/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | SANLUISR | BR |  | 1DAY | 20130205-21A+FROM-ALL
O'Neill Forebay Outlet to CA Aqueduct | BR | /QUAL8.0.6/415_100/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | 415_100 | BR |  | 1DAY | 20130205-21A+FROM-ALL
check 13 | BR | /QUAL8.0.6/ck_13/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_13 | BR |  | 1DAY | 20130205-21A+FROM-ALL
Check 21 | BR | /QUAL8.0.6/ck_21/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_21 | BR |  | 1DAY | 20130205-21A+FROM-ALL
Check 22 | BR | /QUAL8.0.6/ck_22/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_22 | BR |  | 1DAY | 20130205-21A+FROM-ALL
Check 23, Upstream of Semitropic Turn-ins | BR | /QUAL8.0.6/ck_23/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_23 | BR |  | 1DAY | 20130205-21A+FROM-ALL
Check 25, Downstream of Semitropic Turnins | BR | /QUAL8.0.6/ck_25/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_25 | BR |  | 1DAY | 20130205-21A+FROM-ALL
Check 27, Tupman Rd Bridge Upstream of CVC, KWB and Arvin-Edison Turn-ins | BR | /QUAL8.0.6/ck_27/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_27 | BR |  | 1DAY | 20130205-21A+FROM-ALL
Check 29 | BR | /QUAL8.0.6/ck_29/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_29 | BR |  | 1DAY | 20130205-21A+FROM-ALL
Check 41 | BR | /QUAL8.0.6/ck_41/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_41 | BR |  | 1DAY | 20130205-21A+FROM-ALL
Check 66 | BR | /QUAL8.0.6/ck_66/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_66 | BR |  | 1DAY | 20130205-21A+FROM-ALL
Pyramid Lake Inflow | BR | /QUAL8.0.6/ck_705/BR//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_705 | BR |  | 1DAY | 20130205-21A+FROM-ALL
South Bay Pumping Plant | DOC | /QUAL8.0.6/ck_01/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_01 | DOC |  | 1DAY | 20130205-21A+FROM-ALL
Check 2 | DOC | /QUAL8.0.6/ck_02/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_02 | DOC |  | 1DAY | 20130205-21A+FROM-ALL
Santa Clara Tank Inflow | DOC | /QUAL8.0.6/ck_613/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_613 | DOC |  | 1DAY | 20130205-21A+FROM-ALL
CA Aqueduct Inflow to O'Neill Forebay | DOC | /QUAL8.0.6/ck_12/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_12 | DOC |  | 1DAY | 20130205-21A+FROM-ALL
O'Neill P/G Plant | DOC | /QUAL8.0.6/ONEILLR/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ONEILLR | DOC |  | 1DAY | 20130205-21A+FROM-ALL
San Luis Reservoir | DOC | /QUAL8.0.6/SANLUISR/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | SANLUISR | DOC |  | 1DAY | 20130205-21A+FROM-ALL
O'Neill Forebay Outlet to CA Aqueduct | DOC | /QUAL8.0.6/415_100/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | 415_100 | DOC |  | 1DAY | 20130205-21A+FROM-ALL
check 13 | DOC | /QUAL8.0.6/ck_13/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_13 | DOC |  | 1DAY | 20130205-21A+FROM-ALL
Check 21 | DOC | /QUAL8.0.6/ck_21/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_21 | DOC |  | 1DAY | 20130205-21A+FROM-ALL
Check 22 | DOC | /QUAL8.0.6/ck_22/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_22 | DOC |  | 1DAY | 20130205-21A+FROM-ALL
Check 23, Upstream of Semitropic Turn-ins | DOC | /QUAL8.0.6/ck_23/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_23 | DOC |  | 1DAY | 20130205-21A+FROM-ALL
Check 25, Downstream of Semitropic Turnins | DOC | /QUAL8.0.6/ck_25/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_25 | DOC |  | 1DAY | 20130205-21A+FROM-ALL
Check 27, Tupman Rd Bridge Upstream of CVC, KWB and Arvin-Edison Turn-ins | DOC | /QUAL8.0.6/ck_27/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_27 | DOC |  | 1DAY | 20130205-21A+FROM-ALL
Check 29 | DOC | /QUAL8.0.6/ck_29/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_29 | DOC |  | 1DAY | 20130205-21A+FROM-ALL
Check 41 | DOC | /QUAL8.0.6/ck_41/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_41 | DOC |  | 1DAY | 20130205-21A+FROM-ALL
Check 66 | DOC | /QUAL8.0.6/ck_66/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_66 | DOC |  | 1DAY | 20130205-21A+FROM-ALL
Pyramid Lake Inflow | DOC | /QUAL8.0.6/ck_705/DOC//1DAY/20130205-21A+FROM-ALL/ | QUAL8.0.6 | ck_705 | DOC |  | 1DAY | 20130205-21A+FROM-ALL
Note on A3: open dss file, may have a different file name though
Note on B1: Delete "Retrieve TS". Retrieve from DSM2 output dss file the data with these groups then copy the new "Retrieved TS" data to another worksheet

## Macro
Start Date | 2013-01-28
End Date | 2013-02-24
Legend Name for Scenario | A | Base Case
Legend Name for Scenario |  | Alternate 1
Legend Name for Scenario |  | Alternate 2
Legend Name for Scenario |  | Alternate 3
Chart | Base Chart Title | EC Column | Br Column | DOC Column
1 | at South Bay Pumping Plant | C | T | AK
2 | at Check 2 | D | U | AL
3 | at Check Santa Clara Tank Inflow | E | V | AM
4 | at Check 12 | F | W | AN
5 | at O'Neill Reservoir | G | X | AO
6 | at San Luis Reservoir | H | Y | AP
7 | at Check 13 | J | AA | AR
8 | at Check 21 | K | AB | AS
9 | at Check 23 | M | AD | AU
10 | at Check 25 | N | AE | AV
11 | at Check 27 | O | AF | AW
12 | at Check 29 | P | AG | AX
13 | at Check 41 | Q | AH | AY
14 | at Check 66 | R | AI | AZ
15 | at Pyramid Lake Inflow | S | AJ | BA
Generate Report

## Retrieved TS
Part A: |  | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6
Part B: |  | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705
Part C: |  | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR
Part D:
Part E: |  | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY
Part F: |  | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL | 20130205-21A+FROM-ALL
Beg. Date: |  | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28 | 2013-01-28
Beg. Time: |  | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
End Date: |  | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24 | 2013-02-24
End Time: |  | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
Units: |  | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM
Data Type: | Index | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL
| 2013-01-28 | 563 | 568 | 579 | 838 | 573 | 478 | 569 | 569 | 561 | 560 | 561 | 562 | 564 | 565 | 559 | 550 | 553 | 0.303 | 0.306 | 0.312 | 0.455 | 0.308 | 0.245 | 0.306 | 0.306 | 0.296 | 0.295 | 0.294 | 0.294 | 0.293 | 0.293 | 0.284 | 0.275 | 0.276
| 2013-01-29 | 563.0367 | 563.0011 | 567.507 | 864.0071 | 577.8824 | 478 | 574.0497 | 569.0001 | 561.9764 | 560.3271 | 560.458 | 561.0977 | 562.9749 | 563.8118 | 555.0242 | 560.9382 | 554.3581 | 0.30301 | 0.303 | 0.30619 | 0.46981 | 0.3103 | 0.245 | 0.30845 | 0.306 | 0.296 | 0.29534 | 0.29455 | 0.294 | 0.294 | 0.29281 | 0.28201 | 0.28493 | 0.27831
| 2013-01-30 | 723.0255 | 576.7334 | 570.3058 | 703.2999 | 583.1212 | 478 | 577.0839 | 575.3719 | 563.6492 | 562.0298 | 560.5771 | 560.9865 | 561.4157 | 562.8121 | 553.0598 | 562.0041 | 555.0538 | 0.39161 | 0.3106 | 0.30714 | 0.38066 | 0.31289 | 0.245 | 0.30996 | 0.30911 | 0.29711 | 0.29603 | 0.29561 | 0.294 | 0.294 | 0.29379 | 0.28101 | 0.286 | 0.27925
| 2013-01-31 | 722.4822 | 796.0867 | 563.368 | 605.523 | 588.201 | 478.3384 | 580.8771 | 580.8771 | 573.827 | 567.5154 | 563.0609 | 560.5324 | 560.5648 | 560.9451 | 547.4813 | 562.6459 | 554.4661 | 0.39151 | 0.43209 | 0.30322 | 0.32641 | 0.31579 | 0.24522 | 0.3119 | 0.3119 | 0.30057 | 0.29819 | 0.29695 | 0.29554 | 0.29444 | 0.29393 | 0.2759 | 0.28645 | 0.2794
| 2013-02-01 | 666.2944 | 687.7443 | 597.8316 | 576.8949 | 598.0845 | 479.0491 | 586.6087 | 586.6087 | 578.2285 | 575.6411 | 572.7974 | 563.2929 | 561.5506 | 560.1627 | 543.9707 | 563 | 552.865 | 0.36049 | 0.37233 | 0.32229 | 0.311 | 0.32137 | 0.24567 | 0.31502 | 0.31502 | 0.30236 | 0.30154 | 0.30008 | 0.297 | 0.296 | 0.29508 | 0.27384 | 0.287 | 0.27865
| 2013-02-02 | 621.4026 | 657.279 | 764.0315 | 571.8235 | 604.8159 | 479.2399 | 593.1894 | 593.1894 | 578.2359 | 578.9894 | 577.2247 | 572.7339 | 565.9605 | 562.5689 | 553.7507 | 560.9782 | 549.8718 | 0.33571 | 0.35552 | 0.41444 | 0.30843 | 0.32521 | 0.24579 | 0.31869 | 0.31869 | 0.30386 | 0.30261 | 0.30201 | 0.30008 | 0.29774 | 0.29654 | 0.2864 | 0.28536 | 0.27653
| 2013-02-03 | 571.0417 | 606.2597 | 666.5348 | 565.2736 | 607.5101 | 479.2407 | 598.4473 | 598.4473 | 579.2684 | 578.4554 | 578.7098 | 576.8716 | 574.3612 | 569.7614 | 552.195 | 555.2566 | 550.1172 | 0.30791 | 0.32735 | 0.36061 | 0.30441 | 0.3268 | 0.24579 | 0.32165 | 0.32165 | 0.30382 | 0.30393 | 0.30326 | 0.3019 | 0.30092 | 0.29889 | 0.28659 | 0.28224 | 0.27776
| 2013-02-04 | 537.6838 | 556.4963 | 626.4659 | 566.1288 | 607.585 | 479.2407 | 601.8444 | 601.8444 | 583.4992 | 579.55 | 578.7444 | 578.8683 | 577.5286 | 575.0721 | 550.7167 | 545.2147 | 550.4504 | 0.2895 | 0.29988 | 0.33851 | 0.3047 | 0.32693 | 0.24579 | 0.3236 | 0.3236 | 0.30613 | 0.30383 | 0.30393 | 0.30288 | 0.30214 | 0.30122 | 0.28418 | 0.2737 | 0.27883
| 2013-02-05 | 540.1218 | 532.8853 | 596.7376 | 702.815 | 607.1688 | 479.2407 | 603.8381 | 603.8381 | 588.2568 | 583.0573 | 579.6307 | 578.3739 | 578.8644 | 577.3999 | 552.2645 | 544.6725 | 550.6631 | 0.29085 | 0.28685 | 0.32209 | 0.38043 | 0.32678 | 0.24579 | 0.32478 | 0.32478 | 0.30867 | 0.30585 | 0.30386 | 0.30392 | 0.30272 | 0.30209 | 0.28434 | 0.27443 | 0.27987
| 2013-02-06 | 510.515 | 540.1525 | 543.6405 | 743.0746 | 610.3656 | 479.3334 | 605.7194 | 605.7194 | 597.2853 | 589.5501 | 585.2194 | 579.2501 | 578.4407 | 578.7805 | 557.667 | 553.7816 | 550.684 | 0.2745 | 0.29087 | 0.29279 | 0.40286 | 0.32863 | 0.24585 | 0.32589 | 0.32589 | 0.30917 | 0.30893 | 0.30712 | 0.30382 | 0.30393 | 0.30304 | 0.28575 | 0.28593 | 0.28068
| 2013-02-07 | 461.9047 | 502.3202 | 536.8249 | 669.7336 | 611.1396 | 479.4293 | 607.6841 | 607.6841 | 603.287 | 598.3973 | 592.5911 | 583.5056 | 579.5291 | 578.6504 | 554.4604 | 553.6324 | 551.0681 | 0.24767 | 0.26998 | 0.28902 | 0.36239 | 0.32913 | 0.24591 | 0.32706 | 0.32706 | 0.31237 | 0.30977 | 0.30893 | 0.30612 | 0.30382 | 0.30393 | 0.28066 | 0.28667 | 0.28143
| 2013-02-08 | 443.6161 | 451.429 | 524.5363 | 627.0616 | 610.226 | 479.5215 | 608.8594 | 608.8594 | 606.8654 | 604.126 | 600.476 | 590.549 | 584.7 | 580.2789 | 562.4838 | 551.0864 | 552.1684 | 0.23758 | 0.24189 | 0.28224 | 0.33884 | 0.3287 | 0.24597 | 0.32778 | 0.32778 | 0.31582 | 0.31314 | 0.31088 | 0.30896 | 0.30681 | 0.30413 | 0.28713 | 0.28528 | 0.28212
| 2013-02-09 | 448.4178 | 442.8327 | 477.4283 | 577.9378 | 606.3807 | 479.6121 | 608.7548 | 608.7548 | 608.3324 | 607.0119 | 605.1553 | 598.8493 | 592.2397 | 586.5667 | 562.2311 | 550.9122 | 552.8668 | 0.24023 | 0.23713 | 0.25625 | 0.31172 | 0.32665 | 0.24603 | 0.3278 | 0.3278 | 0.31943 | 0.31665 | 0.31428 | 0.31002 | 0.30895 | 0.30785 | 0.28822 | 0.28429 | 0.28212
| 2013-02-10 | 470.6941 | 452.8017 | 445.6119 | 541.4977 | 599.9849 | 479.7481 | 606.778 | 606.778 | 611.3226 | 608.7988 | 607.0212 | 603.9099 | 599.2469 | 582.8934 | 558.0692 | 555.4882 | 554.4481 | 0.25253 | 0.24265 | 0.23868 | 0.29161 | 0.32318 | 0.24612 | 0.32678 | 0.32678 | 0.32115 | 0.3197 | 0.31752 | 0.31303 | 0.31023 | 0.29911 | 0.28341 | 0.28543 | 0.28294
| 2013-02-11 | 498.108 | 480.1945 | 446.1774 | 537.8413 | 593.8211 | 479.878 | 603.2285 | 603.2285 | 613.101 | 611.4963 | 609.3428 | 606.6821 | 603.9123 | 588.5067 | 559.8842 | 557.9854 | 555.8486 | 0.26766 | 0.25776 | 0.23899 | 0.28962 | 0.31984 | 0.2462 | 0.32488 | 0.32488 | 0.3222 | 0.32127 | 0.32002 | 0.316 | 0.31305 | 0.30074 | 0.28378 | 0.28491 | 0.28387
| 2013-02-12 | 510.3858 | 504.0005 | 465.5248 | 517.1666 | 588.858 | 480.0032 | 599.0446 | 599.0446 | 614.6838 | 613.246 | 611.9009 | 607.9573 | 606.6701 | 592.3115 | 554.0873 | 558.8733 | 556.4481 | 0.27444 | 0.2709 | 0.2497 | 0.27818 | 0.31715 | 0.24628 | 0.32263 | 0.32263 | 0.32313 | 0.32228 | 0.3215 | 0.31909 | 0.31604 | 0.30323 | 0.27588 | 0.28411 | 0.28396
| 2013-02-13 | 517.4125 | 512.4705 | 491.5861 | 469.631 | 583.3588 | 480.1239 | 594.5571 | 594.5571 | 617.1568 | 614.9428 | 613.4755 | 610.8093 | 607.9847 | 594.4744 | 556.942 | 562.42 | 557.031 | 0.27831 | 0.27558 | 0.26404 | 0.25194 | 0.31416 | 0.24636 | 0.32021 | 0.32021 | 0.32395 | 0.32327 | 0.3224 | 0.32088 | 0.31907 | 0.30591 | 0.27441 | 0.28785 | 0.28389
| 2013-02-14 | 522.1815 | 519.2906 | 507.7798 | 445.2422 | 576.9764 | 480.2458 | 589.619 | 589.619 | 618.7538 | 617.3288 | 615.1762 | 612.7314 | 610.7481 | 595.33 | 560.2974 | 562.3799 | 556.7992 | 0.28095 | 0.27937 | 0.27299 | 0.2384 | 0.31068 | 0.24644 | 0.31754 | 0.31754 | 0.32467 | 0.32399 | 0.3234 | 0.32199 | 0.32085 | 0.30805 | 0.27611 | 0.28809 | 0.28266
| 2013-02-15 | 527.0844 | 523.2529 | 515.6872 | 447.8681 | 570.9462 | 480.3506 | 584.1144 | 584.1144 | 619.2861 | 618.906 | 617.7087 | 614.3004 | 612.7206 | 598.4952 | 562.2374 | 557.6257 | 556.8471 | 0.28366 | 0.28153 | 0.27734 | 0.23991 | 0.30739 | 0.24651 | 0.31455 | 0.31455 | 0.32502 | 0.32476 | 0.32414 | 0.3229 | 0.322 | 0.31017 | 0.27781 | 0.28227 | 0.28121
| 2013-02-16 | 532.0148 | 528.149 | 521.0906 | 469.1835 | 565.8935 | 480.4482 | 578.584 | 578.584 | 618.4115 | 619.2617 | 618.9702 | 616.5417 | 614.3162 | 600.1931 | 562.7015 | 560.0706 | 557.4622 | 0.28638 | 0.28423 | 0.28033 | 0.2517 | 0.30464 | 0.24658 | 0.31154 | 0.31154 | 0.3246 | 0.32502 | 0.3248 | 0.32388 | 0.3229 | 0.31114 | 0.27941 | 0.28302 | 0.28032
| 2013-02-17 | 522.9204 | 532.3381 | 525.4194 | 495.1053 | 561.9425 | 480.5396 | 573.4217 | 573.4217 | 616.0178 | 618.2231 | 619.1879 | 618.5063 | 616.5807 | 601.7708 | 564.7911 | 555.0099 | 558.3311 | 0.28135 | 0.28656 | 0.28272 | 0.26603 | 0.3025 | 0.24664 | 0.30874 | 0.30874 | 0.32313 | 0.32447 | 0.325 | 0.32454 | 0.32389 | 0.31206 | 0.28126 | 0.27416 | 0.27989
| 2013-02-18 | 524.0768 | 521.6197 | 530.51 | 509.1213 | 558.6251 | 480.6275 | 568.8245 | 568.8245 | 612.0631 | 615.6708 | 617.8945 | 619.2241 | 618.5168 | 603.8245 | 566.8828 | 558.7783 | 559.1468 | 0.28199 | 0.28061 | 0.28556 | 0.27377 | 0.3007 | 0.2467 | 0.30624 | 0.30624 | 0.3211 | 0.32291 | 0.32431 | 0.32501 | 0.32456 | 0.31279 | 0.28264 | 0.27524 | 0.27983
| 2013-02-19 | 530.4244 | 525.6861 | 526.7736 | 516.7509 | 555.6877 | 480.7129 | 564.7408 | 564.7408 | 607.8121 | 611.5786 | 615.0571 | 618.6157 | 619.2117 | 605.323 | 568.1219 | 561.4493 | 560.1719 | 0.2855 | 0.28287 | 0.28349 | 0.27801 | 0.29911 | 0.24676 | 0.30402 | 0.30402 | 0.3189 | 0.32089 | 0.3226 | 0.32472 | 0.325 | 0.31337 | 0.28339 | 0.27696 | 0.2801
| 2013-02-20 | 526.3325 | 531.5054 | 522.7985 | 521.585 | 553.5195 | 480.7961 | 561.1843 | 561.1843 | 603.1996 | 607.2332 | 610.972 | 616.4908 | 618.6282 | 605.7315 | 569.371 | 562.9043 | 561.3818 | 0.28324 | 0.2861 | 0.28127 | 0.28066 | 0.29794 | 0.24682 | 0.30209 | 0.30209 | 0.31643 | 0.31859 | 0.32058 | 0.32347 | 0.32473 | 0.31364 | 0.28406 | 0.27892 | 0.28056
| 2013-02-21 | 517.8768 | 523.4729 | 528.9233 | 526.2973 | 552.5331 | 480.8835 | 558.3583 | 558.3583 | 598.0208 | 602.8035 | 606.6591 | 612.9537 | 616.5815 | 604.5079 | 570.863 | 563.3374 | 562.5858 | 0.27856 | 0.28167 | 0.28468 | 0.2833 | 0.29742 | 0.24688 | 0.30056 | 0.30056 | 0.31363 | 0.31623 | 0.3183 | 0.32154 | 0.32351 | 0.31285 | 0.28445 | 0.28013 | 0.28106
| 2013-02-22 | 506.7152 | 515.2609 | 528.531 | 531.1066 | 551.976 | 480.9645 | 556.275 | 556.275 | 592.931 | 597.4928 | 602.0621 | 608.8403 | 613.1662 | 602.9901 | 571.2171 | 566.1512 | 563.827 | 0.27241 | 0.27713 | 0.28444 | 0.28596 | 0.29713 | 0.24693 | 0.29944 | 0.29944 | 0.31079 | 0.31334 | 0.31581 | 0.31945 | 0.32162 | 0.31209 | 0.28454 | 0.28222 | 0.2816
| 2013-02-23 | 500.7751 | 504.086 | 520.2213 | 525.2591 | 550.6486 | 481.0478 | 554.613 | 554.613 | 587.6837 | 592.4589 | 596.9423 | 604.3449 | 608.8608 | 596.0426 | 570.6093 | 567.5328 | 565.0552 | 0.26913 | 0.27093 | 0.27988 | 0.2826 | 0.29642 | 0.24699 | 0.29855 | 0.29855 | 0.30793 | 0.31054 | 0.31301 | 0.31706 | 0.31946 | 0.3072 | 0.28406 | 0.28302 | 0.2821
| 2013-02-24 | 503.1494 | 500.0948 | 510.1877 | 523.7603 | 548.5753 | 481.13 | 552.9034 | 552.9034 | 583.2132 | 587.4521 | 591.8356 | 599.5552 | 604.5519 | 594.6017 | 569.8073 | 568.7872 | 566.1683 | 0.27046 | 0.26872 | 0.27433 | 0.28176 | 0.2953 | 0.24705 | 0.29763 | 0.29763 | 0.30536 | 0.30777 | 0.31018 | 0.31445 | 0.31717 | 0.30724 | 0.28372 | 0.28378 | 0.28254
Note on C1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on D1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on E1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on F1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on G1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on H1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on I1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on J1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on K1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on L1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on M1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on N1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on O1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on P1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Q1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on R1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on S1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on T1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on U1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on V1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on W1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on X1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Y1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Z1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AA1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AB1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AC1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AD1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AE1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AF1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AG1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AH1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AI1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AJ1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss