## Chart
The model run results cover the period May 3, through May 23, and are based on the following assumptions:
Common Assumptions
1. CCFB Gates are operating to Priority 3 throughout the forecast period.
2. The Delta Cross Channel gates will be closed throughout the forecast period.
3. Suisun Marsh salinity control flashboards are in, and the three Suisun Marsh Salinity Control Gates are in open position.
4. The Middle River ag. barrier was installed on March 9, 2016 with all 6 culvert flap-gates tied open. As of April 1 all 6 flap-gates are tidally operated.
5. The Old River at Tracy ag. barrier was installed on March 25, 2016 with all 9 flap-gates tied open, As of April 1 all 9 flap-gates are tidally operated.
6. The Spring Head of Old River barrier was installed on April 1, 2016 with all 8 culvert slide-gates opened.
7. The Grant Line Canal ag. barrier was partially installed on April 15, 2016 with all 6 culvert flap-gates tied open.
8. San Joaquin River flow at Vernalis is 2,517 cfs at the beginning of the forecast period and decreases to 915 cfs by the end of the forecast period. The higher flow during the earlier part of the forecast period is due to the fishery spring pulse flow.
9. San Joaquin River EC at Vernalis increases from 410 umhos/cm at the beginning of the forecast period to 590 umhos/cm by the end of forecast period.
10. Sacramento River flow at Freeport is at 9,760 cfs at the beginning of the forecast period and increases to 14,645 cfs by the end of the forecast period.
11. CCFB is at 1,000 cfs at the beginning of the forecast period and increases to 1,600 cfs by the end of the forecast period.
12. Export at Jones Pumping Plant is at about 1,600 cfs at the beginning of the forecast period and decreases to 1,000 cfs by the end of the forecast period.

## A
Part A: |  | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6
Part B: |  | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705
Part C: |  | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC
Part D:
Part E: |  | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY
Part F: |  | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL
Beg. Date: |  | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25
Beg. Time: |  | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
End Date: |  | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22
End Time: |  | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
Units: |  | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM
Data Type: | Index | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL
| 2016-04-26 | 454 | 480 | 510 | 481 | 542 | 606 | 544 | 544 | 541 | 539 | 535 | 533 | 530 | 520 | 502 | 482 | 494 | 0.244 | 0.257 | 0.274 | 0.258 | 0.308 | 0.355 | 0.309 | 0.309 | 0.293 | 0.292 | 0.289 | 0.285 | 0.283 | 0.273 | 0.252 | 0.229 | 0.238 | 4.61 | 4.66 | 4.73 | 5.78 | 5.75 | 4.87 | 5.76 | 5.76 | 5.96 | 5.99 | 6.07 | 6.11 | 6.15 | 5.82 | 5.37 | 5.34 | 5.14
| 2016-04-27 | 453.8117 | 454.0085 | 475.1664 | 485.7941 | 541.041 | 606 | 541.0781 | 543.9998 | 545.8381 | 540.6339 | 538.241 | 533.8251 | 532.5078 | 524.9694 | 506.7998 | 502.9663 | 494.9951 | 0.2439 | 0.244 | 0.25493 | 0.2608 | 0.30712 | 0.355 | 0.30716 | 0.309 | 0.293 | 0.29282 | 0.29143 | 0.28529 | 0.28449 | 0.27617 | 0.25705 | 0.23448 | 0.24052 | 4.6098 | 4.61 | 4.655 | 5.5863 | 5.7361 | 4.87 | 5.7368 | 5.76 | 5.9095 | 5.9656 | 6.0052 | 6.0857 | 6.1091 | 5.745 | 5.4832 | 5.1398 | 5.1524
| 2016-04-28 | 264.8929 | 430.7188 | 454.0025 | 498.8498 | 540.235 | 606 | 540.2549 | 541.6398 | 551.9991 | 549.628 | 546.0175 | 539.8677 | 535.7773 | 530.2101 | 509.1586 | 502.6901 | 497.7635 | 0.13914 | 0.23109 | 0.244 | 0.26802 | 0.30626 | 0.355 | 0.30628 | 0.30756 | 0.29684 | 0.29342 | 0.293 | 0.29101 | 0.28703 | 0.28075 | 0.25756 | 0.23511 | 0.24478 | 4.3964 | 4.5837 | 4.61 | 5.2572 | 5.7093 | 4.87 | 5.7103 | 5.7438 | 5.8062 | 5.8595 | 5.907 | 5.9665 | 6.0448 | 5.8431 | 5.0885 | 5.164 | 5.2483
| 2016-04-29 | 373.7828 | 212.0279 | 449.683 | 513.3164 | 543.8553 | 606 | 543.8171 | 540.5121 | 557.7602 | 554.9757 | 551.9758 | 548.6769 | 542.1418 | 534.5992 | 517.4622 | 496.1314 | 500.9028 | 0.19903 | 0.1098 | 0.24162 | 0.27638 | 0.30868 | 0.355 | 0.30865 | 0.30656 | 0.30349 | 0.30071 | 0.29672 | 0.2923 | 0.29206 | 0.28462 | 0.26584 | 0.2392 | 0.2486 | 4.2282 | 4.3219 | 4.6051 | 5.0346 | 5.633 | 4.87 | 5.6337 | 5.7203 | 5.6899 | 5.7436 | 5.8075 | 5.8544 | 5.9302 | 5.6876 | 5.1182 | 5.3309 | 5.2563
| 2016-04-30 | 416.5446 | 426.1678 | 222.714 | 523.0837 | 550.0975 | 606 | 549.8396 | 542.1742 | 555.437 | 555.7778 | 557.6084 | 557.5218 | 554.5071 | 544.4332 | 525.5858 | 494.0036 | 504.8624 | 0.22263 | 0.22794 | 0.11571 | 0.2814 | 0.31306 | 0.355 | 0.31288 | 0.30754 | 0.30662 | 0.30642 | 0.3037 | 0.29583 | 0.29203 | 0.28771 | 0.27405 | 0.24086 | 0.25291 | 4.1873 | 4.2068 | 4.3379 | 4.878 | 5.5319 | 4.87 | 5.5361 | 5.6682 | 5.6631 | 5.6811 | 5.6895 | 5.6647 | 5.7408 | 5.6171 | 5.4301 | 5.3421 | 5.2261
| 2016-05-01 | 397.3091 | 405.9227 | 425.3983 | 517.2418 | 553.7974 | 606 | 553.6735 | 547.9363 | 557.5137 | 557.0911 | 555.5438 | 561.6248 | 561.0381 | 553.5559 | 530.7454 | 494.995 | 510.5367 | 0.21201 | 0.21675 | 0.22753 | 0.27806 | 0.31552 | 0.355 | 0.31544 | 0.31157 | 0.30616 | 0.30623 | 0.30662 | 0.30275 | 0.29927 | 0.29134 | 0.27848 | 0.24399 | 0.25874 | 4.1371 | 4.1781 | 4.2066 | 4.7914 | 5.4584 | 4.87 | 5.461 | 5.5669 | 5.6384 | 5.6436 | 5.6611 | 5.5662 | 5.5969 | 5.4432 | 5.2602 | 5.3368 | 5.2643
| 2016-05-02 | 395.7208 | 398.0868 | 408.6233 | 506.5317 | 554.955 | 606 | 554.912 | 551.7745 | 554.8221 | 556.5397 | 557.5563 | 563.6406 | 560.7839 | 558.2677 | 540.8134 | 505.5264 | 515.9509 | 0.21108 | 0.2124 | 0.21825 | 0.27204 | 0.31628 | 0.355 | 0.31625 | 0.31418 | 0.30525 | 0.30604 | 0.30616 | 0.30233 | 0.30377 | 0.2981 | 0.28088 | 0.25526 | 0.26401 | 4.1057 | 4.142 | 4.1813 | 4.7372 | 5.3957 | 4.87 | 5.3977 | 5.4992 | 5.6345 | 5.6399 | 5.6388 | 5.4609 | 5.5503 | 5.3877 | 5.2218 | 5.344 | 5.2685
| 2016-05-03 | 395.6707 | 395.7759 | 396.3696 | 489.5773 | 554.8664 | 606 | 554.8965 | 554.2374 | 552.444 | 553.2978 | 554.7719 | 563.1503 | 565.2347 | 560.8154 | 550.7039 | 511.5412 | 522.3146 | 0.21112 | 0.21111 | 0.21146 | 0.26256 | 0.31611 | 0.355 | 0.31613 | 0.31581 | 0.30429 | 0.30465 | 0.3052 | 0.30305 | 0.30182 | 0.29919 | 0.28826 | 0.2609 | 0.26894 | 4.0639 | 4.1142 | 4.1294 | 4.6869 | 5.3334 | 4.87 | 5.3365 | 5.4314 | 5.6203 | 5.6284 | 5.634 | 5.4943 | 5.4389 | 5.3244 | 5.2444 | 5.184 | 5.2647
| 2016-05-04 | 395.1798 | 395.6769 | 395.688 | 464.2438 | 554.1684 | 606 | 554.1924 | 555.0056 | 556.8604 | 554.1638 | 552.4046 | 559.8116 | 561.5291 | 560.1417 | 553.7076 | 523.2307 | 529.2459 | 0.21083 | 0.21112 | 0.21112 | 0.24917 | 0.31568 | 0.355 | 0.3157 | 0.31626 | 0.30454 | 0.30392 | 0.3042 | 0.3018 | 0.30249 | 0.29993 | 0.2951 | 0.27202 | 0.27306 | 4.0744 | 4.0669 | 4.0861 | 4.6309 | 5.2848 | 4.87 | 5.2859 | 5.3569 | 5.5408 | 5.5859 | 5.6174 | 5.4898 | 5.4896 | 5.3597 | 5.1922 | 5.3636 | 5.2364
| 2016-05-05 | 392.4501 | 395.2851 | 395.5287 | 453.2882 | 553.7319 | 606 | 553.7438 | 554.4241 | 558.8966 | 556.3668 | 556.4746 | 555.4327 | 555.4688 | 556.2446 | 558.3951 | 529.408 | 536.4105 | 0.20933 | 0.21089 | 0.21111 | 0.24358 | 0.31549 | 0.355 | 0.3155 | 0.31583 | 0.30929 | 0.3073 | 0.30516 | 0.30286 | 0.30295 | 0.29791 | 0.29489 | 0.27721 | 0.27883 | 4.145 | 4.0598 | 4.054 | 4.6097 | 5.244 | 4.87 | 5.245 | 5.2979 | 5.4722 | 5.516 | 5.5373 | 5.5442 | 5.5543 | 5.3205 | 5.1379 | 5.2572 | 5.2307
| 2016-05-06 | 387.2571 | 391.9666 | 394.0553 | 399.4444 | 548.6218 | 605.9915 | 549.272 | 554.1496 | 561.5883 | 559.5715 | 557.2684 | 559.5665 | 556.274 | 552.29 | 553.8854 | 543.6264 | 540.6619 | 0.20646 | 0.20909 | 0.2102 | 0.21375 | 0.31202 | 0.35499 | 0.31246 | 0.31566 | 0.31151 | 0.30995 | 0.30802 | 0.30307 | 0.30274 | 0.29965 | 0.29313 | 0.28119 | 0.28236 | 4.138 | 4.1438 | 4.1293 | 4.5483 | 5.2091 | 4.8701 | 5.2131 | 5.2803 | 5.4219 | 5.4595 | 5.5002 | 5.4701 | 5.5318 | 5.4101 | 5.0658 | 5.1772 | 5.2098
| 2016-05-07 | 381.1693 | 386.6426 | 393.5655 | 266.4741 | 541.1583 | 605.9634 | 542.038 | 553.9874 | 562.7369 | 561.497 | 559.4402 | 569.1471 | 559.1921 | 546.5267 | 551.5416 | 550.3705 | 543.0069 | 0.2031 | 0.20614 | 0.20994 | 0.13999 | 0.30726 | 0.35497 | 0.30781 | 0.31561 | 0.31248 | 0.31145 | 0.30983 | 0.29934 | 0.30246 | 0.29192 | 0.29128 | 0.28771 | 0.28399 | 4.1091 | 4.1348 | 4.1359 | 4.3799 | 5.1737 | 4.8702 | 5.1774 | 5.266 | 5.3954 | 5.4236 | 5.4619 | 5.21 | 5.4799 | 5.0608 | 4.9975 | 5.2258 | 5.1881
| 2016-05-08 | 375.3475 | 380.6437 | 393.2482 | 324.0238 | 532.7375 | 605.9633 | 535.1103 | 553.6349 | 563.1491 | 562.7314 | 561.5526 | 564.7083 | 565.735 | 552.3049 | 549.4456 | 553.3391 | 544.4343 | 0.19989 | 0.20284 | 0.20977 | 0.17158 | 0.30203 | 0.35497 | 0.30351 | 0.31543 | 0.31353 | 0.31257 | 0.3115 | 0.30438 | 0.30068 | 0.29514 | 0.28963 | 0.29117 | 0.28498 | 4.0778 | 4.1062 | 4.1386 | 4.2538 | 5.1359 | 4.8702 | 5.1473 | 5.2516 | 5.3665 | 5.3941 | 5.4224 | 5.3219 | 5.3013 | 5.171 | 4.9438 | 5.2733 | 5.1681
| 2016-05-09 | 367.2327 | 371.3506 | 392.8248 | 417.0286 | 527.6512 | 605.9633 | 532.2392 | 550.2373 | 563.1803 | 563.2739 | 562.7628 | 560.6439 | 569.3194 | 555.9059 | 547.7354 | 554.3144 | 545.4216 | 0.19541 | 0.19768 | 0.20953 | 0.22289 | 0.29867 | 0.35497 | 0.30166 | 0.31316 | 0.3141 | 0.31361 | 0.3128 | 0.31023 | 0.30113 | 0.29155 | 0.28863 | 0.29224 | 0.28577 | 4.0372 | 4.0577 | 4.1422 | 4.1882 | 5.0998 | 4.8702 | 5.1307 | 5.2213 | 5.3357 | 5.3612 | 5.3901 | 5.4369 | 5.2064 | 4.9255 | 4.9184 | 5.2311 | 5.1506
| 2016-05-10 | 362.0162 | 364.6488 | 391.2159 | 397.4374 | 522.8995 | 605.9633 | 529.8502 | 541.8693 | 555.315 | 562.0759 | 563.3665 | 562.2261 | 561.8618 | 561.2791 | 538.5768 | 554.0951 | 546.0973 | 0.19253 | 0.19398 | 0.20869 | 0.2118 | 0.2955 | 0.35497 | 0.30007 | 0.30778 | 0.31628 | 0.31441 | 0.31367 | 0.31199 | 0.30893 | 0.29118 | 0.28228 | 0.29314 | 0.28638 | 4.0241 | 4.0305 | 4.1431 | 4.1314 | 5.0611 | 4.8702 | 5.1126 | 5.1773 | 5.3711 | 5.3403 | 5.3568 | 5.4085 | 5.4047 | 4.7994 | 4.6401 | 5.1897 | 5.1311
| 2016-05-11 | 359.8517 | 360.9363 | 386.0293 | 395.4398 | 518.0067 | 605.9633 | 527.2451 | 527.2451 | 554.9291 | 555.251 | 560.7629 | 562.9301 | 561.9524 | 554.2899 | 531.3163 | 553.8763 | 546.4751 | 0.19134 | 0.19193 | 0.20576 | 0.21111 | 0.29227 | 0.35497 | 0.29835 | 0.29835 | 0.31618 | 0.31629 | 0.31476 | 0.31328 | 0.31178 | 0.2982 | 0.27355 | 0.29456 | 0.28675 | 4.0439 | 4.0338 | 4.1309 | 4.0687 | 5.0215 | 4.8702 | 5.0925 | 5.0925 | 5.3443 | 5.3688 | 5.3472 | 5.3781 | 5.4142 | 4.9833 | 4.2545 | 5.1893 | 5.11
| 2016-05-12 | 360.1223 | 359.9638 | 379.9355 | 390.7947 | 513.1457 | 605.9633 | 524.0302 | 524.0302 | 554.7276 | 554.9098 | 555.1498 | 568.1747 | 562.841 | 553.4702 | 536.5408 | 554.638 | 546.6089 | 0.19149 | 0.1914 | 0.20244 | 0.20847 | 0.28907 | 0.35497 | 0.29623 | 0.29623 | 0.31603 | 0.31615 | 0.31628 | 0.31104 | 0.31308 | 0.30145 | 0.27693 | 0.29622 | 0.28711 | 4.0777 | 4.0605 | 4.1022 | 4.1387 | 4.9843 | 4.8702 | 5.0677 | 5.0677 | 5.3193 | 5.3411 | 5.3651 | 5.2282 | 5.3839 | 5.0146 | 4.3733 | 5.2199 | 5.0924
| 2016-05-13 | 363.4661 | 361.7589 | 372.5724 | 381.669 | 508.186 | 605.961 | 520.6133 | 520.6133 | 554.4689 | 554.7123 | 554.9052 | 566.0488 | 566.0867 | 553.8251 | 541.3449 | 556.3969 | 545.6255 | 0.19333 | 0.19239 | 0.1984 | 0.20338 | 0.28583 | 0.35497 | 0.29399 | 0.29399 | 0.31586 | 0.31602 | 0.31615 | 0.31099 | 0.31218 | 0.30186 | 0.27542 | 0.29666 | 0.28647 | 4.1157 | 4.0964 | 4.064 | 4.1108 | 4.9508 | 4.8702 | 5.0421 | 5.0421 | 5.3007 | 5.3181 | 5.3407 | 5.1764 | 5.2854 | 4.9607 | 4.2285 | 5.2172 | 5.0372
| 2016-05-14 | 367.7392 | 365.5762 | 365.4521 | 372.2854 | 503.0813 | 605.9277 | 517.101 | 517.101 | 554.2061 | 554.4775 | 554.7272 | 567.8256 | 566.43 | 554.1893 | 545.0708 | 557.8235 | 544.178 | 0.19569 | 0.1945 | 0.1944 | 0.19817 | 0.28252 | 0.35495 | 0.29168 | 0.29168 | 0.31568 | 0.31587 | 0.31603 | 0.30889 | 0.31141 | 0.30145 | 0.27609 | 0.29546 | 0.28513 | 4.1453 | 4.1304 | 4.0332 | 4.0625 | 4.9172 | 4.8702 | 5.0168 | 5.0168 | 5.2836 | 5.3013 | 5.3195 | 5.0662 | 5.2106 | 4.8916 | 4.1694 | 5.164 | 4.9546
| 2016-05-15 | 370.458 | 369.0913 | 361.3527 | 365.2836 | 498.222 | 605.9276 | 512.5647 | 512.5647 | 553.9828 | 554.1876 | 554.4506 | 561.7379 | 565.3348 | 560.5355 | 540.6023 | 558.2558 | 543.3793 | 0.19719 | 0.19644 | 0.19211 | 0.1943 | 0.27942 | 0.35495 | 0.28873 | 0.28873 | 0.31561 | 0.31567 | 0.31584 | 0.31214 | 0.31053 | 0.30371 | 0.28094 | 0.29492 | 0.2842 | 4.1576 | 4.1514 | 4.0323 | 4.0325 | 4.8832 | 4.8702 | 4.9846 | 4.9846 | 5.267 | 5.2822 | 5.2996 | 5.1774 | 5.1358 | 4.9285 | 4.2956 | 5.1435 | 4.8868
| 2016-05-16 | 370.6624 | 370.4696 | 360.0417 | 362.2352 | 495.9942 | 605.9276 | 508.1889 | 508.1889 | 553.2019 | 553.9442 | 554.157 | 554.9523 | 565.8421 | 556.6445 | 538.6102 | 557.8528 | 543.3126 | 0.19731 | 0.19721 | 0.19138 | 0.19258 | 0.2781 | 0.35495 | 0.28591 | 0.28591 | 0.31536 | 0.3156 | 0.31566 | 0.3158 | 0.3098 | 0.30053 | 0.28323 | 0.29553 | 0.28315 | 4.1553 | 4.1572 | 4.0549 | 4.0279 | 4.8581 | 4.8702 | 4.9523 | 4.9523 | 5.2484 | 5.2649 | 5.28 | 5.3056 | 5.0872 | 4.764 | 4.3128 | 5.1658 | 4.8071
| 2016-05-17 | 367.2041 | 370.3018 | 361.3716 | 360.6356 | 495.0109 | 605.9276 | 503.6631 | 503.6631 | 547.562 | 552.2014 | 553.7084 | 554.2913 | 555.7482 | 566.5155 | 538.7634 | 557.2178 | 543.4256 | 0.1954 | 0.19714 | 0.19215 | 0.19173 | 0.27766 | 0.35495 | 0.28305 | 0.28305 | 0.31154 | 0.31466 | 0.31556 | 0.31571 | 0.31536 | 0.30942 | 0.28317 | 0.29606 | 0.28243 | 4.1413 | 4.1539 | 4.0909 | 4.037 | 4.834 | 4.8702 | 4.9142 | 4.9142 | 5.2072 | 5.2386 | 5.2571 | 5.2893 | 5.2887 | 5.0724 | 4.2532 | 5.1795 | 4.7369
| 2016-05-18 | 360.8464 | 366.6826 | 364.9376 | 359.9883 | 493.9714 | 605.9276 | 500.3825 | 500.3825 | 531.9565 | 543.1674 | 550.2505 | 553.9096 | 554.2753 | 555.5375 | 539.648 | 552.2565 | 543.0588 | 0.19189 | 0.19511 | 0.19409 | 0.19137 | 0.27716 | 0.35495 | 0.28103 | 0.28103 | 0.30138 | 0.30863 | 0.31333 | 0.3156 | 0.31571 | 0.31547 | 0.28331 | 0.29167 | 0.28233 | 4.122 | 4.1398 | 4.1254 | 4.0526 | 4.8116 | 4.8702 | 4.8813 | 4.8813 | 5.1207 | 5.1834 | 5.224 | 5.2641 | 5.2881 | 5.2916 | 4.2019 | 5.0147 | 4.6872
| 2016-05-19 | 354.2811 | 360.2364 | 368.0932 | 360.2061 | 493.4198 | 605.9276 | 497.9918 | 497.9918 | 523.9475 | 527.9189 | 536.7253 | 551.7617 | 553.8783 | 554.2446 | 545.8284 | 549.6378 | 542.5939 | 0.18826 | 0.19157 | 0.19591 | 0.19145 | 0.27697 | 0.35495 | 0.27962 | 0.27962 | 0.2962 | 0.29874 | 0.30446 | 0.31438 | 0.31559 | 0.31569 | 0.28662 | 0.28977 | 0.28249 | 4.1039 | 4.1203 | 4.1461 | 4.0725 | 4.7925 | 4.8702 | 4.8528 | 4.8528 | 5.0672 | 5.0954 | 5.148 | 5.2355 | 5.2631 | 5.286 | 4.2815 | 4.9538 | 4.6444
| 2016-05-20 | 348.3784 | 353.6106 | 370.3408 | 361.7669 | 493.6408 | 605.9276 | 496.4029 | 496.4029 | 518.626 | 522.0987 | 525.5992 | 541.6658 | 551.4788 | 553.8292 | 547.5803 | 547.6045 | 542.1798 | 0.185 | 0.18791 | 0.19722 | 0.19239 | 0.27729 | 0.35495 | 0.27873 | 0.27873 | 0.2927 | 0.295 | 0.29725 | 0.30767 | 0.31422 | 0.31559 | 0.28957 | 0.28945 | 0.28262 | 4.0889 | 4.1022 | 4.1562 | 4.0962 | 4.777 | 4.8702 | 4.8283 | 4.8283 | 5.0278 | 5.0533 | 5.0793 | 5.1752 | 5.2334 | 5.2618 | 4.3585 | 4.9498 | 4.5987
| 2016-05-21 | 343.9079 | 347.9581 | 369.5737 | 363.8288 | 494.4247 | 605.9276 | 495.5664 | 495.5664 | 512.4659 | 516.4154 | 520.2796 | 527.6105 | 541.3362 | 551.069 | 566.0134 | 538.9439 | 542.1376 | 0.18254 | 0.18477 | 0.19677 | 0.19347 | 0.27797 | 0.35495 | 0.27835 | 0.27835 | 0.28865 | 0.29126 | 0.29378 | 0.29854 | 0.30746 | 0.31393 | 0.30924 | 0.28246 | 0.28282 | 4.0804 | 4.0881 | 4.151 | 4.117 | 4.7646 | 4.8702 | 4.8077 | 4.8077 | 4.9838 | 5.012 | 5.0398 | 5.0931 | 5.1734 | 5.2306 | 5.0648 | 4.6456 | 4.5572
| 2016-05-22 | 340.8465 | 343.6584 | 365.4315 | 366.3867 | 495.6844 | 605.9276 | 495.3982 | 495.3982 | 506.8758 | 510.4611 | 514.2658 | 521.9177 | 527.4628 | 540.1077 | 555.9426 | 533.2707 | 542.5217 | 0.18085 | 0.1824 | 0.19448 | 0.19499 | 0.27897 | 0.35495 | 0.2784 | 0.2784 | 0.28505 | 0.28734 | 0.28982 | 0.29488 | 0.29844 | 0.30666 | 0.31529 | 0.2754 | 0.28326 | 4.0762 | 4.0801 | 4.1361 | 4.1359 | 4.7543 | 4.8702 | 4.7903 | 4.7903 | 4.9415 | 4.9691 | 4.9966 | 5.052 | 5.092 | 5.1666 | 5.2822 | 4.3324 | 4.524
| 2016-05-23 | 338.1917 | 339.5302 | 359.3948 | 369.4876 | 493.6858 | 605.9276 | 495.1491 | 495.1491 | 502.6776 | 505.299 | 508.4943 | 516.0952 | 521.6251 | 526.9167 | 554.2508 | 536.9945 | 543.8643 | 0.17938 | 0.18012 | 0.19115 | 0.1967 | 0.27776 | 0.35495 | 0.27839 | 0.27839 | 0.28241 | 0.28403 | 0.28606 | 0.29103 | 0.2947 | 0.29805 | 0.31569 | 0.27691 | 0.28456 | 4.0739 | 4.0751 | 4.1181 | 4.1532 | 4.7355 | 4.8702 | 4.774 | 4.774 | 4.9045 | 4.9283 | 4.9542 | 5.0097 | 5.0498 | 5.0882 | 5.2863 | 4.3519 | 4.5277
Note on C1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on D1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on E1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on F1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on G1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on H1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on I1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on J1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on K1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on L1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on M1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on N1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on O1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on P1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Q1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on R1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on S1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on T1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on U1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on V1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on W1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on X1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Y1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Z1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AA1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AB1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AC1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AD1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AE1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AF1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AG1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AH1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AI1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AJ1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AK1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AL1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AM1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AN1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AO1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AP1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AQ1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AR1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AS1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AT1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AU1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AV1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AW1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AX1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AY1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AZ1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BA1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss

## DataGroups
Inputs | Group Name: | DSM2 Fingerprint | Constituents: |  |  |  | Qual:
20160503-21A | Start Date: | 2016-04-25 | Scenario(Fpart) | 20160503-21A+FROM-ALL |  |  | Scenario(Fpart)
ca-aq-qual.dss | Start Time: | 2400 | DSS file | ca-aq-qual.dss |  |  | DSS file
| Finish Date: | 2016-05-22
| Finish Time: | 2400
DSM2 Location | Constituent | Pathnames: | Part A: | Part B: | Part C: | Part D: | Part E: | Part F:
South Bay Pumping Plant | EC | /QUAL8.0.6/ck_01/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_01 | EC |  | 1DAY | 20160503-21A+FROM-ALL
Check 2 | EC | /QUAL8.0.6/ck_02/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_02 | EC |  | 1DAY | 20160503-21A+FROM-ALL
Santa Clara Tank Inflow | EC | /QUAL8.0.6/ck_613/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_613 | EC |  | 1DAY | 20160503-21A+FROM-ALL
CA Aqueduct Inflow to O'Neill Forebay | EC | /QUAL8.0.6/ck_12/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_12 | EC |  | 1DAY | 20160503-21A+FROM-ALL
O'Neill P/G Plant | EC | /QUAL8.0.6/ONEILLR/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ONEILLR | EC |  | 1DAY | 20160503-21A+FROM-ALL
San Luis Reservoir | EC | /QUAL8.0.6/SANLUISR/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | SANLUISR | EC |  | 1DAY | 20160503-21A+FROM-ALL
O'Neill Forebay Outlet to CA Aqueduct | EC | /QUAL8.0.6/415_100/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | 415_100 | EC |  | 1DAY | 20160503-21A+FROM-ALL
check 13 | EC | /QUAL8.0.6/ck_13/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_13 | EC |  | 1DAY | 20160503-21A+FROM-ALL
Check 21 | EC | /QUAL8.0.6/ck_21/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_21 | EC |  | 1DAY | 20160503-21A+FROM-ALL
Check 22 | EC | /QUAL8.0.6/ck_22/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_22 | EC |  | 1DAY | 20160503-21A+FROM-ALL
Check 23, Upstream of Semitropic Turn-ins | EC | /QUAL8.0.6/ck_23/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_23 | EC |  | 1DAY | 20160503-21A+FROM-ALL
Check 25, Downstream of Semitropic Turnins | EC | /QUAL8.0.6/ck_25/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_25 | EC |  | 1DAY | 20160503-21A+FROM-ALL
Check 27, Tupman Rd Bridge Upstream of CVC, KWB and Arvin-Edison Turn-ins | EC | /QUAL8.0.6/ck_27/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_27 | EC |  | 1DAY | 20160503-21A+FROM-ALL
Check 29 | EC | /QUAL8.0.6/ck_29/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_29 | EC |  | 1DAY | 20160503-21A+FROM-ALL
Check 41 | EC | /QUAL8.0.6/ck_41/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_41 | EC |  | 1DAY | 20160503-21A+FROM-ALL
Check 66 | EC | /QUAL8.0.6/ck_66/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_66 | EC |  | 1DAY | 20160503-21A+FROM-ALL
Pyramid Lake Inflow | EC | /QUAL8.0.6/ck_705/EC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_705 | EC |  | 1DAY | 20160503-21A+FROM-ALL
South Bay Pumping Plant | BR | /QUAL8.0.6/ck_01/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_01 | BR |  | 1DAY | 20160503-21A+FROM-ALL
Check 2 | BR | /QUAL8.0.6/ck_02/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_02 | BR |  | 1DAY | 20160503-21A+FROM-ALL
Santa Clara Tank Inflow | BR | /QUAL8.0.6/ck_613/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_613 | BR |  | 1DAY | 20160503-21A+FROM-ALL
CA Aqueduct Inflow to O'Neill Forebay | BR | /QUAL8.0.6/ck_12/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_12 | BR |  | 1DAY | 20160503-21A+FROM-ALL
O'Neill P/G Plant | BR | /QUAL8.0.6/ONEILLR/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ONEILLR | BR |  | 1DAY | 20160503-21A+FROM-ALL
San Luis Reservoir | BR | /QUAL8.0.6/SANLUISR/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | SANLUISR | BR |  | 1DAY | 20160503-21A+FROM-ALL
O'Neill Forebay Outlet to CA Aqueduct | BR | /QUAL8.0.6/415_100/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | 415_100 | BR |  | 1DAY | 20160503-21A+FROM-ALL
check 13 | BR | /QUAL8.0.6/ck_13/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_13 | BR |  | 1DAY | 20160503-21A+FROM-ALL
Check 21 | BR | /QUAL8.0.6/ck_21/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_21 | BR |  | 1DAY | 20160503-21A+FROM-ALL
Check 22 | BR | /QUAL8.0.6/ck_22/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_22 | BR |  | 1DAY | 20160503-21A+FROM-ALL
Check 23, Upstream of Semitropic Turn-ins | BR | /QUAL8.0.6/ck_23/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_23 | BR |  | 1DAY | 20160503-21A+FROM-ALL
Check 25, Downstream of Semitropic Turnins | BR | /QUAL8.0.6/ck_25/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_25 | BR |  | 1DAY | 20160503-21A+FROM-ALL
Check 27, Tupman Rd Bridge Upstream of CVC, KWB and Arvin-Edison Turn-ins | BR | /QUAL8.0.6/ck_27/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_27 | BR |  | 1DAY | 20160503-21A+FROM-ALL
Check 29 | BR | /QUAL8.0.6/ck_29/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_29 | BR |  | 1DAY | 20160503-21A+FROM-ALL
Check 41 | BR | /QUAL8.0.6/ck_41/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_41 | BR |  | 1DAY | 20160503-21A+FROM-ALL
Check 66 | BR | /QUAL8.0.6/ck_66/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_66 | BR |  | 1DAY | 20160503-21A+FROM-ALL
Pyramid Lake Inflow | BR | /QUAL8.0.6/ck_705/BR//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_705 | BR |  | 1DAY | 20160503-21A+FROM-ALL
South Bay Pumping Plant | DOC | /QUAL8.0.6/ck_01/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_01 | DOC |  | 1DAY | 20160503-21A+FROM-ALL
Check 2 | DOC | /QUAL8.0.6/ck_02/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_02 | DOC |  | 1DAY | 20160503-21A+FROM-ALL
Santa Clara Tank Inflow | DOC | /QUAL8.0.6/ck_613/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_613 | DOC |  | 1DAY | 20160503-21A+FROM-ALL
CA Aqueduct Inflow to O'Neill Forebay | DOC | /QUAL8.0.6/ck_12/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_12 | DOC |  | 1DAY | 20160503-21A+FROM-ALL
O'Neill P/G Plant | DOC | /QUAL8.0.6/ONEILLR/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ONEILLR | DOC |  | 1DAY | 20160503-21A+FROM-ALL
San Luis Reservoir | DOC | /QUAL8.0.6/SANLUISR/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | SANLUISR | DOC |  | 1DAY | 20160503-21A+FROM-ALL
O'Neill Forebay Outlet to CA Aqueduct | DOC | /QUAL8.0.6/415_100/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | 415_100 | DOC |  | 1DAY | 20160503-21A+FROM-ALL
check 13 | DOC | /QUAL8.0.6/ck_13/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_13 | DOC |  | 1DAY | 20160503-21A+FROM-ALL
Check 21 | DOC | /QUAL8.0.6/ck_21/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_21 | DOC |  | 1DAY | 20160503-21A+FROM-ALL
Check 22 | DOC | /QUAL8.0.6/ck_22/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_22 | DOC |  | 1DAY | 20160503-21A+FROM-ALL
Check 23, Upstream of Semitropic Turn-ins | DOC | /QUAL8.0.6/ck_23/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_23 | DOC |  | 1DAY | 20160503-21A+FROM-ALL
Check 25, Downstream of Semitropic Turnins | DOC | /QUAL8.0.6/ck_25/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_25 | DOC |  | 1DAY | 20160503-21A+FROM-ALL
Check 27, Tupman Rd Bridge Upstream of CVC, KWB and Arvin-Edison Turn-ins | DOC | /QUAL8.0.6/ck_27/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_27 | DOC |  | 1DAY | 20160503-21A+FROM-ALL
Check 29 | DOC | /QUAL8.0.6/ck_29/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_29 | DOC |  | 1DAY | 20160503-21A+FROM-ALL
Check 41 | DOC | /QUAL8.0.6/ck_41/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_41 | DOC |  | 1DAY | 20160503-21A+FROM-ALL
Check 66 | DOC | /QUAL8.0.6/ck_66/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_66 | DOC |  | 1DAY | 20160503-21A+FROM-ALL
Pyramid Lake Inflow | DOC | /QUAL8.0.6/ck_705/DOC//1DAY/20160503-21A+FROM-ALL/ | QUAL8.0.6 | ck_705 | DOC |  | 1DAY | 20160503-21A+FROM-ALL
Note on A3: open dss file, may have a different file name though
Note on B1: Delete "Retrieve TS". Retrieve from DSM2 output dss file the data with these groups then copy the new "Retrieved TS" data to another worksheet

## Macro
Start Date | 2016-04-25
End Date | 2016-05-22
Legend Name for Scenario | A | Base Case
Legend Name for Scenario |  | Alternate 1
Legend Name for Scenario |  | Alternate 2
Legend Name for Scenario |  | Alternate 3
Chart | Base Chart Title | EC Column | Br Column | DOC Column
1 | at South Bay Pumping Plant | C | T | AK
2 | at Check 2 | D | U | AL
3 | at Check Santa Clara Tank Inflow | E | V | AM
4 | at Check 12 | F | W | AN
5 | at O'Neill Reservoir | G | X | AO
6 | at San Luis Reservoir | H | Y | AP
7 | at Check 13 | J | AA | AR
8 | at Check 21 | K | AB | AS
9 | at Check 23 | M | AD | AU
10 | at Check 25 | N | AE | AV
11 | at Check 27 | O | AF | AW
12 | at Check 29 | P | AG | AX
13 | at Check 41 | Q | AH | AY
14 | at Check 66 | R | AI | AZ
15 | at Pyramid Lake Inflow | S | AJ | BA
Generate Report

## Retrieved TS
Part A: |  | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6
Part B: |  | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705
Part C: |  | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC
Part D:
Part E: |  | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY
Part F: |  | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL | 20160503-21A+FROM-ALL
Beg. Date: |  | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25 | 2016-04-25
Beg. Time: |  | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
End Date: |  | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22 | 2016-05-22
End Time: |  | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
Units: |  | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM
Data Type: | Index | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL
| 2016-04-25 | 454 | 480 | 510 | 481 | 542 | 606 | 544 | 544 | 541 | 539 | 535 | 533 | 530 | 520 | 502 | 482 | 494 | 0.244 | 0.257 | 0.274 | 0.258 | 0.308 | 0.355 | 0.309 | 0.309 | 0.293 | 0.292 | 0.289 | 0.285 | 0.283 | 0.273 | 0.252 | 0.229 | 0.238 | 4.61 | 4.66 | 4.73 | 5.78 | 5.75 | 4.87 | 5.76 | 5.76 | 5.96 | 5.99 | 6.07 | 6.11 | 6.15 | 5.82 | 5.37 | 5.34 | 5.14
| 2016-04-26 | 453.8117 | 454.0085 | 475.1664 | 485.7941 | 541.041 | 606 | 541.0781 | 543.9998 | 545.8381 | 540.6339 | 538.241 | 533.8251 | 532.5078 | 524.9694 | 506.7998 | 502.9663 | 494.9951 | 0.2439 | 0.244 | 0.25493 | 0.2608 | 0.30712 | 0.355 | 0.30716 | 0.309 | 0.293 | 0.29282 | 0.29143 | 0.28529 | 0.28449 | 0.27617 | 0.25705 | 0.23448 | 0.24052 | 4.6098 | 4.61 | 4.655 | 5.5863 | 5.7361 | 4.87 | 5.7368 | 5.76 | 5.9095 | 5.9656 | 6.0052 | 6.0857 | 6.1091 | 5.745 | 5.4832 | 5.1398 | 5.1524
| 2016-04-27 | 264.8929 | 430.7188 | 454.0025 | 498.8498 | 540.235 | 606 | 540.2549 | 541.6398 | 551.9991 | 549.628 | 546.0175 | 539.8677 | 535.7773 | 530.2101 | 509.1586 | 502.6901 | 497.7635 | 0.13914 | 0.23109 | 0.244 | 0.26802 | 0.30626 | 0.355 | 0.30628 | 0.30756 | 0.29684 | 0.29342 | 0.293 | 0.29101 | 0.28703 | 0.28075 | 0.25756 | 0.23511 | 0.24478 | 4.3964 | 4.5837 | 4.61 | 5.2572 | 5.7093 | 4.87 | 5.7103 | 5.7438 | 5.8062 | 5.8595 | 5.907 | 5.9665 | 6.0448 | 5.8431 | 5.0885 | 5.164 | 5.2483
| 2016-04-28 | 373.7828 | 212.0279 | 449.683 | 513.3164 | 543.8553 | 606 | 543.8171 | 540.5121 | 557.7602 | 554.9757 | 551.9758 | 548.6769 | 542.1418 | 534.5992 | 517.4622 | 496.1314 | 500.9028 | 0.19903 | 0.1098 | 0.24162 | 0.27638 | 0.30868 | 0.355 | 0.30865 | 0.30656 | 0.30349 | 0.30071 | 0.29672 | 0.2923 | 0.29206 | 0.28462 | 0.26584 | 0.2392 | 0.2486 | 4.2282 | 4.3219 | 4.6051 | 5.0346 | 5.633 | 4.87 | 5.6337 | 5.7203 | 5.6899 | 5.7436 | 5.8075 | 5.8544 | 5.9302 | 5.6876 | 5.1182 | 5.3309 | 5.2563
| 2016-04-29 | 416.5446 | 426.1678 | 222.714 | 523.0837 | 550.0975 | 606 | 549.8396 | 542.1742 | 555.437 | 555.7778 | 557.6084 | 557.5218 | 554.5071 | 544.4332 | 525.5858 | 494.0036 | 504.8624 | 0.22263 | 0.22794 | 0.11571 | 0.2814 | 0.31306 | 0.355 | 0.31288 | 0.30754 | 0.30662 | 0.30642 | 0.3037 | 0.29583 | 0.29203 | 0.28771 | 0.27405 | 0.24086 | 0.25291 | 4.1873 | 4.2068 | 4.3379 | 4.878 | 5.5319 | 4.87 | 5.5361 | 5.6682 | 5.6631 | 5.6811 | 5.6895 | 5.6647 | 5.7408 | 5.6171 | 5.4301 | 5.3421 | 5.2261
| 2016-04-30 | 397.3091 | 405.9227 | 425.3983 | 517.2418 | 553.7974 | 606 | 553.6735 | 547.9363 | 557.5137 | 557.0911 | 555.5438 | 561.6248 | 561.0381 | 553.5559 | 530.7454 | 494.995 | 510.5367 | 0.21201 | 0.21675 | 0.22753 | 0.27806 | 0.31552 | 0.355 | 0.31544 | 0.31157 | 0.30616 | 0.30623 | 0.30662 | 0.30275 | 0.29927 | 0.29134 | 0.27848 | 0.24399 | 0.25874 | 4.1371 | 4.1781 | 4.2066 | 4.7914 | 5.4584 | 4.87 | 5.461 | 5.5669 | 5.6384 | 5.6436 | 5.6611 | 5.5662 | 5.5969 | 5.4432 | 5.2602 | 5.3368 | 5.2643
| 2016-05-01 | 395.7208 | 398.0868 | 408.6233 | 506.5317 | 554.955 | 606 | 554.912 | 551.7745 | 554.8221 | 556.5397 | 557.5563 | 563.6406 | 560.7839 | 558.2677 | 540.8134 | 505.5264 | 515.9509 | 0.21108 | 0.2124 | 0.21825 | 0.27204 | 0.31628 | 0.355 | 0.31625 | 0.31418 | 0.30525 | 0.30604 | 0.30616 | 0.30233 | 0.30377 | 0.2981 | 0.28088 | 0.25526 | 0.26401 | 4.1057 | 4.142 | 4.1813 | 4.7372 | 5.3957 | 4.87 | 5.3977 | 5.4992 | 5.6345 | 5.6399 | 5.6388 | 5.4609 | 5.5503 | 5.3877 | 5.2218 | 5.344 | 5.2685
| 2016-05-02 | 395.6707 | 395.7759 | 396.3696 | 489.5773 | 554.8664 | 606 | 554.8965 | 554.2374 | 552.444 | 553.2978 | 554.7719 | 563.1503 | 565.2347 | 560.8154 | 550.7039 | 511.5412 | 522.3146 | 0.21112 | 0.21111 | 0.21146 | 0.26256 | 0.31611 | 0.355 | 0.31613 | 0.31581 | 0.30429 | 0.30465 | 0.3052 | 0.30305 | 0.30182 | 0.29919 | 0.28826 | 0.2609 | 0.26894 | 4.0639 | 4.1142 | 4.1294 | 4.6869 | 5.3334 | 4.87 | 5.3365 | 5.4314 | 5.6203 | 5.6284 | 5.634 | 5.4943 | 5.4389 | 5.3244 | 5.2444 | 5.184 | 5.2647
| 2016-05-03 | 395.1798 | 395.6769 | 395.688 | 464.2438 | 554.1684 | 606 | 554.1924 | 555.0056 | 556.8604 | 554.1638 | 552.4046 | 559.8116 | 561.5291 | 560.1417 | 553.7076 | 523.2307 | 529.2459 | 0.21083 | 0.21112 | 0.21112 | 0.24917 | 0.31568 | 0.355 | 0.3157 | 0.31626 | 0.30454 | 0.30392 | 0.3042 | 0.3018 | 0.30249 | 0.29993 | 0.2951 | 0.27202 | 0.27306 | 4.0744 | 4.0669 | 4.0861 | 4.6309 | 5.2848 | 4.87 | 5.2859 | 5.3569 | 5.5408 | 5.5859 | 5.6174 | 5.4898 | 5.4896 | 5.3597 | 5.1922 | 5.3636 | 5.2364
| 2016-05-04 | 392.4501 | 395.2851 | 395.5287 | 453.2882 | 553.7319 | 606 | 553.7438 | 554.4241 | 558.8966 | 556.3668 | 556.4746 | 555.4327 | 555.4688 | 556.2446 | 558.3951 | 529.408 | 536.4105 | 0.20933 | 0.21089 | 0.21111 | 0.24358 | 0.31549 | 0.355 | 0.3155 | 0.31583 | 0.30929 | 0.3073 | 0.30516 | 0.30286 | 0.30295 | 0.29791 | 0.29489 | 0.27721 | 0.27883 | 4.145 | 4.0598 | 4.054 | 4.6097 | 5.244 | 4.87 | 5.245 | 5.2979 | 5.4722 | 5.516 | 5.5373 | 5.5442 | 5.5543 | 5.3205 | 5.1379 | 5.2572 | 5.2307
| 2016-05-05 | 387.2571 | 391.9666 | 394.0553 | 399.4444 | 548.6218 | 605.9915 | 549.272 | 554.1496 | 561.5883 | 559.5715 | 557.2684 | 559.5665 | 556.274 | 552.29 | 553.8854 | 543.6264 | 540.6619 | 0.20646 | 0.20909 | 0.2102 | 0.21375 | 0.31202 | 0.35499 | 0.31246 | 0.31566 | 0.31151 | 0.30995 | 0.30802 | 0.30307 | 0.30274 | 0.29965 | 0.29313 | 0.28119 | 0.28236 | 4.138 | 4.1438 | 4.1293 | 4.5483 | 5.2091 | 4.8701 | 5.2131 | 5.2803 | 5.4219 | 5.4595 | 5.5002 | 5.4701 | 5.5318 | 5.4101 | 5.0658 | 5.1772 | 5.2098
| 2016-05-06 | 381.1693 | 386.6426 | 393.5655 | 266.4741 | 541.1583 | 605.9634 | 542.038 | 553.9874 | 562.7369 | 561.497 | 559.4402 | 569.1471 | 559.1921 | 546.5267 | 551.5416 | 550.3705 | 543.0069 | 0.2031 | 0.20614 | 0.20994 | 0.13999 | 0.30726 | 0.35497 | 0.30781 | 0.31561 | 0.31248 | 0.31145 | 0.30983 | 0.29934 | 0.30246 | 0.29192 | 0.29128 | 0.28771 | 0.28399 | 4.1091 | 4.1348 | 4.1359 | 4.3799 | 5.1737 | 4.8702 | 5.1774 | 5.266 | 5.3954 | 5.4236 | 5.4619 | 5.21 | 5.4799 | 5.0608 | 4.9975 | 5.2258 | 5.1881
| 2016-05-07 | 375.3475 | 380.6437 | 393.2482 | 324.0238 | 532.7375 | 605.9633 | 535.1103 | 553.6349 | 563.1491 | 562.7314 | 561.5526 | 564.7083 | 565.735 | 552.3049 | 549.4456 | 553.3391 | 544.4343 | 0.19989 | 0.20284 | 0.20977 | 0.17158 | 0.30203 | 0.35497 | 0.30351 | 0.31543 | 0.31353 | 0.31257 | 0.3115 | 0.30438 | 0.30068 | 0.29514 | 0.28963 | 0.29117 | 0.28498 | 4.0778 | 4.1062 | 4.1386 | 4.2538 | 5.1359 | 4.8702 | 5.1473 | 5.2516 | 5.3665 | 5.3941 | 5.4224 | 5.3219 | 5.3013 | 5.171 | 4.9438 | 5.2733 | 5.1681
| 2016-05-08 | 367.2327 | 371.3506 | 392.8248 | 417.0286 | 527.6512 | 605.9633 | 532.2392 | 550.2373 | 563.1803 | 563.2739 | 562.7628 | 560.6439 | 569.3194 | 555.9059 | 547.7354 | 554.3144 | 545.4216 | 0.19541 | 0.19768 | 0.20953 | 0.22289 | 0.29867 | 0.35497 | 0.30166 | 0.31316 | 0.3141 | 0.31361 | 0.3128 | 0.31023 | 0.30113 | 0.29155 | 0.28863 | 0.29224 | 0.28577 | 4.0372 | 4.0577 | 4.1422 | 4.1882 | 5.0998 | 4.8702 | 5.1307 | 5.2213 | 5.3357 | 5.3612 | 5.3901 | 5.4369 | 5.2064 | 4.9255 | 4.9184 | 5.2311 | 5.1506
| 2016-05-09 | 362.0162 | 364.6488 | 391.2159 | 397.4374 | 522.8995 | 605.9633 | 529.8502 | 541.8693 | 555.315 | 562.0759 | 563.3665 | 562.2261 | 561.8618 | 561.2791 | 538.5768 | 554.0951 | 546.0973 | 0.19253 | 0.19398 | 0.20869 | 0.2118 | 0.2955 | 0.35497 | 0.30007 | 0.30778 | 0.31628 | 0.31441 | 0.31367 | 0.31199 | 0.30893 | 0.29118 | 0.28228 | 0.29314 | 0.28638 | 4.0241 | 4.0305 | 4.1431 | 4.1314 | 5.0611 | 4.8702 | 5.1126 | 5.1773 | 5.3711 | 5.3403 | 5.3568 | 5.4085 | 5.4047 | 4.7994 | 4.6401 | 5.1897 | 5.1311
| 2016-05-10 | 359.8517 | 360.9363 | 386.0293 | 395.4398 | 518.0067 | 605.9633 | 527.2451 | 527.2451 | 554.9291 | 555.251 | 560.7629 | 562.9301 | 561.9524 | 554.2899 | 531.3163 | 553.8763 | 546.4751 | 0.19134 | 0.19193 | 0.20576 | 0.21111 | 0.29227 | 0.35497 | 0.29835 | 0.29835 | 0.31618 | 0.31629 | 0.31476 | 0.31328 | 0.31178 | 0.2982 | 0.27355 | 0.29456 | 0.28675 | 4.0439 | 4.0338 | 4.1309 | 4.0687 | 5.0215 | 4.8702 | 5.0925 | 5.0925 | 5.3443 | 5.3688 | 5.3472 | 5.3781 | 5.4142 | 4.9833 | 4.2545 | 5.1893 | 5.11
| 2016-05-11 | 360.1223 | 359.9638 | 379.9355 | 390.7947 | 513.1457 | 605.9633 | 524.0302 | 524.0302 | 554.7276 | 554.9098 | 555.1498 | 568.1747 | 562.841 | 553.4702 | 536.5408 | 554.638 | 546.6089 | 0.19149 | 0.1914 | 0.20244 | 0.20847 | 0.28907 | 0.35497 | 0.29623 | 0.29623 | 0.31603 | 0.31615 | 0.31628 | 0.31104 | 0.31308 | 0.30145 | 0.27693 | 0.29622 | 0.28711 | 4.0777 | 4.0605 | 4.1022 | 4.1387 | 4.9843 | 4.8702 | 5.0677 | 5.0677 | 5.3193 | 5.3411 | 5.3651 | 5.2282 | 5.3839 | 5.0146 | 4.3733 | 5.2199 | 5.0924
| 2016-05-12 | 363.4661 | 361.7589 | 372.5724 | 381.669 | 508.186 | 605.961 | 520.6133 | 520.6133 | 554.4689 | 554.7123 | 554.9052 | 566.0488 | 566.0867 | 553.8251 | 541.3449 | 556.3969 | 545.6255 | 0.19333 | 0.19239 | 0.1984 | 0.20338 | 0.28583 | 0.35497 | 0.29399 | 0.29399 | 0.31586 | 0.31602 | 0.31615 | 0.31099 | 0.31218 | 0.30186 | 0.27542 | 0.29666 | 0.28647 | 4.1157 | 4.0964 | 4.064 | 4.1108 | 4.9508 | 4.8702 | 5.0421 | 5.0421 | 5.3007 | 5.3181 | 5.3407 | 5.1764 | 5.2854 | 4.9607 | 4.2285 | 5.2172 | 5.0372
| 2016-05-13 | 367.7392 | 365.5762 | 365.4521 | 372.2854 | 503.0813 | 605.9277 | 517.101 | 517.101 | 554.2061 | 554.4775 | 554.7272 | 567.8256 | 566.43 | 554.1893 | 545.0708 | 557.8235 | 544.178 | 0.19569 | 0.1945 | 0.1944 | 0.19817 | 0.28252 | 0.35495 | 0.29168 | 0.29168 | 0.31568 | 0.31587 | 0.31603 | 0.30889 | 0.31141 | 0.30145 | 0.27609 | 0.29546 | 0.28513 | 4.1453 | 4.1304 | 4.0332 | 4.0625 | 4.9172 | 4.8702 | 5.0168 | 5.0168 | 5.2836 | 5.3013 | 5.3195 | 5.0662 | 5.2106 | 4.8916 | 4.1694 | 5.164 | 4.9546
| 2016-05-14 | 370.458 | 369.0913 | 361.3527 | 365.2836 | 498.222 | 605.9276 | 512.5647 | 512.5647 | 553.9828 | 554.1876 | 554.4506 | 561.7379 | 565.3348 | 560.5355 | 540.6023 | 558.2558 | 543.3793 | 0.19719 | 0.19644 | 0.19211 | 0.1943 | 0.27942 | 0.35495 | 0.28873 | 0.28873 | 0.31561 | 0.31567 | 0.31584 | 0.31214 | 0.31053 | 0.30371 | 0.28094 | 0.29492 | 0.2842 | 4.1576 | 4.1514 | 4.0323 | 4.0325 | 4.8832 | 4.8702 | 4.9846 | 4.9846 | 5.267 | 5.2822 | 5.2996 | 5.1774 | 5.1358 | 4.9285 | 4.2956 | 5.1435 | 4.8868
| 2016-05-15 | 370.6624 | 370.4696 | 360.0417 | 362.2352 | 495.9942 | 605.9276 | 508.1889 | 508.1889 | 553.2019 | 553.9442 | 554.157 | 554.9523 | 565.8421 | 556.6445 | 538.6102 | 557.8528 | 543.3126 | 0.19731 | 0.19721 | 0.19138 | 0.19258 | 0.2781 | 0.35495 | 0.28591 | 0.28591 | 0.31536 | 0.3156 | 0.31566 | 0.3158 | 0.3098 | 0.30053 | 0.28323 | 0.29553 | 0.28315 | 4.1553 | 4.1572 | 4.0549 | 4.0279 | 4.8581 | 4.8702 | 4.9523 | 4.9523 | 5.2484 | 5.2649 | 5.28 | 5.3056 | 5.0872 | 4.764 | 4.3128 | 5.1658 | 4.8071
| 2016-05-16 | 367.2041 | 370.3018 | 361.3716 | 360.6356 | 495.0109 | 605.9276 | 503.6631 | 503.6631 | 547.562 | 552.2014 | 553.7084 | 554.2913 | 555.7482 | 566.5155 | 538.7634 | 557.2178 | 543.4256 | 0.1954 | 0.19714 | 0.19215 | 0.19173 | 0.27766 | 0.35495 | 0.28305 | 0.28305 | 0.31154 | 0.31466 | 0.31556 | 0.31571 | 0.31536 | 0.30942 | 0.28317 | 0.29606 | 0.28243 | 4.1413 | 4.1539 | 4.0909 | 4.037 | 4.834 | 4.8702 | 4.9142 | 4.9142 | 5.2072 | 5.2386 | 5.2571 | 5.2893 | 5.2887 | 5.0724 | 4.2532 | 5.1795 | 4.7369
| 2016-05-17 | 360.8464 | 366.6826 | 364.9376 | 359.9883 | 493.9714 | 605.9276 | 500.3825 | 500.3825 | 531.9565 | 543.1674 | 550.2505 | 553.9096 | 554.2753 | 555.5375 | 539.648 | 552.2565 | 543.0588 | 0.19189 | 0.19511 | 0.19409 | 0.19137 | 0.27716 | 0.35495 | 0.28103 | 0.28103 | 0.30138 | 0.30863 | 0.31333 | 0.3156 | 0.31571 | 0.31547 | 0.28331 | 0.29167 | 0.28233 | 4.122 | 4.1398 | 4.1254 | 4.0526 | 4.8116 | 4.8702 | 4.8813 | 4.8813 | 5.1207 | 5.1834 | 5.224 | 5.2641 | 5.2881 | 5.2916 | 4.2019 | 5.0147 | 4.6872
| 2016-05-18 | 354.2811 | 360.2364 | 368.0932 | 360.2061 | 493.4198 | 605.9276 | 497.9918 | 497.9918 | 523.9475 | 527.9189 | 536.7253 | 551.7617 | 553.8783 | 554.2446 | 545.8284 | 549.6378 | 542.5939 | 0.18826 | 0.19157 | 0.19591 | 0.19145 | 0.27697 | 0.35495 | 0.27962 | 0.27962 | 0.2962 | 0.29874 | 0.30446 | 0.31438 | 0.31559 | 0.31569 | 0.28662 | 0.28977 | 0.28249 | 4.1039 | 4.1203 | 4.1461 | 4.0725 | 4.7925 | 4.8702 | 4.8528 | 4.8528 | 5.0672 | 5.0954 | 5.148 | 5.2355 | 5.2631 | 5.286 | 4.2815 | 4.9538 | 4.6444
| 2016-05-19 | 348.3784 | 353.6106 | 370.3408 | 361.7669 | 493.6408 | 605.9276 | 496.4029 | 496.4029 | 518.626 | 522.0987 | 525.5992 | 541.6658 | 551.4788 | 553.8292 | 547.5803 | 547.6045 | 542.1798 | 0.185 | 0.18791 | 0.19722 | 0.19239 | 0.27729 | 0.35495 | 0.27873 | 0.27873 | 0.2927 | 0.295 | 0.29725 | 0.30767 | 0.31422 | 0.31559 | 0.28957 | 0.28945 | 0.28262 | 4.0889 | 4.1022 | 4.1562 | 4.0962 | 4.777 | 4.8702 | 4.8283 | 4.8283 | 5.0278 | 5.0533 | 5.0793 | 5.1752 | 5.2334 | 5.2618 | 4.3585 | 4.9498 | 4.5987
| 2016-05-20 | 343.9079 | 347.9581 | 369.5737 | 363.8288 | 494.4247 | 605.9276 | 495.5664 | 495.5664 | 512.4659 | 516.4154 | 520.2796 | 527.6105 | 541.3362 | 551.069 | 566.0134 | 538.9439 | 542.1376 | 0.18254 | 0.18477 | 0.19677 | 0.19347 | 0.27797 | 0.35495 | 0.27835 | 0.27835 | 0.28865 | 0.29126 | 0.29378 | 0.29854 | 0.30746 | 0.31393 | 0.30924 | 0.28246 | 0.28282 | 4.0804 | 4.0881 | 4.151 | 4.117 | 4.7646 | 4.8702 | 4.8077 | 4.8077 | 4.9838 | 5.012 | 5.0398 | 5.0931 | 5.1734 | 5.2306 | 5.0648 | 4.6456 | 4.5572
| 2016-05-21 | 340.8465 | 343.6584 | 365.4315 | 366.3867 | 495.6844 | 605.9276 | 495.3982 | 495.3982 | 506.8758 | 510.4611 | 514.2658 | 521.9177 | 527.4628 | 540.1077 | 555.9426 | 533.2707 | 542.5217 | 0.18085 | 0.1824 | 0.19448 | 0.19499 | 0.27897 | 0.35495 | 0.2784 | 0.2784 | 0.28505 | 0.28734 | 0.28982 | 0.29488 | 0.29844 | 0.30666 | 0.31529 | 0.2754 | 0.28326 | 4.0762 | 4.0801 | 4.1361 | 4.1359 | 4.7543 | 4.8702 | 4.7903 | 4.7903 | 4.9415 | 4.9691 | 4.9966 | 5.052 | 5.092 | 5.1666 | 5.2822 | 4.3324 | 4.524
| 2016-05-22 | 338.1917 | 339.5302 | 359.3948 | 369.4876 | 493.6858 | 605.9276 | 495.1491 | 495.1491 | 502.6776 | 505.299 | 508.4943 | 516.0952 | 521.6251 | 526.9167 | 554.2508 | 536.9945 | 543.8643 | 0.17938 | 0.18012 | 0.19115 | 0.1967 | 0.27776 | 0.35495 | 0.27839 | 0.27839 | 0.28241 | 0.28403 | 0.28606 | 0.29103 | 0.2947 | 0.29805 | 0.31569 | 0.27691 | 0.28456 | 4.0739 | 4.0751 | 4.1181 | 4.1532 | 4.7355 | 4.8702 | 4.774 | 4.774 | 4.9045 | 4.9283 | 4.9542 | 5.0097 | 5.0498 | 5.0882 | 5.2863 | 4.3519 | 4.5277
Note on C1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on D1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on E1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on F1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on G1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on H1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on I1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on J1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on K1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on L1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on M1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on N1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on O1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on P1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Q1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on R1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on S1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on T1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on U1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on V1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on W1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on X1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Y1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Z1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AA1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AB1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AC1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AD1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AE1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AF1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AG1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AH1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AI1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AJ1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AK1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AL1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AM1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AN1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AO1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AP1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AQ1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AR1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AS1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AT1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AU1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AV1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AW1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AX1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AY1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AZ1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BA1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss