## Chart
The model run results cover the period May 10, through May 30, and are based on the following assumptions:
Common Assumptions
1. CCFB Gates are operating to Priority 3 throughout the forecast period.
2. The Delta Cross Channel gates will be closed throughout the forecast period.
3. Suisun Marsh salinity control flashboards are in through May 26, as of May 27 the flashboards will be removed. The three Suisun Marsh Salinity Control Gates are in open position.
4. The Middle River ag. barrier was installed on March 9, 2016 with all 6 culvert flap-gates tied open. As of April 1 all 6 flap-gates are tidally operated.
5. The Old River at Tracy ag. barrier was installed on March 25, 2016 with all 9 flap-gates tied open, As of April 1 all 9 flap-gates are tidally operated.
6. The Spring Head of Old River barrier was installed on April 1, 2016 with all 8 culvert slide-gates opened.
7. The Grant Line Canal ag. barrier was partially installed on April 15, 2016 with all 6 culvert flap-gates tied open.
8. San Joaquin River flow at Vernalis is 2,225 cfs at the beginning of the forecast period and decreases to 450 cfs by the end of the forecast period. The higher flow during the earlier part of the forecast period is due to the fishery spring pulse flow.
9. San Joaquin River EC at Vernalis increases from 410 umhos/cm at the beginning of the forecast period to 590 umhos/cm by the end of forecast period.
10. Sacramento River flow at Freeport is at 13,779 cfs at the beginning of the forecast period and increases to 14,235 cfs by the end of the forecast period.
11. CCFB is at about 1,100 cfs at the beginning of the forecast period and decreases to 750 cfs by the end of the forecast period.
12. Export at Jones Pumping Plant is at about 1,000 cfs at the beginning of the forecast period and decreases to 750 cfs by the end of the forecast period.

## A
Part A: |  | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6
Part B: |  | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705
Part C: |  | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC
Part D:
Part E: |  | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY
Part F: |  | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL
Beg. Date: |  | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02
Beg. Time: |  | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
End Date: |  | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29
End Time: |  | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
Units: |  | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM
Data Type: | Index | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL
| 2016-05-03 | 395 | 396 | 396 | 457 | 554 | 606 | 555 | 555 | 557 | 556 | 553 | 559 | 561 | 560 | 554 | 524 | 530 | 0.211 | 0.211 | 0.211 | 0.246 | 0.316 | 0.355 | 0.316 | 0.316 | 0.305 | 0.304 | 0.304 | 0.302 | 0.302 | 0.3 | 0.295 | 0.273 | 0.273 | 4.12 | 4.06 | 4.08 | 4.62 | 5.28 | 4.87 | 5.32 | 5.32 | 5.54 | 5.56 | 5.61 | 5.49 | 5.49 | 5.36 | 5.2 | 5.41 | 5.24
| 2016-05-04 | 395 | 395.0883 | 395.6269 | 451.4988 | 552.7609 | 606 | 552.7922 | 554.9352 | 558.3292 | 556.4416 | 556.768 | 558.7986 | 558.9799 | 556.4639 | 558.5612 | 535.5435 | 536.2969 | 0.211 | 0.211 | 0.211 | 0.2427 | 0.31527 | 0.355 | 0.31529 | 0.316 | 0.30849 | 0.30717 | 0.30491 | 0.30107 | 0.30091 | 0.29898 | 0.29552 | 0.2808 | 0.27884 | 4.12 | 4.0709 | 4.0522 | 4.609 | 5.2321 | 4.87 | 5.2332 | 5.3174 | 5.4834 | 5.5216 | 5.5432 | 5.47 | 5.4741 | 5.3571 | 5.1666 | 5.2775 | 5.2291
| 2016-05-05 | 394.1108 | 395 | 395 | 395.3595 | 551.8429 | 606 | 551.8914 | 553.1008 | 562.7268 | 561.0423 | 559.1381 | 556.4214 | 556.4928 | 557.8226 | 556.6642 | 549.2321 | 542.3519 | 0.2105 | 0.211 | 0.211 | 0.21112 | 0.3148 | 0.355 | 0.31483 | 0.31547 | 0.31225 | 0.31153 | 0.30971 | 0.30629 | 0.30393 | 0.29944 | 0.29693 | 0.286 | 0.28381 | 4.1259 | 4.12 | 4.12 | 4.5474 | 5.1941 | 4.87 | 5.1952 | 5.2446 | 5.3925 | 5.4291 | 5.4672 | 5.5327 | 5.5476 | 5.3908 | 5.2301 | 5.1907 | 5.2189
| 2016-05-06 | 403.7449 | 394.8851 | 394.996 | 304.598 | 553.3925 | 606 | 553.3743 | 552.256 | 564.7491 | 564.4794 | 563.2084 | 560.3182 | 558.2422 | 555.2007 | 557.1681 | 553.9999 | 546.6057 | 0.2156 | 0.21098 | 0.211 | 0.16131 | 0.31626 | 0.355 | 0.31623 | 0.31503 | 0.3138 | 0.31322 | 0.31255 | 0.31105 | 0.30844 | 0.30516 | 0.29935 | 0.29293 | 0.28742 | 4.2008 | 4.1206 | 4.12 | 4.431 | 5.1532 | 4.87 | 5.1541 | 5.2056 | 5.316 | 5.3453 | 5.379 | 5.4436 | 5.4846 | 5.4509 | 5.3888 | 5.1953 | 5.2176
| 2016-05-07 | 404.5742 | 398.3272 | 394.0927 | 277.6142 | 555.335 | 606 | 555.3165 | 552.9669 | 564.55 | 564.2581 | 564.4112 | 564.1401 | 562.7352 | 559.5428 | 556.7229 | 555.3888 | 549.3751 | 0.21605 | 0.21268 | 0.21039 | 0.14645 | 0.31808 | 0.355 | 0.31807 | 0.31584 | 0.31385 | 0.31391 | 0.3139 | 0.31295 | 0.31222 | 0.30969 | 0.30111 | 0.29666 | 0.2904 | 4.2042 | 4.1738 | 4.1436 | 4.3663 | 5.1042 | 4.87 | 5.1047 | 5.1672 | 5.2419 | 5.2603 | 5.3015 | 5.354 | 5.391 | 5.3617 | 5.4329 | 5.2291 | 5.24
| 2016-05-08 | 405.2754 | 404.4091 | 404.122 | 294.838 | 554.7756 | 606 | 554.8033 | 554.5072 | 564.1271 | 564.7916 | 564.7284 | 564.3301 | 564.8611 | 562.7585 | 556.3694 | 558.5157 | 551.8793 | 0.21643 | 0.21596 | 0.21581 | 0.1557 | 0.31811 | 0.355 | 0.3181 | 0.3173 | 0.31363 | 0.31373 | 0.31377 | 0.31388 | 0.3137 | 0.31114 | 0.30624 | 0.29561 | 0.29351 | 4.1911 | 4.2035 | 4.2024 | 4.2846 | 5.0575 | 4.87 | 5.06 | 5.1253 | 5.2013 | 5.2273 | 5.2395 | 5.2766 | 5.316 | 5.2729 | 5.4213 | 5.1731 | 5.295
| 2016-05-09 | 402.8109 | 404.2958 | 404.8582 | 410.4448 | 551.5945 | 606 | 551.678 | 555.0223 | 562.8898 | 563.2452 | 563.9153 | 564.9181 | 564.4711 | 562.5424 | 560.5856 | 557.4842 | 553.3722 | 0.21506 | 0.21589 | 0.21621 | 0.21914 | 0.31621 | 0.355 | 0.31626 | 0.3181 | 0.31301 | 0.31328 | 0.31356 | 0.3137 | 0.31385 | 0.31167 | 0.31021 | 0.29665 | 0.29786 | 4.1631 | 4.1798 | 4.1991 | 4.2019 | 5.0179 | 4.87 | 5.0196 | 5.0782 | 5.1487 | 5.1691 | 5.1939 | 5.2321 | 5.2439 | 5.1892 | 5.3417 | 5.2214 | 5.3479
| 2016-05-10 | 396.6307 | 400.3559 | 404.5071 | 404.8183 | 551.316 | 606 | 551.3403 | 553.1896 | 563.5155 | 563.6451 | 562.9792 | 563.7119 | 564.5131 | 562.8245 | 563.0502 | 555.3302 | 555.2476 | 0.21165 | 0.2137 | 0.216 | 0.21596 | 0.31611 | 0.355 | 0.31612 | 0.31716 | 0.31243 | 0.31261 | 0.313 | 0.31343 | 0.31365 | 0.31116 | 0.31132 | 0.29631 | 0.30124 | 4.1209 | 4.1463 | 4.1823 | 4.1659 | 4.98 | 4.87 | 4.9822 | 5.0414 | 5.1099 | 5.1255 | 5.1467 | 5.1825 | 5.2116 | 5.1375 | 5.2476 | 5.2414 | 5.3376
| 2016-05-11 | 389.4733 | 395.8482 | 400.0946 | 396.5871 | 546.5931 | 606 | 546.8056 | 551.511 | 563.7314 | 563.2919 | 563.5168 | 563.1 | 563.2554 | 561.8367 | 562.5493 | 557.2586 | 557.2438 | 0.20769 | 0.21123 | 0.21357 | 0.2114 | 0.31292 | 0.355 | 0.31306 | 0.31618 | 0.31342 | 0.31281 | 0.31243 | 0.31295 | 0.31321 | 0.31094 | 0.31168 | 0.2992 | 0.30387 | 4.0835 | 4.1169 | 4.1445 | 4.1119 | 4.955 | 4.87 | 4.9562 | 5.0018 | 5.0818 | 5.097 | 5.1104 | 5.143 | 5.1663 | 5.0953 | 5.1877 | 5.3936 | 5.3149
| 2016-05-12 | 381.2968 | 388.9138 | 393.8445 | 395.8672 | 546.3935 | 606 | 546.402 | 549.0003 | 566.5864 | 565.228 | 563.7315 | 563.4666 | 563.57 | 560.9532 | 562.7605 | 557.549 | 558.9759 | 0.20318 | 0.2074 | 0.2101 | 0.211 | 0.31289 | 0.355 | 0.31289 | 0.31455 | 0.31445 | 0.31377 | 0.3134 | 0.31241 | 0.31262 | 0.3105 | 0.31118 | 0.29945 | 0.30629 | 4.0456 | 4.081 | 4.1063 | 4.0749 | 4.931 | 4.87 | 4.9322 | 4.968 | 5.0317 | 5.0574 | 5.082 | 5.108 | 5.1264 | 5.0569 | 5.1407 | 5.3972 | 5.2807
| 2016-05-13 | 368.4286 | 374.9726 | 387.9714 | 394.9923 | 543.512 | 606 | 543.8846 | 546.5454 | 566.8964 | 567.0179 | 566.6875 | 567.9059 | 566.7243 | 559.6216 | 560.7109 | 556.4941 | 560.1574 | 0.19607 | 0.19968 | 0.20687 | 0.211 | 0.31102 | 0.355 | 0.31126 | 0.31289 | 0.31535 | 0.31522 | 0.31457 | 0.31139 | 0.31101 | 0.30774 | 0.30954 | 0.30137 | 0.30792 | 4.0004 | 4.0234 | 4.0765 | 4.1168 | 4.8987 | 4.87 | 4.9026 | 4.9456 | 4.9878 | 5.0095 | 5.0284 | 4.9879 | 5.0167 | 4.9373 | 5.0446 | 5.4389 | 5.2393
| 2016-05-14 | 356.9636 | 362.7751 | 385.4421 | 402.0517 | 540.487 | 606 | 540.6364 | 545.5091 | 563.6021 | 565.4953 | 566.7984 | 573.2635 | 571.5333 | 563.7068 | 553.4813 | 556.7335 | 560.6891 | 0.18974 | 0.19295 | 0.20546 | 0.21478 | 0.30904 | 0.355 | 0.30914 | 0.31238 | 0.31476 | 0.31533 | 0.31535 | 0.31093 | 0.31061 | 0.30655 | 0.301 | 0.30666 | 0.30872 | 3.9585 | 3.9796 | 4.0647 | 4.1887 | 4.8697 | 4.87 | 4.8711 | 4.9206 | 4.9613 | 4.972 | 4.9869 | 4.8744 | 4.9167 | 4.8154 | 4.7056 | 5.4163 | 5.1926
| 2016-05-15 | 348.4438 | 352.7519 | 383.4181 | 404.3925 | 538.3903 | 606 | 538.4111 | 542.2462 | 551.5159 | 552.7723 | 561.6533 | 568.6031 | 570.0938 | 569.1588 | 552.5469 | 561.1347 | 559.6993 | 0.18504 | 0.18742 | 0.20434 | 0.216 | 0.30766 | 0.355 | 0.30768 | 0.31018 | 0.31618 | 0.31623 | 0.31498 | 0.31395 | 0.31344 | 0.30651 | 0.29911 | 0.31048 | 0.30792 | 3.9513 | 3.9546 | 4.0553 | 4.1826 | 4.8445 | 4.87 | 4.8448 | 4.8866 | 5.0023 | 5.0143 | 4.9711 | 4.9252 | 4.9301 | 4.7193 | 4.6143 | 5.3284 | 5.1002
| 2016-05-16 | 345.1214 | 348.108 | 380.7805 | 402.0186 | 535.4188 | 606 | 535.5272 | 539.3846 | 549.1041 | 550.6562 | 551.3976 | 556.4328 | 564.7148 | 564.5974 | 556.5559 | 562.9336 | 557.4908 | 0.18321 | 0.18485 | 0.20294 | 0.21475 | 0.30572 | 0.355 | 0.30579 | 0.30832 | 0.31463 | 0.31576 | 0.31617 | 0.31576 | 0.31484 | 0.30941 | 0.29765 | 0.31131 | 0.30519 | 3.9802 | 3.9547 | 4.0442 | 4.1588 | 4.8141 | 4.87 | 4.8152 | 4.8565 | 4.9691 | 4.9819 | 4.9973 | 4.998 | 4.9598 | 4.7674 | 4.4826 | 5.246 | 4.9515
| 2016-05-17 | 343.6725 | 345.0223 | 369.9055 | 397.9333 | 532.626 | 606 | 532.6562 | 536.4688 | 546.501 | 546.9564 | 548.1993 | 550.9398 | 551.6642 | 555.4587 | 562.4207 | 562.6766 | 556.9073 | 0.18241 | 0.18314 | 0.19694 | 0.21243 | 0.30396 | 0.355 | 0.30398 | 0.3064 | 0.31289 | 0.31304 | 0.31396 | 0.31595 | 0.31619 | 0.3159 | 0.2996 | 0.31154 | 0.30285 | 4.0305 | 3.985 | 4.0055 | 4.1304 | 4.7836 | 4.87 | 4.7839 | 4.8251 | 4.9419 | 4.9519 | 4.9629 | 4.9864 | 5.0057 | 5.0022 | 4.4695 | 5.1622 | 4.8139
| 2016-05-18 | 342.9768 | 343.6369 | 359.168 | 391.9985 | 529.3709 | 606 | 529.4985 | 533.655 | 544.3327 | 545.5953 | 546.2806 | 547.1634 | 548.8592 | 550.619 | 564.162 | 561.2375 | 558.1974 | 0.18202 | 0.18238 | 0.19097 | 0.2091 | 0.30195 | 0.355 | 0.30203 | 0.3046 | 0.31158 | 0.3125 | 0.31288 | 0.31318 | 0.31446 | 0.31574 | 0.30977 | 0.30995 | 0.30149 | 4.0776 | 4.0339 | 3.9674 | 4.0971 | 4.753 | 4.87 | 4.7542 | 4.7945 | 4.9077 | 4.9227 | 4.9347 | 4.954 | 4.9675 | 4.9823 | 4.7783 | 5.067 | 4.7022
| 2016-05-19 | 342.0206 | 342.885 | 353.2043 | 383.9402 | 526.4259 | 606 | 526.495 | 530.5393 | 540.7012 | 542.1479 | 543.5654 | 545.7733 | 546.4401 | 546.9455 | 552.9889 | 556.4078 | 559.13 | 0.1815 | 0.18197 | 0.18769 | 0.20465 | 0.30017 | 0.355 | 0.30021 | 0.30264 | 0.30914 | 0.31009 | 0.31106 | 0.31262 | 0.31289 | 0.31302 | 0.31622 | 0.30478 | 0.30248 | 4.1094 | 4.0803 | 3.9557 | 4.0586 | 4.7263 | 4.87 | 4.7269 | 4.7637 | 4.8711 | 4.8857 | 4.8998 | 4.9255 | 4.9397 | 4.9511 | 5.0096 | 4.8471 | 4.6735
| 2016-05-20 | 340.4721 | 341.8368 | 347.2696 | 375.553 | 524.3687 | 606 | 524.4426 | 527.3192 | 537.8994 | 539.0508 | 540.0003 | 542.4165 | 544.0809 | 545.4689 | 549.8967 | 552.7533 | 558.8891 | 0.18064 | 0.18141 | 0.18434 | 0.19995 | 0.29898 | 0.355 | 0.29902 | 0.30072 | 0.30735 | 0.30814 | 0.30871 | 0.31028 | 0.31142 | 0.31241 | 0.31523 | 0.29907 | 0.30655 | 4.127 | 4.1113 | 3.9633 | 4.0256 | 4.7068 | 4.87 | 4.7074 | 4.7341 | 4.8402 | 4.8528 | 4.8635 | 4.8883 | 4.9052 | 4.9213 | 4.9755 | 4.6132 | 4.7704
| 2016-05-21 | 338.5856 | 340.2809 | 344.6574 | 368.1025 | 523.0071 | 606 | 523.0211 | 525.041 | 534.8595 | 535.9754 | 537.2094 | 539.2447 | 540.5178 | 542.0199 | 546.6724 | 556.7011 | 556.3284 | 0.1796 | 0.18054 | 0.18289 | 0.19588 | 0.29824 | 0.355 | 0.29824 | 0.29937 | 0.30536 | 0.30607 | 0.30687 | 0.30824 | 0.30901 | 0.31001 | 0.3129 | 0.29766 | 0.30947 | 4.1341 | 4.1276 | 3.9993 | 3.999 | 4.6924 | 4.87 | 4.6926 | 4.7127 | 4.8077 | 4.8198 | 4.8329 | 4.855 | 4.8691 | 4.8844 | 4.946 | 4.4872 | 4.8392
| 2016-05-22 | 336.4659 | 338.3947 | 343.4536 | 360.7411 | 522.455 | 606 | 522.4772 | 523.4923 | 531.8645 | 533.079 | 534.1766 | 536.1876 | 537.6779 | 538.96 | 544.8747 | 561.5224 | 553.5356 | 0.17843 | 0.1795 | 0.18225 | 0.1918 | 0.29802 | 0.355 | 0.29803 | 0.29849 | 0.3035 | 0.30427 | 0.30494 | 0.30622 | 0.30721 | 0.30808 | 0.31198 | 0.30002 | 0.31073 | 4.1333 | 4.1339 | 4.0471 | 3.9725 | 4.6817 | 4.87 | 4.6821 | 4.6973 | 4.7764 | 4.7886 | 4.8002 | 4.8221 | 4.8379 | 4.8518 | 4.9141 | 4.4814 | 4.8758
| 2016-05-23 | 333.2382 | 334.8748 | 342.5999 | 351.6476 | 521.7653 | 606 | 521.7905 | 522.6589 | 528.7217 | 530.0052 | 531.2305 | 533.333 | 534.6703 | 535.8885 | 541.3043 | 563.8109 | 551.0413 | 0.17665 | 0.17755 | 0.18181 | 0.18674 | 0.29771 | 0.355 | 0.29773 | 0.2981 | 0.30156 | 0.30231 | 0.3031 | 0.30441 | 0.30524 | 0.30601 | 0.30952 | 0.31103 | 0.31128 | 4.1248 | 4.1291 | 4.0895 | 3.9541 | 4.6684 | 4.87 | 4.6687 | 4.6854 | 4.7468 | 4.7588 | 4.7703 | 4.7912 | 4.8056 | 4.8189 | 4.8772 | 4.8213 | 4.8916
| 2016-05-24 | 332.425 | 333.9098 | 341.4097 | 348.9539 | 520.1634 | 606 | 520.2371 | 522.0435 | 525.9356 | 526.9331 | 527.9449 | 530.0703 | 531.5497 | 532.8533 | 538.3602 | 554.4692 | 548.3441 | 0.1762 | 0.17701 | 0.18117 | 0.18527 | 0.29683 | 0.355 | 0.29687 | 0.29787 | 0.29985 | 0.30045 | 0.30108 | 0.30237 | 0.30329 | 0.30413 | 0.30769 | 0.31608 | 0.31098 | 4.1207 | 4.1266 | 4.1158 | 3.9563 | 4.6591 | 4.87 | 4.6595 | 4.6726 | 4.7212 | 4.7305 | 4.7397 | 4.7594 | 4.7733 | 4.7863 | 4.8453 | 5.0028 | 4.8908
| 2016-05-25 | 330.9433 | 333.1373 | 339.7262 | 347.1093 | 518.4621 | 606 | 518.5369 | 520.4766 | 523.9631 | 524.5699 | 525.2995 | 526.9525 | 528.2097 | 529.5421 | 535.0654 | 550.3124 | 545.4785 | 0.17538 | 0.1766 | 0.18024 | 0.18427 | 0.29588 | 0.355 | 0.29592 | 0.297 | 0.29873 | 0.29907 | 0.29951 | 0.30047 | 0.30125 | 0.30203 | 0.3055 | 0.31556 | 0.31012 | 4.1143 | 4.1242 | 4.1295 | 3.9656 | 4.6504 | 4.87 | 4.6508 | 4.6611 | 4.7022 | 4.7083 | 4.7152 | 4.7307 | 4.7422 | 4.7544 | 4.8099 | 4.9804 | 4.8796
| 2016-05-26 | 328.881 | 332.2727 | 337.6463 | 345.8992 | 517.8425 | 606 | 517.869 | 518.9427 | 522.8189 | 523.1254 | 523.5697 | 524.6145 | 525.5273 | 526.5201 | 531.8866 | 546.9391 | 542.5063 | 0.17424 | 0.17614 | 0.17908 | 0.18354 | 0.29564 | 0.355 | 0.29565 | 0.29615 | 0.29816 | 0.29826 | 0.29851 | 0.29909 | 0.29963 | 0.30018 | 0.30352 | 0.31301 | 0.30886 | 4.1063 | 4.1201 | 4.1336 | 3.9779 | 4.6451 | 4.87 | 4.6453 | 4.6528 | 4.6883 | 4.6929 | 4.6981 | 4.7087 | 4.7173 | 4.7267 | 4.7766 | 4.9496 | 4.861
| 2016-05-27 | 326.6248 | 330.6859 | 333.8366 | 344.862 | 524.1582 | 606 | 523.8612 | 518.0809 | 522.2704 | 522.5179 | 522.6783 | 523.1531 | 523.7143 | 524.3368 | 528.5474 | 544.5662 | 539.4724 | 0.173 | 0.17528 | 0.1769 | 0.18299 | 0.29993 | 0.355 | 0.29973 | 0.29573 | 0.298 | 0.29807 | 0.2981 | 0.29827 | 0.29859 | 0.29892 | 0.30146 | 0.31178 | 0.30738 | 4.0977 | 4.1134 | 4.1262 | 3.9963 | 4.6591 | 4.87 | 4.6585 | 4.6468 | 4.6762 | 4.6814 | 4.6855 | 4.6932 | 4.6996 | 4.706 | 4.7452 | 4.911 | 4.8377
| 2016-05-28 | 324.8136 | 328.7142 | 332.5236 | 344.1932 | 530.4269 | 606 | 530.2462 | 522.3045 | 520.7997 | 521.4072 | 521.9818 | 522.5247 | 522.73 | 523.0018 | 525.7773 | 540.3898 | 536.3545 | 0.172 | 0.17413 | 0.17627 | 0.18263 | 0.30419 | 0.355 | 0.30406 | 0.29872 | 0.29712 | 0.29747 | 0.29785 | 0.29807 | 0.29812 | 0.29821 | 0.29977 | 0.30893 | 0.30571 | 4.0894 | 4.1057 | 4.1213 | 4.0154 | 4.6735 | 4.87 | 4.6731 | 4.655 | 4.6632 | 4.6674 | 4.6725 | 4.6816 | 4.6866 | 4.6911 | 4.7197 | 4.8675 | 4.8116
| 2016-05-29 | 323.6929 | 325.467 | 331.0864 | 343.4541 | 535.1991 | 606 | 535.0142 | 528.9492 | 519.3918 | 519.9808 | 520.4476 | 521.4436 | 522.0919 | 522.4352 | 523.8707 | 537.1188 | 533.2701 | 0.17138 | 0.17237 | 0.1755 | 0.18226 | 0.30745 | 0.355 | 0.30732 | 0.30318 | 0.29639 | 0.29674 | 0.29697 | 0.2975 | 0.29789 | 0.29809 | 0.29867 | 0.30685 | 0.30399 | 4.0807 | 4.0924 | 4.115 | 4.0478 | 4.6837 | 4.87 | 4.6833 | 4.6701 | 4.6551 | 4.6583 | 4.661 | 4.6677 | 4.6738 | 4.6795 | 4.7013 | 4.832 | 4.7849
| 2016-05-30 | 323.3991 | 323.943 | 329.1366 | 342.8766 | 539.9815 | 606 | 539.9349 | 534.0296 | 518.2327 | 518.5068 | 518.9651 | 520.0054 | 520.5766 | 521.1728 | 522.7917 | 533.9324 | 530.4683 | 0.17122 | 0.17152 | 0.17439 | 0.18199 | 0.31071 | 0.355 | 0.31068 | 0.30663 | 0.29578 | 0.29587 | 0.29613 | 0.29675 | 0.29702 | 0.2973 | 0.29814 | 0.30481 | 0.3024 | 4.0758 | 4.0827 | 4.1074 | 4.0772 | 4.6946 | 4.87 | 4.6945 | 4.6812 | 4.6481 | 4.6502 | 4.6529 | 4.6584 | 4.6617 | 4.6657 | 4.6877 | 4.7977 | 4.7601
Note on C1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on D1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on E1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on F1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on G1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on H1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on I1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on J1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on K1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on L1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on M1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on N1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on O1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on P1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Q1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on R1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on S1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on T1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on U1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on V1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on W1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on X1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Y1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Z1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AA1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AB1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AC1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AD1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AE1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AF1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AG1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AH1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AI1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AJ1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AK1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AL1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AM1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AN1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AO1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AP1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AQ1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AR1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AS1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AT1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AU1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AV1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AW1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AX1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AY1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AZ1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BA1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss

## DataGroups
Inputs | Group Name: | DSM2 Fingerprint | Constituents: |  |  |  | Qual:
20160510-21A | Start Date: | 2016-05-02 | Scenario(Fpart) | 20160510-21A+FROM-ALL |  |  | Scenario(Fpart)
ca-aq-qual.dss | Start Time: | 2400 | DSS file | ca-aq-qual.dss |  |  | DSS file
| Finish Date: | 2016-05-29
| Finish Time: | 2400
DSM2 Location | Constituent | Pathnames: | Part A: | Part B: | Part C: | Part D: | Part E: | Part F:
South Bay Pumping Plant | EC | /QUAL8.0.6/ck_01/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_01 | EC |  | 1DAY | 20160510-21A+FROM-ALL
Check 2 | EC | /QUAL8.0.6/ck_02/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_02 | EC |  | 1DAY | 20160510-21A+FROM-ALL
Santa Clara Tank Inflow | EC | /QUAL8.0.6/ck_613/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_613 | EC |  | 1DAY | 20160510-21A+FROM-ALL
CA Aqueduct Inflow to O'Neill Forebay | EC | /QUAL8.0.6/ck_12/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_12 | EC |  | 1DAY | 20160510-21A+FROM-ALL
O'Neill P/G Plant | EC | /QUAL8.0.6/ONEILLR/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ONEILLR | EC |  | 1DAY | 20160510-21A+FROM-ALL
San Luis Reservoir | EC | /QUAL8.0.6/SANLUISR/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | SANLUISR | EC |  | 1DAY | 20160510-21A+FROM-ALL
O'Neill Forebay Outlet to CA Aqueduct | EC | /QUAL8.0.6/415_100/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | 415_100 | EC |  | 1DAY | 20160510-21A+FROM-ALL
check 13 | EC | /QUAL8.0.6/ck_13/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_13 | EC |  | 1DAY | 20160510-21A+FROM-ALL
Check 21 | EC | /QUAL8.0.6/ck_21/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_21 | EC |  | 1DAY | 20160510-21A+FROM-ALL
Check 22 | EC | /QUAL8.0.6/ck_22/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_22 | EC |  | 1DAY | 20160510-21A+FROM-ALL
Check 23, Upstream of Semitropic Turn-ins | EC | /QUAL8.0.6/ck_23/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_23 | EC |  | 1DAY | 20160510-21A+FROM-ALL
Check 25, Downstream of Semitropic Turnins | EC | /QUAL8.0.6/ck_25/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_25 | EC |  | 1DAY | 20160510-21A+FROM-ALL
Check 27, Tupman Rd Bridge Upstream of CVC, KWB and Arvin-Edison Turn-ins | EC | /QUAL8.0.6/ck_27/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_27 | EC |  | 1DAY | 20160510-21A+FROM-ALL
Check 29 | EC | /QUAL8.0.6/ck_29/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_29 | EC |  | 1DAY | 20160510-21A+FROM-ALL
Check 41 | EC | /QUAL8.0.6/ck_41/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_41 | EC |  | 1DAY | 20160510-21A+FROM-ALL
Check 66 | EC | /QUAL8.0.6/ck_66/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_66 | EC |  | 1DAY | 20160510-21A+FROM-ALL
Pyramid Lake Inflow | EC | /QUAL8.0.6/ck_705/EC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_705 | EC |  | 1DAY | 20160510-21A+FROM-ALL
South Bay Pumping Plant | BR | /QUAL8.0.6/ck_01/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_01 | BR |  | 1DAY | 20160510-21A+FROM-ALL
Check 2 | BR | /QUAL8.0.6/ck_02/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_02 | BR |  | 1DAY | 20160510-21A+FROM-ALL
Santa Clara Tank Inflow | BR | /QUAL8.0.6/ck_613/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_613 | BR |  | 1DAY | 20160510-21A+FROM-ALL
CA Aqueduct Inflow to O'Neill Forebay | BR | /QUAL8.0.6/ck_12/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_12 | BR |  | 1DAY | 20160510-21A+FROM-ALL
O'Neill P/G Plant | BR | /QUAL8.0.6/ONEILLR/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ONEILLR | BR |  | 1DAY | 20160510-21A+FROM-ALL
San Luis Reservoir | BR | /QUAL8.0.6/SANLUISR/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | SANLUISR | BR |  | 1DAY | 20160510-21A+FROM-ALL
O'Neill Forebay Outlet to CA Aqueduct | BR | /QUAL8.0.6/415_100/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | 415_100 | BR |  | 1DAY | 20160510-21A+FROM-ALL
check 13 | BR | /QUAL8.0.6/ck_13/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_13 | BR |  | 1DAY | 20160510-21A+FROM-ALL
Check 21 | BR | /QUAL8.0.6/ck_21/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_21 | BR |  | 1DAY | 20160510-21A+FROM-ALL
Check 22 | BR | /QUAL8.0.6/ck_22/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_22 | BR |  | 1DAY | 20160510-21A+FROM-ALL
Check 23, Upstream of Semitropic Turn-ins | BR | /QUAL8.0.6/ck_23/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_23 | BR |  | 1DAY | 20160510-21A+FROM-ALL
Check 25, Downstream of Semitropic Turnins | BR | /QUAL8.0.6/ck_25/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_25 | BR |  | 1DAY | 20160510-21A+FROM-ALL
Check 27, Tupman Rd Bridge Upstream of CVC, KWB and Arvin-Edison Turn-ins | BR | /QUAL8.0.6/ck_27/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_27 | BR |  | 1DAY | 20160510-21A+FROM-ALL
Check 29 | BR | /QUAL8.0.6/ck_29/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_29 | BR |  | 1DAY | 20160510-21A+FROM-ALL
Check 41 | BR | /QUAL8.0.6/ck_41/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_41 | BR |  | 1DAY | 20160510-21A+FROM-ALL
Check 66 | BR | /QUAL8.0.6/ck_66/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_66 | BR |  | 1DAY | 20160510-21A+FROM-ALL
Pyramid Lake Inflow | BR | /QUAL8.0.6/ck_705/BR//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_705 | BR |  | 1DAY | 20160510-21A+FROM-ALL
South Bay Pumping Plant | DOC | /QUAL8.0.6/ck_01/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_01 | DOC |  | 1DAY | 20160510-21A+FROM-ALL
Check 2 | DOC | /QUAL8.0.6/ck_02/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_02 | DOC |  | 1DAY | 20160510-21A+FROM-ALL
Santa Clara Tank Inflow | DOC | /QUAL8.0.6/ck_613/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_613 | DOC |  | 1DAY | 20160510-21A+FROM-ALL
CA Aqueduct Inflow to O'Neill Forebay | DOC | /QUAL8.0.6/ck_12/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_12 | DOC |  | 1DAY | 20160510-21A+FROM-ALL
O'Neill P/G Plant | DOC | /QUAL8.0.6/ONEILLR/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ONEILLR | DOC |  | 1DAY | 20160510-21A+FROM-ALL
San Luis Reservoir | DOC | /QUAL8.0.6/SANLUISR/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | SANLUISR | DOC |  | 1DAY | 20160510-21A+FROM-ALL
O'Neill Forebay Outlet to CA Aqueduct | DOC | /QUAL8.0.6/415_100/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | 415_100 | DOC |  | 1DAY | 20160510-21A+FROM-ALL
check 13 | DOC | /QUAL8.0.6/ck_13/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_13 | DOC |  | 1DAY | 20160510-21A+FROM-ALL
Check 21 | DOC | /QUAL8.0.6/ck_21/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_21 | DOC |  | 1DAY | 20160510-21A+FROM-ALL
Check 22 | DOC | /QUAL8.0.6/ck_22/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_22 | DOC |  | 1DAY | 20160510-21A+FROM-ALL
Check 23, Upstream of Semitropic Turn-ins | DOC | /QUAL8.0.6/ck_23/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_23 | DOC |  | 1DAY | 20160510-21A+FROM-ALL
Check 25, Downstream of Semitropic Turnins | DOC | /QUAL8.0.6/ck_25/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_25 | DOC |  | 1DAY | 20160510-21A+FROM-ALL
Check 27, Tupman Rd Bridge Upstream of CVC, KWB and Arvin-Edison Turn-ins | DOC | /QUAL8.0.6/ck_27/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_27 | DOC |  | 1DAY | 20160510-21A+FROM-ALL
Check 29 | DOC | /QUAL8.0.6/ck_29/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_29 | DOC |  | 1DAY | 20160510-21A+FROM-ALL
Check 41 | DOC | /QUAL8.0.6/ck_41/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_41 | DOC |  | 1DAY | 20160510-21A+FROM-ALL
Check 66 | DOC | /QUAL8.0.6/ck_66/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_66 | DOC |  | 1DAY | 20160510-21A+FROM-ALL
Pyramid Lake Inflow | DOC | /QUAL8.0.6/ck_705/DOC//1DAY/20160510-21A+FROM-ALL/ | QUAL8.0.6 | ck_705 | DOC |  | 1DAY | 20160510-21A+FROM-ALL
Note on A3: open dss file, may have a different file name though
Note on B1: Delete "Retrieve TS". Retrieve from DSM2 output dss file the data with these groups then copy the new "Retrieved TS" data to another worksheet

## Macro
Start Date | 2016-05-02
End Date | 2016-05-29
Legend Name for Scenario | A | Base Case
Legend Name for Scenario |  | Alternate 1
Legend Name for Scenario |  | Alternate 2
Legend Name for Scenario |  | Alternate 3
Chart | Base Chart Title | EC Column | Br Column | DOC Column
1 | at South Bay Pumping Plant | C | T | AK
2 | at Check 2 | D | U | AL
3 | at Check Santa Clara Tank Inflow | E | V | AM
4 | at Check 12 | F | W | AN
5 | at O'Neill Reservoir | G | X | AO
6 | at San Luis Reservoir | H | Y | AP
7 | at Check 13 | J | AA | AR
8 | at Check 21 | K | AB | AS
9 | at Check 23 | M | AD | AU
10 | at Check 25 | N | AE | AV
11 | at Check 27 | O | AF | AW
12 | at Check 29 | P | AG | AX
13 | at Check 41 | Q | AH | AY
14 | at Check 66 | R | AI | AZ
15 | at Pyramid Lake Inflow | S | AJ | BA
Generate Report

## Retrieved TS
Part A: |  | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6
Part B: |  | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705
Part C: |  | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC
Part D:
Part E: |  | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY
Part F: |  | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL | 20160510-21A+FROM-ALL
Beg. Date: |  | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02 | 2016-05-02
Beg. Time: |  | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
End Date: |  | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29 | 2016-05-29
End Time: |  | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
Units: |  | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM
Data Type: | Index | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL
| 2016-05-02 | 395 | 396 | 396 | 457 | 554 | 606 | 555 | 555 | 557 | 556 | 553 | 559 | 561 | 560 | 554 | 524 | 530 | 0.211 | 0.211 | 0.211 | 0.246 | 0.316 | 0.355 | 0.316 | 0.316 | 0.305 | 0.304 | 0.304 | 0.302 | 0.302 | 0.3 | 0.295 | 0.273 | 0.273 | 4.12 | 4.06 | 4.08 | 4.62 | 5.28 | 4.87 | 5.32 | 5.32 | 5.54 | 5.56 | 5.61 | 5.49 | 5.49 | 5.36 | 5.2 | 5.41 | 5.24
| 2016-05-03 | 395 | 395.0883 | 395.6269 | 451.4988 | 552.7609 | 606 | 552.7922 | 554.9352 | 558.3292 | 556.4416 | 556.768 | 558.7986 | 558.9799 | 556.4639 | 558.5612 | 535.5435 | 536.2969 | 0.211 | 0.211 | 0.211 | 0.2427 | 0.31527 | 0.355 | 0.31529 | 0.316 | 0.30849 | 0.30717 | 0.30491 | 0.30107 | 0.30091 | 0.29898 | 0.29552 | 0.2808 | 0.27884 | 4.12 | 4.0709 | 4.0522 | 4.609 | 5.2321 | 4.87 | 5.2332 | 5.3174 | 5.4834 | 5.5216 | 5.5432 | 5.47 | 5.4741 | 5.3571 | 5.1666 | 5.2775 | 5.2291
| 2016-05-04 | 394.1108 | 395 | 395 | 395.3595 | 551.8429 | 606 | 551.8914 | 553.1008 | 562.7268 | 561.0423 | 559.1381 | 556.4214 | 556.4928 | 557.8226 | 556.6642 | 549.2321 | 542.3519 | 0.2105 | 0.211 | 0.211 | 0.21112 | 0.3148 | 0.355 | 0.31483 | 0.31547 | 0.31225 | 0.31153 | 0.30971 | 0.30629 | 0.30393 | 0.29944 | 0.29693 | 0.286 | 0.28381 | 4.1259 | 4.12 | 4.12 | 4.5474 | 5.1941 | 4.87 | 5.1952 | 5.2446 | 5.3925 | 5.4291 | 5.4672 | 5.5327 | 5.5476 | 5.3908 | 5.2301 | 5.1907 | 5.2189
| 2016-05-05 | 403.7449 | 394.8851 | 394.996 | 304.598 | 553.3925 | 606 | 553.3743 | 552.256 | 564.7491 | 564.4794 | 563.2084 | 560.3182 | 558.2422 | 555.2007 | 557.1681 | 553.9999 | 546.6057 | 0.2156 | 0.21098 | 0.211 | 0.16131 | 0.31626 | 0.355 | 0.31623 | 0.31503 | 0.3138 | 0.31322 | 0.31255 | 0.31105 | 0.30844 | 0.30516 | 0.29935 | 0.29293 | 0.28742 | 4.2008 | 4.1206 | 4.12 | 4.431 | 5.1532 | 4.87 | 5.1541 | 5.2056 | 5.316 | 5.3453 | 5.379 | 5.4436 | 5.4846 | 5.4509 | 5.3888 | 5.1953 | 5.2176
| 2016-05-06 | 404.5742 | 398.3272 | 394.0927 | 277.6142 | 555.335 | 606 | 555.3165 | 552.9669 | 564.55 | 564.2581 | 564.4112 | 564.1401 | 562.7352 | 559.5428 | 556.7229 | 555.3888 | 549.3751 | 0.21605 | 0.21268 | 0.21039 | 0.14645 | 0.31808 | 0.355 | 0.31807 | 0.31584 | 0.31385 | 0.31391 | 0.3139 | 0.31295 | 0.31222 | 0.30969 | 0.30111 | 0.29666 | 0.2904 | 4.2042 | 4.1738 | 4.1436 | 4.3663 | 5.1042 | 4.87 | 5.1047 | 5.1672 | 5.2419 | 5.2603 | 5.3015 | 5.354 | 5.391 | 5.3617 | 5.4329 | 5.2291 | 5.24
| 2016-05-07 | 405.2754 | 404.4091 | 404.122 | 294.838 | 554.7756 | 606 | 554.8033 | 554.5072 | 564.1271 | 564.7916 | 564.7284 | 564.3301 | 564.8611 | 562.7585 | 556.3694 | 558.5157 | 551.8793 | 0.21643 | 0.21596 | 0.21581 | 0.1557 | 0.31811 | 0.355 | 0.3181 | 0.3173 | 0.31363 | 0.31373 | 0.31377 | 0.31388 | 0.3137 | 0.31114 | 0.30624 | 0.29561 | 0.29351 | 4.1911 | 4.2035 | 4.2024 | 4.2846 | 5.0575 | 4.87 | 5.06 | 5.1253 | 5.2013 | 5.2273 | 5.2395 | 5.2766 | 5.316 | 5.2729 | 5.4213 | 5.1731 | 5.295
| 2016-05-08 | 402.8109 | 404.2958 | 404.8582 | 410.4448 | 551.5945 | 606 | 551.678 | 555.0223 | 562.8898 | 563.2452 | 563.9153 | 564.9181 | 564.4711 | 562.5424 | 560.5856 | 557.4842 | 553.3722 | 0.21506 | 0.21589 | 0.21621 | 0.21914 | 0.31621 | 0.355 | 0.31626 | 0.3181 | 0.31301 | 0.31328 | 0.31356 | 0.3137 | 0.31385 | 0.31167 | 0.31021 | 0.29665 | 0.29786 | 4.1631 | 4.1798 | 4.1991 | 4.2019 | 5.0179 | 4.87 | 5.0196 | 5.0782 | 5.1487 | 5.1691 | 5.1939 | 5.2321 | 5.2439 | 5.1892 | 5.3417 | 5.2214 | 5.3479
| 2016-05-09 | 396.6307 | 400.3559 | 404.5071 | 404.8183 | 551.316 | 606 | 551.3403 | 553.1896 | 563.5155 | 563.6451 | 562.9792 | 563.7119 | 564.5131 | 562.8245 | 563.0502 | 555.3302 | 555.2476 | 0.21165 | 0.2137 | 0.216 | 0.21596 | 0.31611 | 0.355 | 0.31612 | 0.31716 | 0.31243 | 0.31261 | 0.313 | 0.31343 | 0.31365 | 0.31116 | 0.31132 | 0.29631 | 0.30124 | 4.1209 | 4.1463 | 4.1823 | 4.1659 | 4.98 | 4.87 | 4.9822 | 5.0414 | 5.1099 | 5.1255 | 5.1467 | 5.1825 | 5.2116 | 5.1375 | 5.2476 | 5.2414 | 5.3376
| 2016-05-10 | 389.4733 | 395.8482 | 400.0946 | 396.5871 | 546.5931 | 606 | 546.8056 | 551.511 | 563.7314 | 563.2919 | 563.5168 | 563.1 | 563.2554 | 561.8367 | 562.5493 | 557.2586 | 557.2438 | 0.20769 | 0.21123 | 0.21357 | 0.2114 | 0.31292 | 0.355 | 0.31306 | 0.31618 | 0.31342 | 0.31281 | 0.31243 | 0.31295 | 0.31321 | 0.31094 | 0.31168 | 0.2992 | 0.30387 | 4.0835 | 4.1169 | 4.1445 | 4.1119 | 4.955 | 4.87 | 4.9562 | 5.0018 | 5.0818 | 5.097 | 5.1104 | 5.143 | 5.1663 | 5.0953 | 5.1877 | 5.3936 | 5.3149
| 2016-05-11 | 381.2968 | 388.9138 | 393.8445 | 395.8672 | 546.3935 | 606 | 546.402 | 549.0003 | 566.5864 | 565.228 | 563.7315 | 563.4666 | 563.57 | 560.9532 | 562.7605 | 557.549 | 558.9759 | 0.20318 | 0.2074 | 0.2101 | 0.211 | 0.31289 | 0.355 | 0.31289 | 0.31455 | 0.31445 | 0.31377 | 0.3134 | 0.31241 | 0.31262 | 0.3105 | 0.31118 | 0.29945 | 0.30629 | 4.0456 | 4.081 | 4.1063 | 4.0749 | 4.931 | 4.87 | 4.9322 | 4.968 | 5.0317 | 5.0574 | 5.082 | 5.108 | 5.1264 | 5.0569 | 5.1407 | 5.3972 | 5.2807
| 2016-05-12 | 368.4286 | 374.9726 | 387.9714 | 394.9923 | 543.512 | 606 | 543.8846 | 546.5454 | 566.8964 | 567.0179 | 566.6875 | 567.9059 | 566.7243 | 559.6216 | 560.7109 | 556.4941 | 560.1574 | 0.19607 | 0.19968 | 0.20687 | 0.211 | 0.31102 | 0.355 | 0.31126 | 0.31289 | 0.31535 | 0.31522 | 0.31457 | 0.31139 | 0.31101 | 0.30774 | 0.30954 | 0.30137 | 0.30792 | 4.0004 | 4.0234 | 4.0765 | 4.1168 | 4.8987 | 4.87 | 4.9026 | 4.9456 | 4.9878 | 5.0095 | 5.0284 | 4.9879 | 5.0167 | 4.9373 | 5.0446 | 5.4389 | 5.2393
| 2016-05-13 | 356.9636 | 362.7751 | 385.4421 | 402.0517 | 540.487 | 606 | 540.6364 | 545.5091 | 563.6021 | 565.4953 | 566.7984 | 573.2635 | 571.5333 | 563.7068 | 553.4813 | 556.7335 | 560.6891 | 0.18974 | 0.19295 | 0.20546 | 0.21478 | 0.30904 | 0.355 | 0.30914 | 0.31238 | 0.31476 | 0.31533 | 0.31535 | 0.31093 | 0.31061 | 0.30655 | 0.301 | 0.30666 | 0.30872 | 3.9585 | 3.9796 | 4.0647 | 4.1887 | 4.8697 | 4.87 | 4.8711 | 4.9206 | 4.9613 | 4.972 | 4.9869 | 4.8744 | 4.9167 | 4.8154 | 4.7056 | 5.4163 | 5.1926
| 2016-05-14 | 348.4438 | 352.7519 | 383.4181 | 404.3925 | 538.3903 | 606 | 538.4111 | 542.2462 | 551.5159 | 552.7723 | 561.6533 | 568.6031 | 570.0938 | 569.1588 | 552.5469 | 561.1347 | 559.6993 | 0.18504 | 0.18742 | 0.20434 | 0.216 | 0.30766 | 0.355 | 0.30768 | 0.31018 | 0.31618 | 0.31623 | 0.31498 | 0.31395 | 0.31344 | 0.30651 | 0.29911 | 0.31048 | 0.30792 | 3.9513 | 3.9546 | 4.0553 | 4.1826 | 4.8445 | 4.87 | 4.8448 | 4.8866 | 5.0023 | 5.0143 | 4.9711 | 4.9252 | 4.9301 | 4.7193 | 4.6143 | 5.3284 | 5.1002
| 2016-05-15 | 345.1214 | 348.108 | 380.7805 | 402.0186 | 535.4188 | 606 | 535.5272 | 539.3846 | 549.1041 | 550.6562 | 551.3976 | 556.4328 | 564.7148 | 564.5974 | 556.5559 | 562.9336 | 557.4908 | 0.18321 | 0.18485 | 0.20294 | 0.21475 | 0.30572 | 0.355 | 0.30579 | 0.30832 | 0.31463 | 0.31576 | 0.31617 | 0.31576 | 0.31484 | 0.30941 | 0.29765 | 0.31131 | 0.30519 | 3.9802 | 3.9547 | 4.0442 | 4.1588 | 4.8141 | 4.87 | 4.8152 | 4.8565 | 4.9691 | 4.9819 | 4.9973 | 4.998 | 4.9598 | 4.7674 | 4.4826 | 5.246 | 4.9515
| 2016-05-16 | 343.6725 | 345.0223 | 369.9055 | 397.9333 | 532.626 | 606 | 532.6562 | 536.4688 | 546.501 | 546.9564 | 548.1993 | 550.9398 | 551.6642 | 555.4587 | 562.4207 | 562.6766 | 556.9073 | 0.18241 | 0.18314 | 0.19694 | 0.21243 | 0.30396 | 0.355 | 0.30398 | 0.3064 | 0.31289 | 0.31304 | 0.31396 | 0.31595 | 0.31619 | 0.3159 | 0.2996 | 0.31154 | 0.30285 | 4.0305 | 3.985 | 4.0055 | 4.1304 | 4.7836 | 4.87 | 4.7839 | 4.8251 | 4.9419 | 4.9519 | 4.9629 | 4.9864 | 5.0057 | 5.0022 | 4.4695 | 5.1622 | 4.8139
| 2016-05-17 | 342.9768 | 343.6369 | 359.168 | 391.9985 | 529.3709 | 606 | 529.4985 | 533.655 | 544.3327 | 545.5953 | 546.2806 | 547.1634 | 548.8592 | 550.619 | 564.162 | 561.2375 | 558.1974 | 0.18202 | 0.18238 | 0.19097 | 0.2091 | 0.30195 | 0.355 | 0.30203 | 0.3046 | 0.31158 | 0.3125 | 0.31288 | 0.31318 | 0.31446 | 0.31574 | 0.30977 | 0.30995 | 0.30149 | 4.0776 | 4.0339 | 3.9674 | 4.0971 | 4.753 | 4.87 | 4.7542 | 4.7945 | 4.9077 | 4.9227 | 4.9347 | 4.954 | 4.9675 | 4.9823 | 4.7783 | 5.067 | 4.7022
| 2016-05-18 | 342.0206 | 342.885 | 353.2043 | 383.9402 | 526.4259 | 606 | 526.495 | 530.5393 | 540.7012 | 542.1479 | 543.5654 | 545.7733 | 546.4401 | 546.9455 | 552.9889 | 556.4078 | 559.13 | 0.1815 | 0.18197 | 0.18769 | 0.20465 | 0.30017 | 0.355 | 0.30021 | 0.30264 | 0.30914 | 0.31009 | 0.31106 | 0.31262 | 0.31289 | 0.31302 | 0.31622 | 0.30478 | 0.30248 | 4.1094 | 4.0803 | 3.9557 | 4.0586 | 4.7263 | 4.87 | 4.7269 | 4.7637 | 4.8711 | 4.8857 | 4.8998 | 4.9255 | 4.9397 | 4.9511 | 5.0096 | 4.8471 | 4.6735
| 2016-05-19 | 340.4721 | 341.8368 | 347.2696 | 375.553 | 524.3687 | 606 | 524.4426 | 527.3192 | 537.8994 | 539.0508 | 540.0003 | 542.4165 | 544.0809 | 545.4689 | 549.8967 | 552.7533 | 558.8891 | 0.18064 | 0.18141 | 0.18434 | 0.19995 | 0.29898 | 0.355 | 0.29902 | 0.30072 | 0.30735 | 0.30814 | 0.30871 | 0.31028 | 0.31142 | 0.31241 | 0.31523 | 0.29907 | 0.30655 | 4.127 | 4.1113 | 3.9633 | 4.0256 | 4.7068 | 4.87 | 4.7074 | 4.7341 | 4.8402 | 4.8528 | 4.8635 | 4.8883 | 4.9052 | 4.9213 | 4.9755 | 4.6132 | 4.7704
| 2016-05-20 | 338.5856 | 340.2809 | 344.6574 | 368.1025 | 523.0071 | 606 | 523.0211 | 525.041 | 534.8595 | 535.9754 | 537.2094 | 539.2447 | 540.5178 | 542.0199 | 546.6724 | 556.7011 | 556.3284 | 0.1796 | 0.18054 | 0.18289 | 0.19588 | 0.29824 | 0.355 | 0.29824 | 0.29937 | 0.30536 | 0.30607 | 0.30687 | 0.30824 | 0.30901 | 0.31001 | 0.3129 | 0.29766 | 0.30947 | 4.1341 | 4.1276 | 3.9993 | 3.999 | 4.6924 | 4.87 | 4.6926 | 4.7127 | 4.8077 | 4.8198 | 4.8329 | 4.855 | 4.8691 | 4.8844 | 4.946 | 4.4872 | 4.8392
| 2016-05-21 | 336.4659 | 338.3947 | 343.4536 | 360.7411 | 522.455 | 606 | 522.4772 | 523.4923 | 531.8645 | 533.079 | 534.1766 | 536.1876 | 537.6779 | 538.96 | 544.8747 | 561.5224 | 553.5356 | 0.17843 | 0.1795 | 0.18225 | 0.1918 | 0.29802 | 0.355 | 0.29803 | 0.29849 | 0.3035 | 0.30427 | 0.30494 | 0.30622 | 0.30721 | 0.30808 | 0.31198 | 0.30002 | 0.31073 | 4.1333 | 4.1339 | 4.0471 | 3.9725 | 4.6817 | 4.87 | 4.6821 | 4.6973 | 4.7764 | 4.7886 | 4.8002 | 4.8221 | 4.8379 | 4.8518 | 4.9141 | 4.4814 | 4.8758
| 2016-05-22 | 333.2382 | 334.8748 | 342.5999 | 351.6476 | 521.7653 | 606 | 521.7905 | 522.6589 | 528.7217 | 530.0052 | 531.2305 | 533.333 | 534.6703 | 535.8885 | 541.3043 | 563.8109 | 551.0413 | 0.17665 | 0.17755 | 0.18181 | 0.18674 | 0.29771 | 0.355 | 0.29773 | 0.2981 | 0.30156 | 0.30231 | 0.3031 | 0.30441 | 0.30524 | 0.30601 | 0.30952 | 0.31103 | 0.31128 | 4.1248 | 4.1291 | 4.0895 | 3.9541 | 4.6684 | 4.87 | 4.6687 | 4.6854 | 4.7468 | 4.7588 | 4.7703 | 4.7912 | 4.8056 | 4.8189 | 4.8772 | 4.8213 | 4.8916
| 2016-05-23 | 332.425 | 333.9098 | 341.4097 | 348.9539 | 520.1634 | 606 | 520.2371 | 522.0435 | 525.9356 | 526.9331 | 527.9449 | 530.0703 | 531.5497 | 532.8533 | 538.3602 | 554.4692 | 548.3441 | 0.1762 | 0.17701 | 0.18117 | 0.18527 | 0.29683 | 0.355 | 0.29687 | 0.29787 | 0.29985 | 0.30045 | 0.30108 | 0.30237 | 0.30329 | 0.30413 | 0.30769 | 0.31608 | 0.31098 | 4.1207 | 4.1266 | 4.1158 | 3.9563 | 4.6591 | 4.87 | 4.6595 | 4.6726 | 4.7212 | 4.7305 | 4.7397 | 4.7594 | 4.7733 | 4.7863 | 4.8453 | 5.0028 | 4.8908
| 2016-05-24 | 330.9433 | 333.1373 | 339.7262 | 347.1093 | 518.4621 | 606 | 518.5369 | 520.4766 | 523.9631 | 524.5699 | 525.2995 | 526.9525 | 528.2097 | 529.5421 | 535.0654 | 550.3124 | 545.4785 | 0.17538 | 0.1766 | 0.18024 | 0.18427 | 0.29588 | 0.355 | 0.29592 | 0.297 | 0.29873 | 0.29907 | 0.29951 | 0.30047 | 0.30125 | 0.30203 | 0.3055 | 0.31556 | 0.31012 | 4.1143 | 4.1242 | 4.1295 | 3.9656 | 4.6504 | 4.87 | 4.6508 | 4.6611 | 4.7022 | 4.7083 | 4.7152 | 4.7307 | 4.7422 | 4.7544 | 4.8099 | 4.9804 | 4.8796
| 2016-05-25 | 328.881 | 332.2727 | 337.6463 | 345.8992 | 517.8425 | 606 | 517.869 | 518.9427 | 522.8189 | 523.1254 | 523.5697 | 524.6145 | 525.5273 | 526.5201 | 531.8866 | 546.9391 | 542.5063 | 0.17424 | 0.17614 | 0.17908 | 0.18354 | 0.29564 | 0.355 | 0.29565 | 0.29615 | 0.29816 | 0.29826 | 0.29851 | 0.29909 | 0.29963 | 0.30018 | 0.30352 | 0.31301 | 0.30886 | 4.1063 | 4.1201 | 4.1336 | 3.9779 | 4.6451 | 4.87 | 4.6453 | 4.6528 | 4.6883 | 4.6929 | 4.6981 | 4.7087 | 4.7173 | 4.7267 | 4.7766 | 4.9496 | 4.861
| 2016-05-26 | 326.6248 | 330.6859 | 333.8366 | 344.862 | 524.1582 | 606 | 523.8612 | 518.0809 | 522.2704 | 522.5179 | 522.6783 | 523.1531 | 523.7143 | 524.3368 | 528.5474 | 544.5662 | 539.4724 | 0.173 | 0.17528 | 0.1769 | 0.18299 | 0.29993 | 0.355 | 0.29973 | 0.29573 | 0.298 | 0.29807 | 0.2981 | 0.29827 | 0.29859 | 0.29892 | 0.30146 | 0.31178 | 0.30738 | 4.0977 | 4.1134 | 4.1262 | 3.9963 | 4.6591 | 4.87 | 4.6585 | 4.6468 | 4.6762 | 4.6814 | 4.6855 | 4.6932 | 4.6996 | 4.706 | 4.7452 | 4.911 | 4.8377
| 2016-05-27 | 324.8136 | 328.7142 | 332.5236 | 344.1932 | 530.4269 | 606 | 530.2462 | 522.3045 | 520.7997 | 521.4072 | 521.9818 | 522.5247 | 522.73 | 523.0018 | 525.7773 | 540.3898 | 536.3545 | 0.172 | 0.17413 | 0.17627 | 0.18263 | 0.30419 | 0.355 | 0.30406 | 0.29872 | 0.29712 | 0.29747 | 0.29785 | 0.29807 | 0.29812 | 0.29821 | 0.29977 | 0.30893 | 0.30571 | 4.0894 | 4.1057 | 4.1213 | 4.0154 | 4.6735 | 4.87 | 4.6731 | 4.655 | 4.6632 | 4.6674 | 4.6725 | 4.6816 | 4.6866 | 4.6911 | 4.7197 | 4.8675 | 4.8116
| 2016-05-28 | 323.6929 | 325.467 | 331.0864 | 343.4541 | 535.1991 | 606 | 535.0142 | 528.9492 | 519.3918 | 519.9808 | 520.4476 | 521.4436 | 522.0919 | 522.4352 | 523.8707 | 537.1188 | 533.2701 | 0.17138 | 0.17237 | 0.1755 | 0.18226 | 0.30745 | 0.355 | 0.30732 | 0.30318 | 0.29639 | 0.29674 | 0.29697 | 0.2975 | 0.29789 | 0.29809 | 0.29867 | 0.30685 | 0.30399 | 4.0807 | 4.0924 | 4.115 | 4.0478 | 4.6837 | 4.87 | 4.6833 | 4.6701 | 4.6551 | 4.6583 | 4.661 | 4.6677 | 4.6738 | 4.6795 | 4.7013 | 4.832 | 4.7849
| 2016-05-29 | 323.3991 | 323.943 | 329.1366 | 342.8766 | 539.9815 | 606 | 539.9349 | 534.0296 | 518.2327 | 518.5068 | 518.9651 | 520.0054 | 520.5766 | 521.1728 | 522.7917 | 533.9324 | 530.4683 | 0.17122 | 0.17152 | 0.17439 | 0.18199 | 0.31071 | 0.355 | 0.31068 | 0.30663 | 0.29578 | 0.29587 | 0.29613 | 0.29675 | 0.29702 | 0.2973 | 0.29814 | 0.30481 | 0.3024 | 4.0758 | 4.0827 | 4.1074 | 4.0772 | 4.6946 | 4.87 | 4.6945 | 4.6812 | 4.6481 | 4.6502 | 4.6529 | 4.6584 | 4.6617 | 4.6657 | 4.6877 | 4.7977 | 4.7601
Note on C1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on D1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on E1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on F1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on G1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on H1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on I1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on J1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on K1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on L1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on M1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on N1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on O1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on P1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Q1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on R1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on S1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on T1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on U1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on V1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on W1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on X1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Y1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Z1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AA1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AB1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AC1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AD1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AE1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AF1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AG1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AH1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AI1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AJ1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AK1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AL1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AM1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AN1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AO1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AP1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AQ1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AR1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AS1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AT1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AU1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AV1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AW1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AX1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AY1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AZ1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BA1: From: c:/DSM2-Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss