## Chart
The model run results cover the period April 10 through April 30, and are based on the following assumptions:
Common Assumptions
1. CCFB Gates are operating to Priority 2 throughout the forecast period.
2. The Delta Cross Channel gates are closed throughout the forecast period.
3. Suisun Marsh salinity control flashboards are installed, and the three Suisun Marsh Salinity Control Gates are in open position throughout the forecast period.
4. The Middle River ag. Barrier was installed on March 14, 2018 with all 6-culvert flap-gates tied open.
5. The Old River at Tracy ag. barrier was installed on April 2, 2018 with all 9 flap-gates tidally operated.
6. The Spring Head of Old River barrier was scheduled to be installed by March 31, 2018 with all 8-culvert slide-gates opened, however due to high San Joaquin River flow could not be installed yet.
7. The Grant Line Canal ag. barrier is anticipated to be partially installed by April 25, 2018 with all 6-culvert flap-gates tied open.
8. San Joaquin River flow at Vernalis is at 8,560 cfs at the beginning of the forecast period and is estimated to increase to 9,400 cfs by the end of the forecast period.
9. San Joaquin River EC at Vernalis is estimated to decrease from 170 umhos/cm at the beginning of the forecast period to 160 umhos/cm by the end of the forecast period.
10. Sacramento River flow at Freeport is at 76,033 cfs at the beginning of the forecast period and is expected to decreases to 18,050 cfs by the end of the forecast period.
11. CCFB is at 896 cfs at the beginning of the forecast period and is expected to increase to 1,000 cfs by the end of the forecast period.
12. Export at Jones Pumping Plant is at 3,445 cfs at the beginning of the forecast period and is expected to decrease to 2,000 cfs by the end of the forecast period.

## A
Part A: | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6
Part B: | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705
Part C: | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC
Part D:
Part E: | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY
Part F: | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL
Beg. Date: | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02
Beg. Time: | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
End Date: | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29
End Time: | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
Units: | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM
Data Type: | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL
2018-04-03 | 341 | 340 | 325 | 323 | 327 | 401 | 362 | 362 | 521 | 522 | 526 | 529 | 528 | 526 | 501 | 442 | 445 | 0.181 | 0.18 | 0.172 | 0.171 | 0.173 | 0.225 | 0.193 | 0.193 | 0.281 | 0.282 | 0.284 | 0.286 | 0.285 | 0.284 | 0.271 | 0.242 | 0.242 | 5.64 | 5.79 | 5.74 | 5.7 | 5.55 | 3.41 | 5.44 | 5.44 | 4.97 | 4.96 | 4.91 | 4.79 | 4.68 | 4.59 | 4.22 | 3.59 | 3.64
2018-04-04 | 347.2675 | 344.226 | 339.0052 | 330.1081 | 326.42 | 400.6745 | 326.3386 | 361.9015 | 498.1522 | 518.2265 | 521.3417 | 526.018 | 528.99 | 529 | 513.5118 | 457.7763 | 449.7138 | 0.1844 | 0.18275 | 0.18 | 0.17504 | 0.17271 | 0.22477 | 0.17266 | 0.19295 | 0.26755 | 0.27953 | 0.28134 | 0.284 | 0.28507 | 0.28586 | 0.27787 | 0.24592 | 0.24401 | 5.5986 | 5.6187 | 5.8397 | 5.7489 | 5.6085 | 3.4194 | 5.6063 | 5.4403 | 5.0626 | 4.983 | 4.9665 | 4.9092 | 4.8453 | 4.7788 | 4.3743 | 3.7653 | 3.6876
2018-04-05 | 329.3105 | 330.8012 | 341.0719 | 342.245 | 334.4758 | 400.4487 | 334.2956 | 327.5231 | 423.6186 | 448.3044 | 475.8147 | 517.1235 | 521.5263 | 523.8375 | 526.9831 | 474.0248 | 460.5346 | 0.17447 | 0.17529 | 0.18101 | 0.18156 | 0.17722 | 0.22461 | 0.17712 | 0.17334 | 0.22687 | 0.24054 | 0.25552 | 0.27884 | 0.28155 | 0.28291 | 0.28486 | 0.25479 | 0.24956 | 5.1407 | 5.1777 | 5.6396 | 5.6009 | 5.6576 | 3.4266 | 5.659 | 5.5804 | 5.2578 | 5.2041 | 5.1313 | 4.9871 | 4.9645 | 4.937 | 4.6377 | 3.9502 | 3.8017
2018-04-06 | 310.9516 | 312.8447 | 346.7371 | 346.7242 | 342.1138 | 400.2796 | 341.7644 | 331.177 | 382.4585 | 395.9474 | 409.9485 | 446.8829 | 476.7356 | 503.2241 | 528.2461 | 495.8712 | 477.1672 | 0.16434 | 0.16537 | 0.18414 | 0.18416 | 0.18129 | 0.22449 | 0.18111 | 0.17545 | 0.20412 | 0.21151 | 0.21922 | 0.23976 | 0.256 | 0.27058 | 0.28482 | 0.26809 | 0.25844 | 4.6853 | 4.7323 | 5.5733 | 5.5451 | 5.5452 | 3.4325 | 5.5508 | 5.6519 | 5.3748 | 5.332 | 5.2909 | 5.2068 | 5.1282 | 5.0423 | 4.8628 | 4.1688 | 3.9965
2018-04-07 | 271.9326 | 273.9994 | 326.5361 | 328.8633 | 339.3532 | 400.1105 | 339.7707 | 336.2645 | 364.4789 | 373.6126 | 383.8352 | 407.0802 | 425.2517 | 445.0724 | 520.8091 | 513.5027 | 486.1698 | 0.1428 | 0.14393 | 0.17299 | 0.17431 | 0.17979 | 0.22436 | 0.18 | 0.17815 | 0.19425 | 0.19919 | 0.20489 | 0.21763 | 0.22777 | 0.23876 | 0.28107 | 0.27802 | 0.26314 | 4.2653 | 4.2875 | 5.0719 | 5.1243 | 5.3353 | 3.4384 | 5.3482 | 5.6341 | 5.4318 | 5.4026 | 5.3704 | 5.2987 | 5.2542 | 5.2106 | 4.9694 | 4.3775 | 4.1274
2018-04-08 | 257.5289 | 257.974 | 305.4915 | 310.1044 | 327.9511 | 399.8703 | 328.8329 | 340.9593 | 361.7327 | 362.8559 | 368.1043 | 385.7799 | 399.4928 | 412.0944 | 498.097 | 528.2553 | 489.6634 | 0.13485 | 0.1351 | 0.16134 | 0.16395 | 0.1736 | 0.22419 | 0.17408 | 0.18069 | 0.19293 | 0.19333 | 0.19616 | 0.20595 | 0.21346 | 0.22042 | 0.26775 | 0.28501 | 0.26496 | 4.0409 | 4.0478 | 4.626 | 4.6639 | 5.0707 | 3.4448 | 5.0912 | 5.5598 | 5.4408 | 5.4372 | 5.4201 | 5.3643 | 5.321 | 5.2858 | 5.06 | 4.7008 | 4.1936
2018-04-09 | 232.8125 | 236.2996 | 268.8224 | 271.8814 | 305.2908 | 399.5323 | 319.6238 | 341.5536 | 351.0732 | 360.7122 | 362.2033 | 370.2673 | 380.5799 | 390.4732 | 453.6459 | 526.9647 | 494.4574 | 0.12121 | 0.12314 | 0.1411 | 0.14286 | 0.16116 | 0.22396 | 0.16903 | 0.18097 | 0.18677 | 0.19234 | 0.19303 | 0.19735 | 0.20307 | 0.20853 | 0.24344 | 0.28437 | 0.26746 | 3.7933 | 3.8282 | 4.2171 | 4.2503 | 4.7095 | 3.4508 | 4.9353 | 5.4349 | 5.4769 | 5.4442 | 5.4393 | 5.4132 | 5.3807 | 5.3494 | 5.1912 | 4.8885 | 4.3159
2018-04-10 | 217.4071 | 220.0352 | 256.034 | 257.4526 | 282.4686 | 399.098 | 308.3169 | 332.1597 | 331.8549 | 344.5678 | 357.1856 | 362.5295 | 366.2554 | 374.6806 | 420.9766 | 522.39 | 493.6684 | 0.1127 | 0.11414 | 0.13406 | 0.13483 | 0.1486 | 0.22368 | 0.16282 | 0.1759 | 0.1758 | 0.18306 | 0.19028 | 0.19314 | 0.19518 | 0.19979 | 0.22539 | 0.28211 | 0.26671 | 3.7591 | 3.7647 | 4.0259 | 4.0238 | 4.3645 | 3.4552 | 4.7628 | 5.1824 | 5.5581 | 5.5008 | 5.456 | 5.4383 | 5.4261 | 5.3992 | 5.2643 | 4.9546 | 4.4646
2018-04-11 | 217.2961 | 217.4629 | 232.5862 | 242.7134 | 267.3036 | 398.6672 | 296.5805 | 296.5805 | 327.8 | 329.051 | 337.5768 | 358.5022 | 361.9639 | 363.5652 | 397.7737 | 519.254 | 487.0563 | 0.11265 | 0.11273 | 0.1211 | 0.12661 | 0.14026 | 0.2234 | 0.15636 | 0.15636 | 0.17334 | 0.17414 | 0.17908 | 0.19106 | 0.193 | 0.19367 | 0.21253 | 0.28025 | 0.26287 | 3.7588 | 3.7592 | 3.792 | 3.876 | 4.1013 | 3.4579 | 4.5785 | 4.5785 | 5.6152 | 5.5783 | 5.5299 | 5.4516 | 5.4401 | 5.4348 | 5.3264 | 4.977 | 4.5782
2018-04-12 | 218.1855 | 217.2965 | 253.8959 | 231.9351 | 252.071 | 398.4742 | 293.9834 | 293.9834 | 328.7238 | 327.693 | 332.2859 | 353.1706 | 360.9133 | 362.3314 | 385.606 | 498.4844 | 481.003 | 0.11313 | 0.11265 | 0.09632 | 0.12065 | 0.13185 | 0.22328 | 0.15493 | 0.15493 | 0.17397 | 0.17324 | 0.17603 | 0.18798 | 0.19251 | 0.19305 | 0.20586 | 0.26808 | 0.25943 | 3.7795 | 3.7588 | 2.9137 | 3.7606 | 3.9157 | 3.4586 | 4.5382 | 4.5382 | 5.6292 | 5.597 | 5.5566 | 5.4698 | 5.4436 | 5.4389 | 5.3648 | 5.0579 | 4.6455
2018-04-13 | 230.9269 | 227.2543 | 295.8112 | 230.0309 | 241.7069 | 398.1195 | 288.3682 | 288.3682 | 329.7885 | 327.6997 | 329.7379 | 348.6506 | 359.12 | 361.9195 | 382.6861 | 488.2416 | 477.5595 | 0.12017 | 0.11813 | 0.077569 | 0.1197 | 0.12612 | 0.22306 | 0.15183 | 0.15183 | 0.17463 | 0.17326 | 0.17452 | 0.18539 | 0.19144 | 0.193 | 0.20421 | 0.26238 | 0.25741 | 4.1491 | 3.9927 | 1.945 | 3.7397 | 3.8079 | 3.4596 | 4.4574 | 4.4574 | 5.6398 | 5.611 | 5.5732 | 5.486 | 5.4495 | 5.4402 | 5.3741 | 5.0917 | 4.6746
2018-04-14 | 226.4271 | 229.7361 | 296.133 | 216.8383 | 231.6944 | 397.66 | 280.6978 | 280.6978 | 331.1914 | 329.6754 | 327.9249 | 342.0063 | 355.3189 | 361.0461 | 378.0383 | 480.2256 | 474.2832 | 0.11769 | 0.11953 | 0.077447 | 0.11237 | 0.12064 | 0.22278 | 0.14761 | 0.14761 | 0.1754 | 0.17459 | 0.17335 | 0.18159 | 0.18924 | 0.19262 | 0.20168 | 0.25791 | 0.25573 | 3.9232 | 3.9953 | 1.9375 | 3.6645 | 3.724 | 3.4604 | 4.3538 | 4.3538 | 5.6488 | 5.6376 | 5.5937 | 5.5114 | 5.4624 | 5.4431 | 5.3886 | 5.1167 | 4.6869
2018-04-15 | 201.8947 | 205.061 | 296.1428 | 217.3053 | 220.7651 | 397.1708 | 272.3581 | 272.3581 | 332.8742 | 330.7299 | 327.7856 | 335.7487 | 348.6599 | 358.6775 | 373.0588 | 466.6077 | 468.7029 | 0.10414 | 0.10589 | 0.077447 | 0.11261 | 0.1146 | 0.22248 | 0.14302 | 0.14302 | 0.17639 | 0.17517 | 0.17327 | 0.17792 | 0.18541 | 0.19116 | 0.19887 | 0.25042 | 0.25255 | 3.561 | 3.6325 | 1.9377 | 3.7603 | 3.6655 | 3.4611 | 4.2523 | 4.2523 | 5.6516 | 5.6435 | 5.6114 | 5.5389 | 5.486 | 5.451 | 5.4044 | 5.1568 | 4.7308
2018-04-16 | 193.2403 | 203.4476 | 299.7583 | 223.0846 | 218.1527 | 397.0597 | 270.5219 | 270.5219 | 333.4631 | 331.1972 | 328.449 | 333.0916 | 345.5658 | 356.5872 | 370.0068 | 450.3453 | 463.7933 | 0.099354 | 0.10499 | 0.079447 | 0.11583 | 0.11312 | 0.22241 | 0.14201 | 0.14201 | 0.17671 | 0.17544 | 0.17369 | 0.17646 | 0.1836 | 0.18999 | 0.1972 | 0.24162 | 0.24977 | 3.3146 | 3.604 | 2.0243 | 3.884 | 3.6838 | 3.4612 | 4.2324 | 4.2324 | 5.6507 | 5.6449 | 5.6232 | 5.5526 | 5.4975 | 5.4581 | 5.414 | 5.1984 | 4.7692
2018-04-17 | 188.9823 | 201.3031 | 302.4123 | 230.0204 | 221.1402 | 396.9501 | 268.7825 | 268.7825 | 333.786 | 331.4786 | 328.9305 | 332.6088 | 343.9406 | 355.4228 | 369.2445 | 450.4653 | 461.3183 | 0.097005 | 0.10385 | 0.080891 | 0.1197 | 0.11477 | 0.22234 | 0.14105 | 0.14105 | 0.1769 | 0.1756 | 0.17402 | 0.17616 | 0.18272 | 0.18932 | 0.19675 | 0.24168 | 0.24837 | 3.1931 | 3.5442 | 2.0981 | 4.0627 | 3.7734 | 3.4614 | 4.2153 | 4.2153 | 5.6496 | 5.6456 | 5.6288 | 5.5553 | 5.5037 | 5.4621 | 5.4165 | 5.1981 | 4.7881
2018-04-18 | 187.3338 | 194.2289 | 295.0061 | 230.4604 | 222.7945 | 396.8441 | 267.2217 | 267.2217 | 334.2004 | 331.7757 | 329.6513 | 331.4489 | 342.6515 | 354.5973 | 368.2916 | 448.5612 | 459.5697 | 0.095972 | 0.099901 | 0.076811 | 0.11991 | 0.11569 | 0.22228 | 0.14019 | 0.14019 | 0.17713 | 0.17577 | 0.17447 | 0.17552 | 0.18198 | 0.18879 | 0.19625 | 0.24061 | 0.24738 | 3.146 | 3.3428 | 1.9441 | 4.1076 | 3.7631 | 3.4616 | 4.2005 | 4.2005 | 5.6479 | 5.6459 | 5.6353 | 5.5622 | 5.5089 | 5.4651 | 5.4195 | 5.2025 | 4.8013
2018-04-19 | 185.892 | 187.3639 | 286.8513 | 229.441 | 221.218 | 396.6294 | 264.1785 | 264.1785 | 334.8967 | 332.3281 | 330.8328 | 330.235 | 340.4529 | 352.0637 | 366.7976 | 445.7072 | 457.8576 | 0.095372 | 0.095982 | 0.072314 | 0.11936 | 0.11481 | 0.22214 | 0.13851 | 0.13851 | 0.17745 | 0.17607 | 0.17528 | 0.17473 | 0.1807 | 0.18741 | 0.19544 | 0.23911 | 0.2464 | 3.1015 | 3.1469 | 1.797 | 4.0081 | 3.7265 | 3.4619 | 4.1699 | 4.1699 | 5.6435 | 5.6459 | 5.6426 | 5.5706 | 5.518 | 5.4738 | 5.4243 | 5.2089 | 4.8135
2018-04-20 | 184.0062 | 185.8581 | 283.1206 | 224.0194 | 218.6226 | 396.4126 | 261.1786 | 261.1786 | 336.4679 | 333.1183 | 331.2155 | 329.1002 | 336.9159 | 346.4901 | 365.6008 | 442.5529 | 455.4857 | 0.094209 | 0.09534 | 0.070266 | 0.11637 | 0.11339 | 0.22201 | 0.13685 | 0.13685 | 0.17828 | 0.17649 | 0.17548 | 0.17407 | 0.17858 | 0.18412 | 0.19478 | 0.23739 | 0.24507 | 3.0353 | 3.1002 | 1.6911 | 3.8748 | 3.671 | 3.4622 | 4.138 | 4.138 | 5.6271 | 5.6432 | 5.6431 | 5.5802 | 5.5335 | 5.4945 | 5.4282 | 5.2159 | 4.8258
2018-04-21 | 184.3611 | 184.006 | 281.2983 | 209.2452 | 214.7491 | 396.1868 | 258.167 | 258.167 | 337.1929 | 333.9464 | 331.6893 | 328.2765 | 332.1423 | 344.0408 | 364.5029 | 437.7811 | 450.3747 | 0.094514 | 0.094209 | 0.069226 | 0.10818 | 0.11125 | 0.22187 | 0.13519 | 0.13519 | 0.17866 | 0.17693 | 0.17573 | 0.1735 | 0.17578 | 0.18271 | 0.19416 | 0.23474 | 0.24214 | 2.9937 | 3.035 | 1.6391 | 3.6245 | 3.5981 | 3.4624 | 4.1039 | 4.1039 | 5.6165 | 5.6384 | 5.6426 | 5.6034 | 5.5599 | 5.5042 | 5.4318 | 5.2263 | 4.8529
2018-04-22 | 185.6082 | 184.3714 | 280.5547 | 202.7791 | 211.1168 | 395.9562 | 255.0955 | 255.0955 | 337.7753 | 334.7379 | 332.232 | 328.785 | 331.289 | 341.4571 | 363.6382 | 434.3858 | 448.5403 | 0.095192 | 0.094506 | 0.068828 | 0.10463 | 0.10924 | 0.22173 | 0.1335 | 0.1335 | 0.17897 | 0.17735 | 0.17602 | 0.17387 | 0.17529 | 0.18121 | 0.19368 | 0.23274 | 0.24114 | 2.9923 | 2.9951 | 1.6177 | 3.4098 | 3.5169 | 3.4625 | 4.0668 | 4.0668 | 5.6008 | 5.6319 | 5.6411 | 5.6115 | 5.5678 | 5.5156 | 5.4347 | 5.2339 | 4.8654
2018-04-23 | 185.8878 | 185.6336 | 279.4964 | 194.6964 | 207.9308 | 395.7202 | 252.0004 | 252.0004 | 338.0763 | 335.453 | 332.8184 | 329.2725 | 330.6203 | 338.9406 | 363.012 | 430.1021 | 446.4882 | 0.095336 | 0.0952 | 0.068249 | 0.10019 | 0.10748 | 0.22159 | 0.13179 | 0.13179 | 0.17915 | 0.17774 | 0.17633 | 0.1742 | 0.17491 | 0.17975 | 0.19333 | 0.23047 | 0.24001 | 2.99 | 2.9921 | 1.5832 | 3.2506 | 3.4384 | 3.4625 | 4.0268 | 4.0268 | 5.5778 | 5.6225 | 5.6383 | 5.6178 | 5.5767 | 5.5279 | 5.4367 | 5.2434 | 4.8793
2018-04-24 | 186.202 | 185.9076 | 278.9823 | 189.646 | 205.0375 | 395.479 | 248.9351 | 248.9351 | 338.0333 | 336.0337 | 333.4134 | 329.749 | 330.1784 | 336.7489 | 362.5922 | 426.7348 | 444.2781 | 0.095501 | 0.095348 | 0.067943 | 0.097175 | 0.10588 | 0.22144 | 0.1301 | 0.1301 | 0.17914 | 0.17805 | 0.17665 | 0.17451 | 0.17466 | 0.17847 | 0.19314 | 0.22859 | 0.23879 | 2.989 | 2.99 | 1.5627 | 3.1389 | 3.3671 | 3.4625 | 3.9848 | 3.9848 | 5.5489 | 5.6094 | 5.6338 | 5.6226 | 5.5856 | 5.54 | 5.4381 | 5.251 | 4.8944
2018-04-25 | 186.5946 | 186.2319 | 279.3369 | 188.7877 | 202.7316 | 395.2455 | 245.8985 | 245.8985 | 337.645 | 336.4367 | 333.9868 | 330.2264 | 329.9448 | 334.9421 | 362.282 | 423.1345 | 441.963 | 0.095713 | 0.095512 | 0.068154 | 0.096981 | 0.1046 | 0.2213 | 0.12842 | 0.12842 | 0.17893 | 0.17827 | 0.17696 | 0.17481 | 0.17455 | 0.17743 | 0.19304 | 0.22655 | 0.23751 | 2.9883 | 2.9889 | 1.5437 | 3.0943 | 3.3098 | 3.4623 | 3.9412 | 3.9412 | 5.5151 | 5.5923 | 5.6272 | 5.626 | 5.594 | 5.5514 | 5.4391 | 5.2594 | 4.9102
2018-04-26 | 187.0514 | 186.6215 | 279.8419 | 187.3964 | 200.8924 | 395.0185 | 242.9274 | 242.9274 | 336.9314 | 336.6278 | 334.5046 | 330.7101 | 329.8869 | 333.5143 | 362.0179 | 419.8344 | 439.5834 | 0.095961 | 0.095728 | 0.068474 | 0.096053 | 0.10359 | 0.22116 | 0.12679 | 0.12679 | 0.17855 | 0.17838 | 0.17724 | 0.1751 | 0.17453 | 0.1766 | 0.193 | 0.22476 | 0.23619 | 2.9871 | 2.9882 | 1.542 | 3.0415 | 3.2625 | 3.4621 | 3.897 | 3.897 | 5.4776 | 5.5711 | 5.618 | 5.6281 | 5.6015 | 5.5622 | 5.4399 | 5.2672 | 4.9264
2018-04-27 | 187.5439 | 187.093 | 279.9896 | 187.5492 | 199.4292 | 394.7942 | 240.0436 | 240.0436 | 335.9214 | 336.585 | 334.9327 | 331.1992 | 329.9704 | 332.4356 | 361.7259 | 415.5395 | 437.171 | 0.09623 | 0.095985 | 0.068551 | 0.096185 | 0.10277 | 0.22103 | 0.12519 | 0.12519 | 0.178 | 0.17835 | 0.17747 | 0.17539 | 0.1746 | 0.17598 | 0.19296 | 0.22227 | 0.23484 | 2.9861 | 2.987 | 1.5411 | 3.0156 | 3.223 | 3.4619 | 3.8529 | 3.8529 | 5.4371 | 5.5459 | 5.606 | 5.6287 | 5.608 | 5.5722 | 5.4408 | 5.2776 | 4.9427
2018-04-28 | 188.0192 | 187.5767 | 280.1614 | 188.4966 | 198.3197 | 394.5796 | 237.2668 | 237.2668 | 334.6458 | 336.298 | 335.2407 | 331.688 | 330.1641 | 331.6634 | 361.3188 | 412.3722 | 434.7508 | 0.096491 | 0.09625 | 0.068644 | 0.096815 | 0.10216 | 0.2209 | 0.12366 | 0.12366 | 0.1773 | 0.1782 | 0.17763 | 0.17567 | 0.17473 | 0.17554 | 0.1928 | 0.22043 | 0.23349 | 2.9824 | 2.9858 | 1.5406 | 3.0041 | 3.1909 | 3.4616 | 3.8093 | 3.8093 | 5.3944 | 5.5171 | 5.5909 | 5.6278 | 5.6133 | 5.5814 | 5.4421 | 5.2855 | 4.959
2018-04-29 | 188.5057 | 188.0497 | 280.3834 | 188.8508 | 197.4915 | 394.3655 | 234.6115 | 234.6115 | 333.1329 | 335.765 | 335.4031 | 332.1667 | 330.4407 | 331.152 | 360.4366 | 410.0224 | 432.3426 | 0.096758 | 0.096509 | 0.06876 | 0.096974 | 0.10171 | 0.22077 | 0.1222 | 0.1222 | 0.17647 | 0.17791 | 0.17772 | 0.17594 | 0.1749 | 0.17526 | 0.19234 | 0.21924 | 0.23215 | 2.9722 | 2.9816 | 1.5402 | 3.0023 | 3.1646 | 3.4613 | 3.7667 | 3.7667 | 5.3501 | 5.485 | 5.5727 | 5.6253 | 5.6173 | 5.5896 | 5.445 | 5.2916 | 4.9752
2018-04-30 | 188.9011 | 188.5288 | 280.6258 | 189.0585 | 196.9183 | 394.1493 | 232.087 | 232.087 | 331.4088 | 334.991 | 335.3999 | 332.6222 | 330.7772 | 330.8574 | 359.0555 | 407.3325 | 429.9613 | 0.096976 | 0.096771 | 0.068893 | 0.097064 | 0.1014 | 0.22064 | 0.1208 | 0.1208 | 0.17553 | 0.17749 | 0.17772 | 0.17619 | 0.17511 | 0.1751 | 0.19141 | 0.21773 | 0.23082 | 2.9602 | 2.9714 | 1.5396 | 3.0009 | 3.1429 | 3.4609 | 3.7254 | 3.7254 | 5.3044 | 5.45 | 5.5514 | 5.6209 | 5.6199 | 5.5969 | 5.4497 | 5.2989 | 4.9911
Note on C1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on D1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on E1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on F1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on G1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on H1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on I1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on J1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on K1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on L1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on M1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on N1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on O1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on P1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Q1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on R1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on S1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on T1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on U1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on V1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on W1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on X1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Y1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Z1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AA1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AB1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AC1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AD1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AE1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AF1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AG1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AH1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AI1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AJ1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AK1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AL1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AM1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AN1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AO1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AP1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AQ1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AR1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AS1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AT1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AU1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AV1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AW1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AX1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AY1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AZ1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BA1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss

## DataGroups
Inputs | Group Name: | DSM2 Fingerprint | Constituents: |  |  |  | Qual:
20180410-21A | Start Date: | 2018-04-02 | Scenario(Fpart) | 20180410-21A+FROM-ALL |  |  | Scenario(Fpart)
ca-aq-qual.dss | Start Time: | 2400 | DSS file | ca-aq-qual.dss |  |  | DSS file
| Finish Date: | 2018-04-29
| Finish Time: | 2400
DSM2 Location | Constituent | Pathnames: | Part A: | Part B: | Part C: | Part D: | Part E: | Part F:
South Bay Pumping Plant | EC | /QUAL8.0.6/ck_01/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_01 | EC |  | 1DAY | 20180410-21A+FROM-ALL
Check 2 | EC | /QUAL8.0.6/ck_02/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_02 | EC |  | 1DAY | 20180410-21A+FROM-ALL
Santa Clara Tank Inflow | EC | /QUAL8.0.6/ck_613/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_613 | EC |  | 1DAY | 20180410-21A+FROM-ALL
CA Aqueduct Inflow to O'Neill Forebay | EC | /QUAL8.0.6/ck_12/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_12 | EC |  | 1DAY | 20180410-21A+FROM-ALL
O'Neill P/G Plant | EC | /QUAL8.0.6/ONEILLR/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ONEILLR | EC |  | 1DAY | 20180410-21A+FROM-ALL
San Luis Reservoir | EC | /QUAL8.0.6/SANLUISR/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | SANLUISR | EC |  | 1DAY | 20180410-21A+FROM-ALL
O'Neill Forebay Outlet to CA Aqueduct | EC | /QUAL8.0.6/415_100/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | 415_100 | EC |  | 1DAY | 20180410-21A+FROM-ALL
check 13 | EC | /QUAL8.0.6/ck_13/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_13 | EC |  | 1DAY | 20180410-21A+FROM-ALL
Check 21 | EC | /QUAL8.0.6/ck_21/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_21 | EC |  | 1DAY | 20180410-21A+FROM-ALL
Check 22 | EC | /QUAL8.0.6/ck_22/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_22 | EC |  | 1DAY | 20180410-21A+FROM-ALL
Check 23, Upstream of Semitropic Turn-ins | EC | /QUAL8.0.6/ck_23/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_23 | EC |  | 1DAY | 20180410-21A+FROM-ALL
Check 25, Downstream of Semitropic Turnins | EC | /QUAL8.0.6/ck_25/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_25 | EC |  | 1DAY | 20180410-21A+FROM-ALL
Check 27, Tupman Rd Bridge Upstream of CVC, KWB and Arvin-Edison Turn-ins | EC | /QUAL8.0.6/ck_27/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_27 | EC |  | 1DAY | 20180410-21A+FROM-ALL
Check 29 | EC | /QUAL8.0.6/ck_29/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_29 | EC |  | 1DAY | 20180410-21A+FROM-ALL
Check 41 | EC | /QUAL8.0.6/ck_41/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_41 | EC |  | 1DAY | 20180410-21A+FROM-ALL
Check 66 | EC | /QUAL8.0.6/ck_66/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_66 | EC |  | 1DAY | 20180410-21A+FROM-ALL
Pyramid Lake Inflow | EC | /QUAL8.0.6/ck_705/EC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_705 | EC |  | 1DAY | 20180410-21A+FROM-ALL
South Bay Pumping Plant | BR | /QUAL8.0.6/ck_01/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_01 | BR |  | 1DAY | 20180410-21A+FROM-ALL
Check 2 | BR | /QUAL8.0.6/ck_02/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_02 | BR |  | 1DAY | 20180410-21A+FROM-ALL
Santa Clara Tank Inflow | BR | /QUAL8.0.6/ck_613/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_613 | BR |  | 1DAY | 20180410-21A+FROM-ALL
CA Aqueduct Inflow to O'Neill Forebay | BR | /QUAL8.0.6/ck_12/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_12 | BR |  | 1DAY | 20180410-21A+FROM-ALL
O'Neill P/G Plant | BR | /QUAL8.0.6/ONEILLR/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ONEILLR | BR |  | 1DAY | 20180410-21A+FROM-ALL
San Luis Reservoir | BR | /QUAL8.0.6/SANLUISR/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | SANLUISR | BR |  | 1DAY | 20180410-21A+FROM-ALL
O'Neill Forebay Outlet to CA Aqueduct | BR | /QUAL8.0.6/415_100/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | 415_100 | BR |  | 1DAY | 20180410-21A+FROM-ALL
check 13 | BR | /QUAL8.0.6/ck_13/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_13 | BR |  | 1DAY | 20180410-21A+FROM-ALL
Check 21 | BR | /QUAL8.0.6/ck_21/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_21 | BR |  | 1DAY | 20180410-21A+FROM-ALL
Check 22 | BR | /QUAL8.0.6/ck_22/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_22 | BR |  | 1DAY | 20180410-21A+FROM-ALL
Check 23, Upstream of Semitropic Turn-ins | BR | /QUAL8.0.6/ck_23/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_23 | BR |  | 1DAY | 20180410-21A+FROM-ALL
Check 25, Downstream of Semitropic Turnins | BR | /QUAL8.0.6/ck_25/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_25 | BR |  | 1DAY | 20180410-21A+FROM-ALL
Check 27, Tupman Rd Bridge Upstream of CVC, KWB and Arvin-Edison Turn-ins | BR | /QUAL8.0.6/ck_27/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_27 | BR |  | 1DAY | 20180410-21A+FROM-ALL
Check 29 | BR | /QUAL8.0.6/ck_29/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_29 | BR |  | 1DAY | 20180410-21A+FROM-ALL
Check 41 | BR | /QUAL8.0.6/ck_41/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_41 | BR |  | 1DAY | 20180410-21A+FROM-ALL
Check 66 | BR | /QUAL8.0.6/ck_66/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_66 | BR |  | 1DAY | 20180410-21A+FROM-ALL
Pyramid Lake Inflow | BR | /QUAL8.0.6/ck_705/BR//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_705 | BR |  | 1DAY | 20180410-21A+FROM-ALL
South Bay Pumping Plant | DOC | /QUAL8.0.6/ck_01/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_01 | DOC |  | 1DAY | 20180410-21A+FROM-ALL
Check 2 | DOC | /QUAL8.0.6/ck_02/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_02 | DOC |  | 1DAY | 20180410-21A+FROM-ALL
Santa Clara Tank Inflow | DOC | /QUAL8.0.6/ck_613/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_613 | DOC |  | 1DAY | 20180410-21A+FROM-ALL
CA Aqueduct Inflow to O'Neill Forebay | DOC | /QUAL8.0.6/ck_12/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_12 | DOC |  | 1DAY | 20180410-21A+FROM-ALL
O'Neill P/G Plant | DOC | /QUAL8.0.6/ONEILLR/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ONEILLR | DOC |  | 1DAY | 20180410-21A+FROM-ALL
San Luis Reservoir | DOC | /QUAL8.0.6/SANLUISR/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | SANLUISR | DOC |  | 1DAY | 20180410-21A+FROM-ALL
O'Neill Forebay Outlet to CA Aqueduct | DOC | /QUAL8.0.6/415_100/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | 415_100 | DOC |  | 1DAY | 20180410-21A+FROM-ALL
check 13 | DOC | /QUAL8.0.6/ck_13/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_13 | DOC |  | 1DAY | 20180410-21A+FROM-ALL
Check 21 | DOC | /QUAL8.0.6/ck_21/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_21 | DOC |  | 1DAY | 20180410-21A+FROM-ALL
Check 22 | DOC | /QUAL8.0.6/ck_22/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_22 | DOC |  | 1DAY | 20180410-21A+FROM-ALL
Check 23, Upstream of Semitropic Turn-ins | DOC | /QUAL8.0.6/ck_23/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_23 | DOC |  | 1DAY | 20180410-21A+FROM-ALL
Check 25, Downstream of Semitropic Turnins | DOC | /QUAL8.0.6/ck_25/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_25 | DOC |  | 1DAY | 20180410-21A+FROM-ALL
Check 27, Tupman Rd Bridge Upstream of CVC, KWB and Arvin-Edison Turn-ins | DOC | /QUAL8.0.6/ck_27/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_27 | DOC |  | 1DAY | 20180410-21A+FROM-ALL
Check 29 | DOC | /QUAL8.0.6/ck_29/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_29 | DOC |  | 1DAY | 20180410-21A+FROM-ALL
Check 41 | DOC | /QUAL8.0.6/ck_41/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_41 | DOC |  | 1DAY | 20180410-21A+FROM-ALL
Check 66 | DOC | /QUAL8.0.6/ck_66/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_66 | DOC |  | 1DAY | 20180410-21A+FROM-ALL
Pyramid Lake Inflow | DOC | /QUAL8.0.6/ck_705/DOC//1DAY/20180410-21A+FROM-ALL/ | QUAL8.0.6 | ck_705 | DOC |  | 1DAY | 20180410-21A+FROM-ALL
Note on A3: open dss file, may have a different file name though
Note on B1: Delete "Retrieve TS". Retrieve from DSM2 output dss file the data with these groups then copy the new "Retrieved TS" data to another worksheet

## Macro
Start Date | 2018-04-02
End Date | 2018-04-29
Legend Name for Scenario | A | Base Case
Legend Name for Scenario |  | Alternate 1
Legend Name for Scenario |  | Alternate 2
Legend Name for Scenario |  | Alternate 3
Chart | Base Chart Title | EC Column | Br Column | DOC Column
1 | at South Bay Pumping Plant | C | T | AK
2 | at Check 2 | D | U | AL
3 | at Check Santa Clara Tank Inflow | E | V | AM
4 | at Check 12 | F | W | AN
5 | at O'Neill Reservoir | G | X | AO
6 | at San Luis Reservoir | H | Y | AP
7 | at Check 13 | J | AA | AR
8 | at Check 21 | K | AB | AS
9 | at Check 23 | M | AD | AU
10 | at Check 25 | N | AE | AV
11 | at Check 27 | O | AF | AW
12 | at Check 29 | P | AG | AX
13 | at Check 41 | Q | AH | AY
14 | at Check 66 | R | AI | AZ
15 | at Pyramid Lake Inflow | S | AJ | BA
Generate Report

## Retrieved TS
Part A: | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6
Part B: | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705
Part C: | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC
Part D:
Part E: | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY
Part F: | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL | 20180410-21A+FROM-ALL
Beg. Date: | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02 | 2018-04-02
Beg. Time: | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
End Date: | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29 | 2018-04-29
End Time: | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
Units: | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM | UMHOS/CM
Data Type: | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL
2018-04-02 | 341 | 340 | 325 | 323 | 327 | 401 | 362 | 362 | 521 | 522 | 526 | 529 | 528 | 526 | 501 | 442 | 445 | 0.181 | 0.18 | 0.172 | 0.171 | 0.173 | 0.225 | 0.193 | 0.193 | 0.281 | 0.282 | 0.284 | 0.286 | 0.285 | 0.284 | 0.271 | 0.242 | 0.242 | 5.64 | 5.79 | 5.74 | 5.7 | 5.55 | 3.41 | 5.44 | 5.44 | 4.97 | 4.96 | 4.91 | 4.79 | 4.68 | 4.59 | 4.22 | 3.59 | 3.64
2018-04-03 | 347.2675 | 344.226 | 339.0052 | 330.1081 | 326.42 | 400.6745 | 326.3386 | 361.9015 | 498.1522 | 518.2265 | 521.3417 | 526.018 | 528.99 | 529 | 513.5118 | 457.7763 | 449.7138 | 0.1844 | 0.18275 | 0.18 | 0.17504 | 0.17271 | 0.22477 | 0.17266 | 0.19295 | 0.26755 | 0.27953 | 0.28134 | 0.284 | 0.28507 | 0.28586 | 0.27787 | 0.24592 | 0.24401 | 5.5986 | 5.6187 | 5.8397 | 5.7489 | 5.6085 | 3.4194 | 5.6063 | 5.4403 | 5.0626 | 4.983 | 4.9665 | 4.9092 | 4.8453 | 4.7788 | 4.3743 | 3.7653 | 3.6876
2018-04-04 | 329.3105 | 330.8012 | 341.0719 | 342.245 | 334.4758 | 400.4487 | 334.2956 | 327.5231 | 423.6186 | 448.3044 | 475.8147 | 517.1235 | 521.5263 | 523.8375 | 526.9831 | 474.0248 | 460.5346 | 0.17447 | 0.17529 | 0.18101 | 0.18156 | 0.17722 | 0.22461 | 0.17712 | 0.17334 | 0.22687 | 0.24054 | 0.25552 | 0.27884 | 0.28155 | 0.28291 | 0.28486 | 0.25479 | 0.24956 | 5.1407 | 5.1777 | 5.6396 | 5.6009 | 5.6576 | 3.4266 | 5.659 | 5.5804 | 5.2578 | 5.2041 | 5.1313 | 4.9871 | 4.9645 | 4.937 | 4.6377 | 3.9502 | 3.8017
2018-04-05 | 310.9516 | 312.8447 | 346.7371 | 346.7242 | 342.1138 | 400.2796 | 341.7644 | 331.177 | 382.4585 | 395.9474 | 409.9485 | 446.8829 | 476.7356 | 503.2241 | 528.2461 | 495.8712 | 477.1672 | 0.16434 | 0.16537 | 0.18414 | 0.18416 | 0.18129 | 0.22449 | 0.18111 | 0.17545 | 0.20412 | 0.21151 | 0.21922 | 0.23976 | 0.256 | 0.27058 | 0.28482 | 0.26809 | 0.25844 | 4.6853 | 4.7323 | 5.5733 | 5.5451 | 5.5452 | 3.4325 | 5.5508 | 5.6519 | 5.3748 | 5.332 | 5.2909 | 5.2068 | 5.1282 | 5.0423 | 4.8628 | 4.1688 | 3.9965
2018-04-06 | 271.9326 | 273.9994 | 326.5361 | 328.8633 | 339.3532 | 400.1105 | 339.7707 | 336.2645 | 364.4789 | 373.6126 | 383.8352 | 407.0802 | 425.2517 | 445.0724 | 520.8091 | 513.5027 | 486.1698 | 0.1428 | 0.14393 | 0.17299 | 0.17431 | 0.17979 | 0.22436 | 0.18 | 0.17815 | 0.19425 | 0.19919 | 0.20489 | 0.21763 | 0.22777 | 0.23876 | 0.28107 | 0.27802 | 0.26314 | 4.2653 | 4.2875 | 5.0719 | 5.1243 | 5.3353 | 3.4384 | 5.3482 | 5.6341 | 5.4318 | 5.4026 | 5.3704 | 5.2987 | 5.2542 | 5.2106 | 4.9694 | 4.3775 | 4.1274
2018-04-07 | 257.5289 | 257.974 | 305.4915 | 310.1044 | 327.9511 | 399.8703 | 328.8329 | 340.9593 | 361.7327 | 362.8559 | 368.1043 | 385.7799 | 399.4928 | 412.0944 | 498.097 | 528.2553 | 489.6634 | 0.13485 | 0.1351 | 0.16134 | 0.16395 | 0.1736 | 0.22419 | 0.17408 | 0.18069 | 0.19293 | 0.19333 | 0.19616 | 0.20595 | 0.21346 | 0.22042 | 0.26775 | 0.28501 | 0.26496 | 4.0409 | 4.0478 | 4.626 | 4.6639 | 5.0707 | 3.4448 | 5.0912 | 5.5598 | 5.4408 | 5.4372 | 5.4201 | 5.3643 | 5.321 | 5.2858 | 5.06 | 4.7008 | 4.1936
2018-04-08 | 232.8125 | 236.2996 | 268.8224 | 271.8814 | 305.2908 | 399.5323 | 319.6238 | 341.5536 | 351.0732 | 360.7122 | 362.2033 | 370.2673 | 380.5799 | 390.4732 | 453.6459 | 526.9647 | 494.4574 | 0.12121 | 0.12314 | 0.1411 | 0.14286 | 0.16116 | 0.22396 | 0.16903 | 0.18097 | 0.18677 | 0.19234 | 0.19303 | 0.19735 | 0.20307 | 0.20853 | 0.24344 | 0.28437 | 0.26746 | 3.7933 | 3.8282 | 4.2171 | 4.2503 | 4.7095 | 3.4508 | 4.9353 | 5.4349 | 5.4769 | 5.4442 | 5.4393 | 5.4132 | 5.3807 | 5.3494 | 5.1912 | 4.8885 | 4.3159
2018-04-09 | 217.4071 | 220.0352 | 256.034 | 257.4526 | 282.4686 | 399.098 | 308.3169 | 332.1597 | 331.8549 | 344.5678 | 357.1856 | 362.5295 | 366.2554 | 374.6806 | 420.9766 | 522.39 | 493.6684 | 0.1127 | 0.11414 | 0.13406 | 0.13483 | 0.1486 | 0.22368 | 0.16282 | 0.1759 | 0.1758 | 0.18306 | 0.19028 | 0.19314 | 0.19518 | 0.19979 | 0.22539 | 0.28211 | 0.26671 | 3.7591 | 3.7647 | 4.0259 | 4.0238 | 4.3645 | 3.4552 | 4.7628 | 5.1824 | 5.5581 | 5.5008 | 5.456 | 5.4383 | 5.4261 | 5.3992 | 5.2643 | 4.9546 | 4.4646
2018-04-10 | 217.2961 | 217.4629 | 232.5862 | 242.7134 | 267.3036 | 398.6672 | 296.5805 | 296.5805 | 327.8 | 329.051 | 337.5768 | 358.5022 | 361.9639 | 363.5652 | 397.7737 | 519.254 | 487.0563 | 0.11265 | 0.11273 | 0.1211 | 0.12661 | 0.14026 | 0.2234 | 0.15636 | 0.15636 | 0.17334 | 0.17414 | 0.17908 | 0.19106 | 0.193 | 0.19367 | 0.21253 | 0.28025 | 0.26287 | 3.7588 | 3.7592 | 3.792 | 3.876 | 4.1013 | 3.4579 | 4.5785 | 4.5785 | 5.6152 | 5.5783 | 5.5299 | 5.4516 | 5.4401 | 5.4348 | 5.3264 | 4.977 | 4.5782
2018-04-11 | 218.1855 | 217.2965 | 253.8959 | 231.9351 | 252.071 | 398.4742 | 293.9834 | 293.9834 | 328.7238 | 327.693 | 332.2859 | 353.1706 | 360.9133 | 362.3314 | 385.606 | 498.4844 | 481.003 | 0.11313 | 0.11265 | 0.09632 | 0.12065 | 0.13185 | 0.22328 | 0.15493 | 0.15493 | 0.17397 | 0.17324 | 0.17603 | 0.18798 | 0.19251 | 0.19305 | 0.20586 | 0.26808 | 0.25943 | 3.7795 | 3.7588 | 2.9137 | 3.7606 | 3.9157 | 3.4586 | 4.5382 | 4.5382 | 5.6292 | 5.597 | 5.5566 | 5.4698 | 5.4436 | 5.4389 | 5.3648 | 5.0579 | 4.6455
2018-04-12 | 230.9269 | 227.2543 | 295.8112 | 230.0309 | 241.7069 | 398.1195 | 288.3682 | 288.3682 | 329.7885 | 327.6997 | 329.7379 | 348.6506 | 359.12 | 361.9195 | 382.6861 | 488.2416 | 477.5595 | 0.12017 | 0.11813 | 0.077569 | 0.1197 | 0.12612 | 0.22306 | 0.15183 | 0.15183 | 0.17463 | 0.17326 | 0.17452 | 0.18539 | 0.19144 | 0.193 | 0.20421 | 0.26238 | 0.25741 | 4.1491 | 3.9927 | 1.945 | 3.7397 | 3.8079 | 3.4596 | 4.4574 | 4.4574 | 5.6398 | 5.611 | 5.5732 | 5.486 | 5.4495 | 5.4402 | 5.3741 | 5.0917 | 4.6746
2018-04-13 | 226.4271 | 229.7361 | 296.133 | 216.8383 | 231.6944 | 397.66 | 280.6978 | 280.6978 | 331.1914 | 329.6754 | 327.9249 | 342.0063 | 355.3189 | 361.0461 | 378.0383 | 480.2256 | 474.2832 | 0.11769 | 0.11953 | 0.077447 | 0.11237 | 0.12064 | 0.22278 | 0.14761 | 0.14761 | 0.1754 | 0.17459 | 0.17335 | 0.18159 | 0.18924 | 0.19262 | 0.20168 | 0.25791 | 0.25573 | 3.9232 | 3.9953 | 1.9375 | 3.6645 | 3.724 | 3.4604 | 4.3538 | 4.3538 | 5.6488 | 5.6376 | 5.5937 | 5.5114 | 5.4624 | 5.4431 | 5.3886 | 5.1167 | 4.6869
2018-04-14 | 201.8947 | 205.061 | 296.1428 | 217.3053 | 220.7651 | 397.1708 | 272.3581 | 272.3581 | 332.8742 | 330.7299 | 327.7856 | 335.7487 | 348.6599 | 358.6775 | 373.0588 | 466.6077 | 468.7029 | 0.10414 | 0.10589 | 0.077447 | 0.11261 | 0.1146 | 0.22248 | 0.14302 | 0.14302 | 0.17639 | 0.17517 | 0.17327 | 0.17792 | 0.18541 | 0.19116 | 0.19887 | 0.25042 | 0.25255 | 3.561 | 3.6325 | 1.9377 | 3.7603 | 3.6655 | 3.4611 | 4.2523 | 4.2523 | 5.6516 | 5.6435 | 5.6114 | 5.5389 | 5.486 | 5.451 | 5.4044 | 5.1568 | 4.7308
2018-04-15 | 193.2403 | 203.4476 | 299.7583 | 223.0846 | 218.1527 | 397.0597 | 270.5219 | 270.5219 | 333.4631 | 331.1972 | 328.449 | 333.0916 | 345.5658 | 356.5872 | 370.0068 | 450.3453 | 463.7933 | 0.099354 | 0.10499 | 0.079447 | 0.11583 | 0.11312 | 0.22241 | 0.14201 | 0.14201 | 0.17671 | 0.17544 | 0.17369 | 0.17646 | 0.1836 | 0.18999 | 0.1972 | 0.24162 | 0.24977 | 3.3146 | 3.604 | 2.0243 | 3.884 | 3.6838 | 3.4612 | 4.2324 | 4.2324 | 5.6507 | 5.6449 | 5.6232 | 5.5526 | 5.4975 | 5.4581 | 5.414 | 5.1984 | 4.7692
2018-04-16 | 188.9823 | 201.3031 | 302.4123 | 230.0204 | 221.1402 | 396.9501 | 268.7825 | 268.7825 | 333.786 | 331.4786 | 328.9305 | 332.6088 | 343.9406 | 355.4228 | 369.2445 | 450.4653 | 461.3183 | 0.097005 | 0.10385 | 0.080891 | 0.1197 | 0.11477 | 0.22234 | 0.14105 | 0.14105 | 0.1769 | 0.1756 | 0.17402 | 0.17616 | 0.18272 | 0.18932 | 0.19675 | 0.24168 | 0.24837 | 3.1931 | 3.5442 | 2.0981 | 4.0627 | 3.7734 | 3.4614 | 4.2153 | 4.2153 | 5.6496 | 5.6456 | 5.6288 | 5.5553 | 5.5037 | 5.4621 | 5.4165 | 5.1981 | 4.7881
2018-04-17 | 187.3338 | 194.2289 | 295.0061 | 230.4604 | 222.7945 | 396.8441 | 267.2217 | 267.2217 | 334.2004 | 331.7757 | 329.6513 | 331.4489 | 342.6515 | 354.5973 | 368.2916 | 448.5612 | 459.5697 | 0.095972 | 0.099901 | 0.076811 | 0.11991 | 0.11569 | 0.22228 | 0.14019 | 0.14019 | 0.17713 | 0.17577 | 0.17447 | 0.17552 | 0.18198 | 0.18879 | 0.19625 | 0.24061 | 0.24738 | 3.146 | 3.3428 | 1.9441 | 4.1076 | 3.7631 | 3.4616 | 4.2005 | 4.2005 | 5.6479 | 5.6459 | 5.6353 | 5.5622 | 5.5089 | 5.4651 | 5.4195 | 5.2025 | 4.8013
2018-04-18 | 185.892 | 187.3639 | 286.8513 | 229.441 | 221.218 | 396.6294 | 264.1785 | 264.1785 | 334.8967 | 332.3281 | 330.8328 | 330.235 | 340.4529 | 352.0637 | 366.7976 | 445.7072 | 457.8576 | 0.095372 | 0.095982 | 0.072314 | 0.11936 | 0.11481 | 0.22214 | 0.13851 | 0.13851 | 0.17745 | 0.17607 | 0.17528 | 0.17473 | 0.1807 | 0.18741 | 0.19544 | 0.23911 | 0.2464 | 3.1015 | 3.1469 | 1.797 | 4.0081 | 3.7265 | 3.4619 | 4.1699 | 4.1699 | 5.6435 | 5.6459 | 5.6426 | 5.5706 | 5.518 | 5.4738 | 5.4243 | 5.2089 | 4.8135
2018-04-19 | 184.0062 | 185.8581 | 283.1206 | 224.0194 | 218.6226 | 396.4126 | 261.1786 | 261.1786 | 336.4679 | 333.1183 | 331.2155 | 329.1002 | 336.9159 | 346.4901 | 365.6008 | 442.5529 | 455.4857 | 0.094209 | 0.09534 | 0.070266 | 0.11637 | 0.11339 | 0.22201 | 0.13685 | 0.13685 | 0.17828 | 0.17649 | 0.17548 | 0.17407 | 0.17858 | 0.18412 | 0.19478 | 0.23739 | 0.24507 | 3.0353 | 3.1002 | 1.6911 | 3.8748 | 3.671 | 3.4622 | 4.138 | 4.138 | 5.6271 | 5.6432 | 5.6431 | 5.5802 | 5.5335 | 5.4945 | 5.4282 | 5.2159 | 4.8258
2018-04-20 | 184.3611 | 184.006 | 281.2983 | 209.2452 | 214.7491 | 396.1868 | 258.167 | 258.167 | 337.1929 | 333.9464 | 331.6893 | 328.2765 | 332.1423 | 344.0408 | 364.5029 | 437.7811 | 450.3747 | 0.094514 | 0.094209 | 0.069226 | 0.10818 | 0.11125 | 0.22187 | 0.13519 | 0.13519 | 0.17866 | 0.17693 | 0.17573 | 0.1735 | 0.17578 | 0.18271 | 0.19416 | 0.23474 | 0.24214 | 2.9937 | 3.035 | 1.6391 | 3.6245 | 3.5981 | 3.4624 | 4.1039 | 4.1039 | 5.6165 | 5.6384 | 5.6426 | 5.6034 | 5.5599 | 5.5042 | 5.4318 | 5.2263 | 4.8529
2018-04-21 | 185.6082 | 184.3714 | 280.5547 | 202.7791 | 211.1168 | 395.9562 | 255.0955 | 255.0955 | 337.7753 | 334.7379 | 332.232 | 328.785 | 331.289 | 341.4571 | 363.6382 | 434.3858 | 448.5403 | 0.095192 | 0.094506 | 0.068828 | 0.10463 | 0.10924 | 0.22173 | 0.1335 | 0.1335 | 0.17897 | 0.17735 | 0.17602 | 0.17387 | 0.17529 | 0.18121 | 0.19368 | 0.23274 | 0.24114 | 2.9923 | 2.9951 | 1.6177 | 3.4098 | 3.5169 | 3.4625 | 4.0668 | 4.0668 | 5.6008 | 5.6319 | 5.6411 | 5.6115 | 5.5678 | 5.5156 | 5.4347 | 5.2339 | 4.8654
2018-04-22 | 185.8878 | 185.6336 | 279.4964 | 194.6964 | 207.9308 | 395.7202 | 252.0004 | 252.0004 | 338.0763 | 335.453 | 332.8184 | 329.2725 | 330.6203 | 338.9406 | 363.012 | 430.1021 | 446.4882 | 0.095336 | 0.0952 | 0.068249 | 0.10019 | 0.10748 | 0.22159 | 0.13179 | 0.13179 | 0.17915 | 0.17774 | 0.17633 | 0.1742 | 0.17491 | 0.17975 | 0.19333 | 0.23047 | 0.24001 | 2.99 | 2.9921 | 1.5832 | 3.2506 | 3.4384 | 3.4625 | 4.0268 | 4.0268 | 5.5778 | 5.6225 | 5.6383 | 5.6178 | 5.5767 | 5.5279 | 5.4367 | 5.2434 | 4.8793
2018-04-23 | 186.202 | 185.9076 | 278.9823 | 189.646 | 205.0375 | 395.479 | 248.9351 | 248.9351 | 338.0333 | 336.0337 | 333.4134 | 329.749 | 330.1784 | 336.7489 | 362.5922 | 426.7348 | 444.2781 | 0.095501 | 0.095348 | 0.067943 | 0.097175 | 0.10588 | 0.22144 | 0.1301 | 0.1301 | 0.17914 | 0.17805 | 0.17665 | 0.17451 | 0.17466 | 0.17847 | 0.19314 | 0.22859 | 0.23879 | 2.989 | 2.99 | 1.5627 | 3.1389 | 3.3671 | 3.4625 | 3.9848 | 3.9848 | 5.5489 | 5.6094 | 5.6338 | 5.6226 | 5.5856 | 5.54 | 5.4381 | 5.251 | 4.8944
2018-04-24 | 186.5946 | 186.2319 | 279.3369 | 188.7877 | 202.7316 | 395.2455 | 245.8985 | 245.8985 | 337.645 | 336.4367 | 333.9868 | 330.2264 | 329.9448 | 334.9421 | 362.282 | 423.1345 | 441.963 | 0.095713 | 0.095512 | 0.068154 | 0.096981 | 0.1046 | 0.2213 | 0.12842 | 0.12842 | 0.17893 | 0.17827 | 0.17696 | 0.17481 | 0.17455 | 0.17743 | 0.19304 | 0.22655 | 0.23751 | 2.9883 | 2.9889 | 1.5437 | 3.0943 | 3.3098 | 3.4623 | 3.9412 | 3.9412 | 5.5151 | 5.5923 | 5.6272 | 5.626 | 5.594 | 5.5514 | 5.4391 | 5.2594 | 4.9102
2018-04-25 | 187.0514 | 186.6215 | 279.8419 | 187.3964 | 200.8924 | 395.0185 | 242.9274 | 242.9274 | 336.9314 | 336.6278 | 334.5046 | 330.7101 | 329.8869 | 333.5143 | 362.0179 | 419.8344 | 439.5834 | 0.095961 | 0.095728 | 0.068474 | 0.096053 | 0.10359 | 0.22116 | 0.12679 | 0.12679 | 0.17855 | 0.17838 | 0.17724 | 0.1751 | 0.17453 | 0.1766 | 0.193 | 0.22476 | 0.23619 | 2.9871 | 2.9882 | 1.542 | 3.0415 | 3.2625 | 3.4621 | 3.897 | 3.897 | 5.4776 | 5.5711 | 5.618 | 5.6281 | 5.6015 | 5.5622 | 5.4399 | 5.2672 | 4.9264
2018-04-26 | 187.5439 | 187.093 | 279.9896 | 187.5492 | 199.4292 | 394.7942 | 240.0436 | 240.0436 | 335.9214 | 336.585 | 334.9327 | 331.1992 | 329.9704 | 332.4356 | 361.7259 | 415.5395 | 437.171 | 0.09623 | 0.095985 | 0.068551 | 0.096185 | 0.10277 | 0.22103 | 0.12519 | 0.12519 | 0.178 | 0.17835 | 0.17747 | 0.17539 | 0.1746 | 0.17598 | 0.19296 | 0.22227 | 0.23484 | 2.9861 | 2.987 | 1.5411 | 3.0156 | 3.223 | 3.4619 | 3.8529 | 3.8529 | 5.4371 | 5.5459 | 5.606 | 5.6287 | 5.608 | 5.5722 | 5.4408 | 5.2776 | 4.9427
2018-04-27 | 188.0192 | 187.5767 | 280.1614 | 188.4966 | 198.3197 | 394.5796 | 237.2668 | 237.2668 | 334.6458 | 336.298 | 335.2407 | 331.688 | 330.1641 | 331.6634 | 361.3188 | 412.3722 | 434.7508 | 0.096491 | 0.09625 | 0.068644 | 0.096815 | 0.10216 | 0.2209 | 0.12366 | 0.12366 | 0.1773 | 0.1782 | 0.17763 | 0.17567 | 0.17473 | 0.17554 | 0.1928 | 0.22043 | 0.23349 | 2.9824 | 2.9858 | 1.5406 | 3.0041 | 3.1909 | 3.4616 | 3.8093 | 3.8093 | 5.3944 | 5.5171 | 5.5909 | 5.6278 | 5.6133 | 5.5814 | 5.4421 | 5.2855 | 4.959
2018-04-28 | 188.5057 | 188.0497 | 280.3834 | 188.8508 | 197.4915 | 394.3655 | 234.6115 | 234.6115 | 333.1329 | 335.765 | 335.4031 | 332.1667 | 330.4407 | 331.152 | 360.4366 | 410.0224 | 432.3426 | 0.096758 | 0.096509 | 0.06876 | 0.096974 | 0.10171 | 0.22077 | 0.1222 | 0.1222 | 0.17647 | 0.17791 | 0.17772 | 0.17594 | 0.1749 | 0.17526 | 0.19234 | 0.21924 | 0.23215 | 2.9722 | 2.9816 | 1.5402 | 3.0023 | 3.1646 | 3.4613 | 3.7667 | 3.7667 | 5.3501 | 5.485 | 5.5727 | 5.6253 | 5.6173 | 5.5896 | 5.445 | 5.2916 | 4.9752
2018-04-29 | 188.9011 | 188.5288 | 280.6258 | 189.0585 | 196.9183 | 394.1493 | 232.087 | 232.087 | 331.4088 | 334.991 | 335.3999 | 332.6222 | 330.7772 | 330.8574 | 359.0555 | 407.3325 | 429.9613 | 0.096976 | 0.096771 | 0.068893 | 0.097064 | 0.1014 | 0.22064 | 0.1208 | 0.1208 | 0.17553 | 0.17749 | 0.17772 | 0.17619 | 0.17511 | 0.1751 | 0.19141 | 0.21773 | 0.23082 | 2.9602 | 2.9714 | 1.5396 | 3.0009 | 3.1429 | 3.4609 | 3.7254 | 3.7254 | 5.3044 | 5.45 | 5.5514 | 5.6209 | 5.6199 | 5.5969 | 5.4497 | 5.2989 | 4.9911
Note on C1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on D1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on E1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on F1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on G1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on H1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on I1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on J1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on K1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on L1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on M1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on N1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on O1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on P1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Q1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on R1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on S1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on T1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on U1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on V1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on W1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on X1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Y1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Z1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AA1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AB1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AC1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AD1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AE1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AF1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AG1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AH1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AI1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AJ1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AK1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AL1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AM1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AN1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AO1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AP1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AQ1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AR1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AS1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AT1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AU1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AV1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AW1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AX1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AY1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AZ1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BA1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss