## Chart
The model run results cover the period August 19 through September 8 and are based on the following assumptions:
Common Assumptions
1. CCFB Gates are operating to Priority 3.
2. The Delta Cross Channel gates are open.
3. Suisun Marsh Salinity Control flashboards are in. All three gates are in tidal operation from June 23, and will be in the open position starting March 25.
4. San Joaquin River flow at Vernalis is at 430 cfs at the beginning of the forecast period and is estimated to increase to 450 cfs by the end of the forecast period.
5. San Joaquin River EC at Vernalis is at 529 umhos/cm at the beginning of the forecast period and is estimated to increase to 531 umhos/cm at the end of the forecast period.
6. Sacramento River flow at Freeport is at 17464 cfs at the beginning of the forecast period and is expected to increase to 17950 cfs by the end of the forecast period.
7. CCFB inflow is at 6500 cfs at the beginning of the forecast period and is expected to increase to 7180 cfs by the end of the forecast period.
8. Export at Jones Pumping Plant is at 4200 cfs at the beginning of the forecast period and is expected to remain at 4200 cfs to the end the forecast period.
9. The Middle River barrier gates are in full tidal operation starting July 31. The weir elevation was raised by 1 foot on August 12.
10. The Old River near Tracy barrier gates are in full tidal operation starting July 31.
11. The Grant Line Canal barrier gates are in full tidal operation starting July 31.

## A
Part A: | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6 | QUAL8.0.6
Part B: | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705 | ck_01 | ck_02 | ck_613 | ck_12 | ONEILLR | SANLUISR | 415_100 | ck_13 | ck_21 | ck_22 | ck_23 | ck_25 | ck_27 | ck_29 | ck_41 | ck_66 | ck_705
Part C: | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | EC | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | BR | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | DOC | ALK | ALK | ALK | ALK | ALK | ALK | ALK | ALK | ALK | ALK | ALK | ALK | ALK | ALK | ALK | ALK | ALK
Part D:
Part E: | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY | 1DAY
Part F: | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL | 20250819-21A+FROM-ALL
Beg. Date: | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11 | 2025-08-11
Beg. Time: | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
End Date: | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07 | 2025-09-07
End Time: | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
Units: | EC: UMHOS/CM; EC: UMHOS/CM; EC: UMHOS/CM; EC: UMHOS/CM; EC: UMHOS/CM; EC: UMHOS/CM; EC: UMHOS/CM; EC: UMHOS/CM; EC: UMHOS/CM; EC: UMHOS/CM; EC: UMHOS/CM; EC: UMHOS/CM; EC: UMHOS/CM; EC: UMHOS/CM; EC: UMHOS/CM; EC: UMHOS/CM; EC: UMHOS/CM
Data Type: | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL | INST-VAL
2025-08-12 | 216 | 216 | 244 | 200 | 248 | 348 | 250 | 250 | 257 | 258 | 258 | 259 | 260 | 260 | 263 | 266 | 291 | 0.112 | 0.112 | 0.09033 | 0.103 | 0.13 | 0.188 | 0.131 | 0.131 | 0.135 | 0.135 | 0.136 | 0.136 | 0.137 | 0.137 | 0.139 | 0.141 | 0.153 | 2.83 | 2.83 | 3.14 | 2.87 | 3.17 | 3.99 | 3.18 | 3.18 | 3.25 | 3.26 | 3.26 | 3.27 | 3.27 | 3.28 | 3.29 | 3.35 | 3.53 | 54.5 | 54.5 | 73.7 | 54.2 | 56.2 | 61.8 | 56.2 | 56.2 | 56.7 | 56.8 | 56.8 | 56.9 | 56.9 | 57 | 57.1 | 57.7 | 60.1
2025-08-13 | 202.1583 | 208.2785 | 252.0481 | 201.9535 | 244.2915 | 347.491 | 244.4083 | 247.7377 | 255.586 | 256.0013 | 256.572 | 257.9278 | 258 | 258.1978 | 261.7531 | 265.8533 | 289 | 0.11991 | 0.1164 | 0.09426 | 0.1043 | 0.12792 | 0.1877 | 0.12798 | 0.12983 | 0.134 | 0.13462 | 0.135 | 0.13503 | 0.136 | 0.136 | 0.138 | 0.14 | 0.152 | 2.7707 | 2.7969 | 3.1396 | 2.86 | 3.1458 | 3.9858 | 3.1466 | 3.1678 | 3.2359 | 3.2462 | 3.25 | 3.2593 | 3.26 | 3.2619 | 3.2813 | 3.3285 | 3.52 | 54.8955 | 54.7206 | 74.2304 | 54.3 | 56.0595 | 61.7717 | 56.0639 | 56.1765 | 56.6001 | 56.6621 | 56.7 | 56.7928 | 56.8 | 56.8198 | 57.0018 | 57.3989 | 60
2025-08-14 | 222.1234 | 214.3431 | 250.4007 | 210.341 | 241.521 | 347.0447 | 241.5985 | 243.9035 | 252.719 | 253.4933 | 254.2743 | 255.8365 | 256.1554 | 256.9719 | 259.1579 | 264.2991 | 288.9982 | 0.11547 | 0.11719 | 0.096637 | 0.10879 | 0.12637 | 0.18745 | 0.12641 | 0.12769 | 0.13274 | 0.133 | 0.13326 | 0.13407 | 0.13495 | 0.135 | 0.1361 | 0.13925 | 0.152 | 2.7561 | 2.7615 | 3.0997 | 2.8533 | 3.1244 | 3.9822 | 3.1251 | 3.143 | 3.2072 | 3.2149 | 3.2227 | 3.2394 | 3.2491 | 3.2504 | 3.27 | 3.3088 | 3.52 | 54.913 | 54.908 | 72.514 | 54.4102 | 55.9464 | 61.7471 | 55.9499 | 56.0442 | 56.3727 | 56.4493 | 56.5272 | 56.6108 | 56.6911 | 56.7045 | 56.9006 | 57.2299 | 59.9998
2025-08-15 | 204.7972 | 210.0105 | 237.5997 | 216.0589 | 239.94 | 346.4809 | 239.9553 | 241.3694 | 249.5469 | 250.0145 | 250.6808 | 253.0509 | 253.9123 | 254.8239 | 257.8072 | 262.7097 | 287.9741 | 0.10574 | 0.10863 | 0.10403 | 0.11204 | 0.12549 | 0.18712 | 0.1255 | 0.12628 | 0.13083 | 0.131 | 0.13133 | 0.13295 | 0.13305 | 0.13378 | 0.13506 | 0.138 | 0.15175 | 2.7358 | 2.7418 | 3.0356 | 2.8431 | 3.1082 | 3.9776 | 3.1084 | 3.1226 | 3.1777 | 3.1802 | 3.1868 | 3.2105 | 3.2191 | 3.2282 | 3.258 | 3.29 | 3.5106 | 54.9966 | 54.9718 | 71.8756 | 54.5316 | 55.8858 | 61.7161 | 55.8864 | 55.9398 | 56.1974 | 56.2016 | 56.2358 | 56.4053 | 56.4912 | 56.5728 | 56.781 | 57.0988 | 59.8893
2025-08-16 | 218.3716 | 214.4606 | 255.9945 | 208.1177 | 238.4002 | 346.069 | 238.4389 | 239.849 | 245.2651 | 246.41 | 247.7663 | 249.8309 | 250.3024 | 251.7118 | 255.7823 | 260.0506 | 286.5099 | 0.11325 | 0.11108 | 0.099291 | 0.11385 | 0.12471 | 0.18688 | 0.12472 | 0.12545 | 0.12846 | 0.12907 | 0.12984 | 0.13097 | 0.1311 | 0.13198 | 0.1341 | 0.137 | 0.15113 | 2.7142 | 2.7203 | 3.0434 | 2.804 | 3.0873 | 3.9742 | 3.0877 | 3.107 | 3.1523 | 3.1597 | 3.1679 | 3.1792 | 3.1829 | 3.1971 | 3.239 | 3.2774 | 3.4975 | 55.075 | 55.0527 | 73.1077 | 54.7144 | 55.8155 | 61.6936 | 55.8167 | 55.8811 | 56.0955 | 56.1366 | 56.1729 | 56.1995 | 56.2159 | 56.2984 | 56.6188 | 56.9372 | 59.7248
2025-08-17 | 224.0223 | 221.264 | 246.7743 | 211.1172 | 236.3958 | 345.6475 | 236.4287 | 238.3979 | 242.5488 | 243.3496 | 244.1731 | 245.8717 | 247.1712 | 248.7079 | 253.0252 | 258.0066 | 285.9373 | 0.11637 | 0.11485 | 0.090037 | 0.11936 | 0.12454 | 0.18664 | 0.12454 | 0.12472 | 0.12694 | 0.12738 | 0.12783 | 0.12879 | 0.12949 | 0.13037 | 0.13293 | 0.13586 | 0.15085 | 2.69 | 2.7019 | 3.062 | 2.7677 | 3.0649 | 3.9708 | 3.0654 | 3.0874 | 3.1329 | 3.1389 | 3.1448 | 3.1563 | 3.1643 | 3.1731 | 3.2103 | 3.26 | 3.4926 | 55.1437 | 55.1099 | 75.3176 | 54.9831 | 55.7876 | 61.6708 | 55.788 | 55.8171 | 55.9895 | 56.022 | 56.0543 | 56.1176 | 56.1583 | 56.188 | 56.4036 | 56.8009 | 59.6603
2025-08-18 | 225.3491 | 224.7116 | 263.5728 | 218.332 | 237.0158 | 344.9262 | 237.0051 | 236.4955 | 240.7494 | 241.211 | 241.7432 | 242.8884 | 243.823 | 244.7823 | 249.8125 | 256.1978 | 284.9779 | 0.11711 | 0.11674 | 0.092495 | 0.11323 | 0.12495 | 0.18623 | 0.12495 | 0.12456 | 0.12593 | 0.12619 | 0.12646 | 0.12713 | 0.12764 | 0.12819 | 0.13097 | 0.13484 | 0.15035 | 2.6663 | 2.6783 | 3.1047 | 2.753 | 3.0519 | 3.9647 | 3.0521 | 3.065 | 3.1163 | 3.121 | 3.1261 | 3.1354 | 3.1423 | 3.1491 | 3.1792 | 3.2473 | 3.4845 | 55.2238 | 55.1831 | 78.98 | 55.0132 | 55.8441 | 61.632 | 55.843 | 55.793 | 55.9153 | 55.9334 | 55.9558 | 56.0033 | 56.0407 | 56.0774 | 56.1998 | 56.6779 | 59.5568
2025-08-19 | 225.3754 | 225.2154 | 262.6223 | 213.4466 | 236.7508 | 344.9232 | 236.7522 | 236.632 | 239.8804 | 240.2932 | 240.6877 | 241.3425 | 241.8411 | 242.3674 | 245.9454 | 253.8921 | 284.158 | 0.11711 | 0.11704 | 0.097209 | 0.11052 | 0.12477 | 0.18623 | 0.12477 | 0.12479 | 0.12546 | 0.12568 | 0.1259 | 0.12626 | 0.12651 | 0.12682 | 0.12884 | 0.1331 | 0.14991 | 2.6658 | 2.6688 | 3.0427 | 2.7484 | 3.0437 | 3.9647 | 3.0437 | 3.0585 | 3.1072 | 3.1117 | 3.1157 | 3.1223 | 3.1269 | 3.1314 | 3.1567 | 3.2188 | 3.4776 | 55.2255 | 55.2153 | 76.2941 | 55.0541 | 55.8407 | 61.6319 | 55.8407 | 55.8153 | 55.8819 | 55.8983 | 55.913 | 55.9389 | 55.96 | 55.982 | 56.1199 | 56.4888 | 59.4697
2025-08-20 | 224.5929 | 223.9092 | 263.373 | 210.0804 | 234.8522 | 343.7564 | 235.1103 | 236.8293 | 239.4009 | 239.8066 | 240.2401 | 240.8899 | 241.2896 | 241.7013 | 243.9471 | 250.3931 | 283.8402 | 0.11669 | 0.11629 | 0.09811 | 0.10863 | 0.12361 | 0.18557 | 0.12376 | 0.12488 | 0.12518 | 0.12542 | 0.12565 | 0.12601 | 0.12623 | 0.12643 | 0.12771 | 0.13115 | 0.14974 | 2.641 | 2.6503 | 3.0205 | 2.7338 | 3.0198 | 3.9547 | 3.0231 | 3.0551 | 3.101 | 3.1063 | 3.1111 | 3.1177 | 3.1217 | 3.1257 | 3.1432 | 3.1839 | 3.4749 | 55.5005 | 55.3477 | 76.0973 | 55.1311 | 55.7947 | 61.5697 | 55.8008 | 55.8298 | 55.8598 | 55.8786 | 55.8963 | 55.9207 | 55.9367 | 55.954 | 56.0454 | 56.2221 | 59.4332
2025-08-21 | 221.7167 | 223.1387 | 261.6814 | 220.2177 | 233.5259 | 342.4423 | 233.5367 | 236.9083 | 239.0582 | 239.4194 | 239.8411 | 240.5585 | 240.9385 | 241.2915 | 243.3066 | 248.0305 | 283.3873 | 0.11508 | 0.11587 | 0.099006 | 0.11418 | 0.12277 | 0.18482 | 0.12277 | 0.12489 | 0.125 | 0.1252 | 0.12544 | 0.12583 | 0.12603 | 0.12623 | 0.12736 | 0.13002 | 0.1495 | 2.6679 | 2.6547 | 3.0026 | 2.7135 | 2.994 | 3.9434 | 2.9943 | 3.0504 | 3.0962 | 3.1013 | 3.1067 | 3.1144 | 3.1182 | 3.1217 | 3.1386 | 3.1692 | 3.4711 | 55.9458 | 55.734 | 75.1312 | 55.1634 | 55.7513 | 61.5002 | 55.7517 | 55.8398 | 55.8433 | 55.8606 | 55.8801 | 55.9082 | 55.9226 | 55.9367 | 56.0202 | 56.1757 | 59.3831
2025-08-22 | 223.0792 | 222.4121 | 259.7388 | 225.1495 | 232.8172 | 341.0792 | 233.2136 | 236.7705 | 238.6867 | 239.0885 | 239.4951 | 240.2296 | 240.6227 | 240.9664 | 242.8155 | 246.3038 | 282.8134 | 0.11586 | 0.11546 | 0.099358 | 0.11696 | 0.12227 | 0.18404 | 0.12252 | 0.12485 | 0.12483 | 0.12502 | 0.12523 | 0.12564 | 0.12587 | 0.12605 | 0.12708 | 0.12903 | 0.14919 | 2.6476 | 2.6574 | 2.971 | 2.6894 | 2.9676 | 3.9314 | 2.9831 | 3.0457 | 3.0911 | 3.0967 | 3.1023 | 3.111 | 3.115 | 3.1184 | 3.1348 | 3.1589 | 3.4662 | 55.7966 | 55.8707 | 74.6096 | 55.2206 | 55.7202 | 61.4283 | 55.7381 | 55.8395 | 55.8277 | 55.8448 | 55.8642 | 55.8959 | 55.9106 | 55.9237 | 56.0003 | 56.1315 | 59.3224
2025-08-23 | 227.1228 | 225.1165 | 253.8711 | 225.2347 | 232.3136 | 339.7793 | 232.936 | 236.1141 | 238.1882 | 238.6971 | 239.1358 | 239.8555 | 240.279 | 240.6269 | 242.3393 | 245.7715 | 282.1361 | 0.076309 | 0.09611 | 0.09982 | 0.11711 | 0.12187 | 0.1833 | 0.12229 | 0.12448 | 0.12468 | 0.12483 | 0.12504 | 0.12544 | 0.12567 | 0.12587 | 0.1268 | 0.12874 | 0.14882 | 2.6525 | 2.6498 | 2.959 | 2.6647 | 2.9421 | 3.9197 | 2.9704 | 3.036 | 3.0851 | 3.0913 | 3.0973 | 3.1069 | 3.1116 | 3.115 | 3.1311 | 3.1555 | 3.4604 | 55.9393 | 55.8658 | 73.0258 | 55.2344 | 55.6996 | 61.3598 | 55.7257 | 55.8245 | 55.8131 | 55.8282 | 55.847 | 55.8806 | 55.8978 | 55.9108 | 55.9808 | 56.1135 | 59.2544
2025-08-24 | 230.5191 | 228.8783 | 239.7285 | 224.5472 | 231.8588 | 338.5245 | 232.6973 | 234.5332 | 237.6699 | 238.2233 | 238.7531 | 239.4481 | 239.892 | 240.2871 | 241.8795 | 245.2274 | 281.3772 | 0.078644 | 0.077292 | 0.10762 | 0.11671 | 0.12118 | 0.18258 | 0.12204 | 0.12337 | 0.1246 | 0.12468 | 0.12485 | 0.12521 | 0.12546 | 0.12567 | 0.12654 | 0.12844 | 0.14841 | 2.6545 | 2.6535 | 2.8008 | 2.6415 | 2.9175 | 3.9081 | 2.9583 | 3.0117 | 3.0793 | 3.0855 | 3.092 | 3.1016 | 3.1073 | 3.1116 | 3.1273 | 3.152 | 3.4539 | 56.1324 | 56.0386 | 64.6995 | 55.5161 | 55.6966 | 61.2938 | 55.7175 | 55.7825 | 55.8036 | 55.8141 | 55.8304 | 55.862 | 55.8822 | 55.898 | 55.9616 | 56.0939 | 59.1819
2025-08-25 | 234.897 | 232.3178 | 241.4962 | 221.7263 | 231.3645 | 337.2941 | 232.4585 | 232.4585 | 237.1651 | 237.7088 | 238.2848 | 239.0932 | 239.5114 | 239.907 | 241.4631 | 244.7272 | 280.5531 | 0.082268 | 0.080112 | 0.072772 | 0.11506 | 0.12051 | 0.18187 | 0.12174 | 0.12174 | 0.12457 | 0.1246 | 0.1247 | 0.12502 | 0.12524 | 0.12547 | 0.1263 | 0.12816 | 0.14796 | 2.6601 | 2.6567 | 2.7857 | 2.6677 | 2.8956 | 3.8966 | 2.9463 | 2.9463 | 3.0738 | 3.0797 | 3.0862 | 3.0967 | 3.1025 | 3.1075 | 3.1234 | 3.1486 | 3.447 | 56.3827 | 56.2352 | 63.6827 | 55.9457 | 55.725 | 61.2295 | 55.7159 | 55.7159 | 55.797 | 55.8042 | 55.8157 | 55.8451 | 55.865 | 55.8828 | 55.9439 | 56.0752 | 59.1061
2025-08-26 | 239.5874 | 237.2476 | 244.6316 | 223.1616 | 230.9106 | 336.087 | 232.1419 | 232.1419 | 236.7197 | 237.225 | 237.7539 | 238.694 | 239.1392 | 239.5154 | 241.1045 | 244.2225 | 279.6848 | 0.086143 | 0.084199 | 0.075682 | 0.11521 | 0.11989 | 0.18117 | 0.12137 | 0.12137 | 0.12455 | 0.12458 | 0.12461 | 0.12483 | 0.12505 | 0.12524 | 0.12613 | 0.12787 | 0.14748 | 2.6651 | 2.6626 | 2.7852 | 2.6475 | 2.8755 | 3.8851 | 2.9319 | 2.9319 | 3.0682 | 3.0744 | 3.0802 | 3.0913 | 3.0973 | 3.1025 | 3.1199 | 3.1452 | 3.4397 | 56.6783 | 56.5307 | 63.7128 | 55.7975 | 55.7592 | 61.1671 | 55.7226 | 55.7226 | 55.7934 | 55.7977 | 55.805 | 55.8283 | 55.8472 | 55.8652 | 55.9292 | 56.0561 | 59.0284
2025-08-27 | 244.4181 | 242.1687 | 249.2148 | 227.1944 | 230.7709 | 334.891 | 231.8272 | 231.8272 | 236.5205 | 236.7462 | 237.2564 | 238.2457 | 238.7437 | 239.1504 | 240.7584 | 243.6915 | 278.779 | 0.090141 | 0.088292 | 0.078504 | 0.076285 | 0.11767 | 0.18046 | 0.12083 | 0.12083 | 0.12462 | 0.12456 | 0.12458 | 0.12469 | 0.12485 | 0.12506 | 0.12594 | 0.12755 | 0.14698 | 2.6668 | 2.666 | 2.7985 | 2.6525 | 2.8567 | 3.8735 | 2.9163 | 2.9163 | 3.0633 | 3.0685 | 3.0748 | 3.0858 | 3.0919 | 3.0975 | 3.1164 | 3.1414 | 3.4322 | 57.0106 | 56.8557 | 64.4232 | 55.9433 | 55.7946 | 61.1059 | 55.7352 | 55.7352 | 55.7987 | 55.7936 | 55.7981 | 55.8149 | 55.8302 | 55.8478 | 55.9157 | 56.0354 | 58.9492
2025-08-28 | 249.2367 | 246.9203 | 251.979 | 230.6897 | 230.9709 | 333.7368 | 231.5972 | 231.5972 | 236.5833 | 236.5292 | 236.7755 | 237.7166 | 238.2932 | 238.7634 | 240.4261 | 243.1668 | 277.8528 | 0.094125 | 0.092207 | 0.083094 | 0.078758 | 0.11447 | 0.17975 | 0.11969 | 0.11969 | 0.12474 | 0.12461 | 0.12456 | 0.1246 | 0.1247 | 0.12486 | 0.12575 | 0.12727 | 0.14647 | 2.6648 | 2.6657 | 2.7828 | 2.6546 | 2.8399 | 3.8621 | 2.9003 | 2.9003 | 3.0597 | 3.0637 | 3.0689 | 3.0798 | 3.0863 | 3.0921 | 3.1131 | 3.1375 | 3.4245 | 57.3556 | 57.1897 | 63.5576 | 56.1421 | 55.8423 | 61.0472 | 55.7546 | 55.7546 | 55.8105 | 55.798 | 55.7938 | 55.8045 | 55.8161 | 55.831 | 55.9033 | 56.0146 | 58.8696
2025-08-29 | 254.1812 | 251.9102 | 256.1388 | 234.9553 | 231.4813 | 332.6185 | 231.5047 | 231.5047 | 236.7518 | 236.5748 | 236.5389 | 237.211 | 237.7806 | 238.3045 | 240.0501 | 242.6492 | 276.9227 | 0.098213 | 0.096314 | 0.08799 | 0.082299 | 0.11184 | 0.17902 | 0.11813 | 0.11813 | 0.12485 | 0.12474 | 0.1246 | 0.12458 | 0.12461 | 0.1247 | 0.12555 | 0.12698 | 0.14595 | 2.6558 | 2.66 | 2.7705 | 2.6601 | 2.8249 | 3.8509 | 2.8842 | 2.8842 | 3.0564 | 3.06 | 3.064 | 3.0743 | 3.0805 | 3.0865 | 3.1091 | 3.1335 | 3.4167 | 57.6832 | 57.533 | 63.1932 | 56.3866 | 55.9045 | 60.9908 | 55.7824 | 55.7824 | 55.8242 | 55.8095 | 55.7975 | 55.7976 | 55.8055 | 55.8164 | 55.8887 | 55.9935 | 58.7909
2025-08-30 | 258.351 | 256.3597 | 262.5538 | 239.7025 | 232.3278 | 331.5089 | 231.5937 | 231.5937 | 236.8717 | 236.7399 | 236.5674 | 236.7634 | 237.274 | 237.7965 | 239.6548 | 242.1689 | 275.9644 | 0.10166 | 0.10002 | 0.089966 | 0.086221 | 0.10971 | 0.17827 | 0.11639 | 0.11639 | 0.12493 | 0.12484 | 0.12473 | 0.12456 | 0.12458 | 0.12461 | 0.12532 | 0.1267 | 0.14542 | 2.6471 | 2.6513 | 2.7968 | 2.6652 | 2.8114 | 3.8395 | 2.8687 | 2.8687 | 3.0524 | 3.0566 | 3.0602 | 3.0687 | 3.075 | 3.0807 | 3.1043 | 3.1298 | 3.4088 | 58.029 | 57.8631 | 65.1416 | 56.6862 | 55.9849 | 60.9352 | 55.8202 | 55.8202 | 55.8355 | 55.8233 | 55.8085 | 55.794 | 55.7984 | 55.8058 | 55.8716 | 55.9737 | 58.7108
2025-08-31 | 262.7142 | 260.6315 | 268.7621 | 244.4907 | 233.5144 | 330.4227 | 231.8941 | 231.8941 | 236.8006 | 236.8645 | 236.7198 | 236.5444 | 236.8181 | 237.2974 | 239.2812 | 241.7267 | 275.0143 | 0.10527 | 0.10353 | 0.091583 | 0.090203 | 0.1081 | 0.1775 | 0.11467 | 0.11467 | 0.12486 | 0.12493 | 0.12483 | 0.1246 | 0.12456 | 0.12458 | 0.12512 | 0.12644 | 0.1449 | 2.6306 | 2.6385 | 2.8217 | 2.6668 | 2.7991 | 3.8281 | 2.8542 | 2.8542 | 3.0476 | 3.0528 | 3.057 | 3.0639 | 3.0694 | 3.0752 | 3.0993 | 3.1259 | 3.4009 | 58.3316 | 58.1876 | 67.1597 | 57.0158 | 56.086 | 60.8812 | 55.8692 | 55.8692 | 55.8386 | 55.8347 | 55.8217 | 55.798 | 55.7942 | 55.7987 | 55.854 | 55.9551 | 58.6324
2025-09-01 | 268.0729 | 265.0387 | 273.0614 | 249.4076 | 234.9604 | 329.3697 | 232.4193 | 232.4193 | 236.3687 | 236.8098 | 236.8457 | 236.5679 | 236.5651 | 236.8534 | 238.9151 | 241.3123 | 274.0768 | 0.10971 | 0.10717 | 0.094274 | 0.094242 | 0.10693 | 0.17674 | 0.11305 | 0.11305 | 0.12474 | 0.12487 | 0.12491 | 0.12473 | 0.12458 | 0.12456 | 0.12492 | 0.12623 | 0.14438 | 2.6067 | 2.6203 | 2.822 | 2.6645 | 2.7876 | 3.8168 | 2.8404 | 2.8404 | 3.0398 | 3.048 | 3.0536 | 3.0603 | 3.0646 | 3.0699 | 3.0942 | 3.1219 | 3.3931 | 58.616 | 58.4565 | 67.9092 | 57.3671 | 56.2037 | 60.8294 | 55.9311 | 55.9311 | 55.83 | 55.8385 | 55.8327 | 55.8082 | 55.7967 | 55.7943 | 55.8373 | 55.9376 | 58.5557
2025-09-02 | 274.2303 | 271.1804 | 277.1562 | 254.3179 | 237.0775 | 328.2084 | 233.2118 | 233.2118 | 235.3551 | 236.4673 | 236.8465 | 236.7039 | 236.5534 | 236.5831 | 238.4992 | 240.9553 | 273.1239 | 0.11479 | 0.11225 | 0.097441 | 0.098306 | 0.10627 | 0.17586 | 0.11162 | 0.11162 | 0.12396 | 0.12479 | 0.12488 | 0.12482 | 0.12471 | 0.12457 | 0.12476 | 0.12604 | 0.14385 | 2.5807 | 2.5936 | 2.8089 | 2.6555 | 2.7752 | 3.8039 | 2.8274 | 2.8274 | 3.0236 | 3.0414 | 3.0495 | 3.0573 | 3.0609 | 3.0652 | 3.0889 | 3.1184 | 3.3852 | 58.8469 | 58.7328 | 68.2858 | 57.6939 | 56.3696 | 60.7728 | 56.0095 | 56.0095 | 55.804 | 55.8322 | 55.8382 | 55.8205 | 55.8061 | 55.7961 | 55.8221 | 55.9233 | 58.4785
2025-09-03 | 281.1886 | 277.6636 | 281.8644 | 258.5052 | 239.3609 | 327.1247 | 234.2974 | 234.2974 | 233.739 | 235.5723 | 236.5605 | 236.8335 | 236.6668 | 236.5445 | 239.8936 | 240.616 | 272.189 | 0.12055 | 0.11763 | 0.10117 | 0.10174 | 0.10603 | 0.17502 | 0.11043 | 0.11043 | 0.12281 | 0.12415 | 0.12481 | 0.1249 | 0.1248 | 0.12469 | 0.12529 | 0.12586 | 0.14334 | 2.5545 | 2.5678 | 2.79 | 2.6466 | 2.7631 | 3.7915 | 2.8148 | 2.8148 | 2.9859 | 3.0273 | 3.043 | 3.0539 | 3.0581 | 3.0616 | 3.0666 | 3.1149 | 3.3774 | 58.9835 | 58.9154 | 68.616 | 58.0402 | 56.5454 | 60.7209 | 56.1066 | 56.1066 | 55.7561 | 55.8098 | 55.8342 | 55.8316 | 55.8174 | 55.8042 | 56.1 | 55.9104 | 58.4033
2025-09-04 | 289.7101 | 285.6591 | 288.1569 | 263.0231 | 241.9395 | 326.0869 | 235.6519 | 235.6519 | 232.5354 | 233.9273 | 235.7849 | 236.8497 | 236.804 | 236.6446 | 239.5789 | 240.2656 | 271.2639 | 0.1276 | 0.12424 | 0.10506 | 0.10549 | 0.10624 | 0.1742 | 0.10951 | 0.10951 | 0.12164 | 0.123 | 0.12435 | 0.12489 | 0.12488 | 0.12478 | 0.12525 | 0.12566 | 0.14282 | 2.5267 | 2.5399 | 2.7795 | 2.6293 | 2.7507 | 3.779 | 2.8024 | 2.8024 | 2.9473 | 2.991 | 3.0307 | 3.05 | 3.0549 | 3.0585 | 3.06 | 3.1114 | 3.3696 | 59.0559 | 59.0221 | 69.4814 | 58.35 | 56.7394 | 60.6719 | 56.2209 | 56.2209 | 55.725 | 55.7618 | 55.8153 | 55.8377 | 55.8288 | 55.8155 | 56.1164 | 55.8972 | 58.3296
2025-09-05 | 300.574 | 295.9194 | 294.6004 | 268.2745 | 244.8834 | 325.1018 | 237.2738 | 237.2738 | 232.1031 | 232.7258 | 234.4975 | 236.6514 | 236.86 | 236.7793 | 239.1339 | 239.8827 | 270.3484 | 0.13658 | 0.13272 | 0.10953 | 0.10983 | 0.10692 | 0.17339 | 0.10889 | 0.10889 | 0.12131 | 0.12175 | 0.12342 | 0.12483 | 0.12492 | 0.12487 | 0.12522 | 0.12546 | 0.14232 | 2.5047 | 2.514 | 2.7657 | 2.6058 | 2.7377 | 3.7667 | 2.7903 | 2.7903 | 2.9297 | 2.9538 | 3.005 | 3.0447 | 3.0514 | 3.0556 | 3.0549 | 3.1072 | 3.362 | 59.1578 | 59.1141 | 70.0393 | 58.6236 | 56.9479 | 60.6263 | 56.3513 | 56.3513 | 55.7256 | 55.7292 | 55.7789 | 55.8359 | 55.8364 | 55.8267 | 56.1116 | 55.8817 | 58.2571
2025-09-06 | 313.9342 | 307.6717 | 301.6707 | 274.5953 | 248.3091 | 324.1691 | 239.2233 | 239.2233 | 231.826 | 232.1921 | 233.138 | 236.0414 | 236.7419 | 236.8574 | 238.7794 | 239.5013 | 269.4425 | 0.14763 | 0.14245 | 0.11611 | 0.11507 | 0.10817 | 0.17261 | 0.10861 | 0.10861 | 0.12075 | 0.12138 | 0.1221 | 0.12454 | 0.12486 | 0.12493 | 0.12521 | 0.12524 | 0.14182 | 2.4885 | 2.496 | 2.7338 | 2.5793 | 2.7237 | 3.7544 | 2.7778 | 2.7778 | 2.9154 | 2.9336 | 2.9673 | 3.0348 | 3.0467 | 3.0522 | 3.05 | 3.1023 | 3.3543 | 59.2732 | 59.2192 | 69.7249 | 58.8552 | 57.1693 | 60.584 | 56.4995 | 56.4995 | 55.7373 | 55.7241 | 55.7394 | 55.8218 | 55.8374 | 55.8352 | 56.1108 | 55.8644 | 58.1859
2025-09-07 | 329.0244 | 321.8752 | 311.1986 | 281.4753 | 252.1931 | 323.3005 | 241.5306 | 241.5306 | 231.6333 | 231.8779 | 232.3177 | 234.8836 | 236.3133 | 236.7889 | 238.6632 | 239.142 | 268.5518 | 0.1601 | 0.15419 | 0.1237 | 0.12076 | 0.10994 | 0.17186 | 0.1087 | 0.1087 | 0.11979 | 0.12091 | 0.12148 | 0.12368 | 0.12472 | 0.12486 | 0.12527 | 0.12505 | 0.14133 | 2.4739 | 2.4808 | 2.7179 | 2.5536 | 2.7087 | 3.7422 | 2.7649 | 2.7649 | 2.9015 | 2.9182 | 2.9388 | 3.0132 | 3.0391 | 3.0479 | 3.0453 | 3.0974 | 3.3467 | 59.3726 | 59.3257 | 69.9663 | 58.9864 | 57.3904 | 60.5452 | 56.6633 | 56.6633 | 55.7544 | 55.7346 | 55.7239 | 55.7901 | 55.8284 | 55.8379 | 56.1242 | 55.8475 | 58.1169
2025-09-08 | 345.7026 | 336.7155 | 329.3525 | 290.122 | 256.7155 | 322.4821 | 244.2335 | 244.2335 | 231.5382 | 231.6629 | 231.9525 | 233.4235 | 235.3119 | 236.4044 | 238.666 | 238.7713 | 267.6951 | 0.1739 | 0.16646 | 0.12288 | 0.12792 | 0.11236 | 0.17114 | 0.10921 | 0.10921 | 0.11841 | 0.12001 | 0.12109 | 0.12239 | 0.12401 | 0.12477 | 0.1254 | 0.12486 | 0.14085 | 2.4593 | 2.4671 | 2.8607 | 2.5258 | 2.6924 | 3.7298 | 2.7514 | 2.7514 | 2.8869 | 2.9039 | 2.9222 | 2.9757 | 3.0219 | 3.0405 | 3.0421 | 3.0923 | 3.3391 | 59.4779 | 59.4212 | 77.9292 | 59.0597 | 57.6063 | 60.509 | 56.8386 | 56.8386 | 55.7789 | 55.7511 | 55.7313 | 55.7475 | 55.8023 | 55.8305 | 56.1316 | 55.8316 | 58.0519
Note on C1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on D1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on E1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on F1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on G1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on H1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on I1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on J1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on K1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on L1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on M1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on N1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on O1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on P1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Q1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on R1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on S1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on T1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on U1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on V1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on W1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on X1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Y1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on Z1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AA1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AB1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AC1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AD1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AE1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AF1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AG1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AH1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AI1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AJ1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AK1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AL1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AM1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AN1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AO1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AP1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AQ1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AR1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AS1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AT1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AU1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AV1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AW1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AX1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AY1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on AZ1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BA1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BB1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BC1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BD1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BE1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BF1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BG1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BH1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BI1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BJ1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BK1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BL1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BM1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BN1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BO1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BP1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BQ1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss
Note on BR1: From: c:/Aqueduct/dsm2_v8/studies/Short-term/output/ca-aq-qual.dss